## Analyte List
EPA Analytical Methods for PFAS
| Analyte | Abbreviation | CASRN | Synonym/ Anion Name | CASRN | Method 537 Rev 1.1 | Method 537.1 | Method 533 | Method 537M | Method 1633 | Method 8327 | ASTM D7979 - 17 | ASTM D7968 - 17a | ASTM D8421-22 | Method OTM-45
[6 empty] | 14 | 18 | 25 | Unlimited | 40 | 24 | 21 | 21 | 44 | 50
[6 empty] | Drinking Water |  |  | Multiple Matrices | Multiple Matrices | Non-Potable Water | Water, Sludge | Soil, Sludge | Multiple Matrices | Air
Perfluoroalkyl carboxylic acids (PFCAs)
1 | Pentafluorpropanoic acid | PFPrA | 422-64-0 | [10 empty] | ✔
2 | Perfluorobutanoic acid | PFBA | 375-22-4 | Perfluorobutanoate | 45048-62-2 |  |  | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
3 | Perfluoropentanoic acid | PFPeA | 2706-90-3 | Perfluoropentanoate | 45167-47-3 |  |  | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
4 | Perfluorohexanoic acid | PFHxA | 307-24-4 | Perfluorohexanoate | 92612-52-7 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
5 | Perfluoroheptanoic acid | PFHpA | 375-85-9 | Perfluoroheptanoate | 120885-29-2 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
6 | Perfluorooctanoic acid | PFOA | 335-67-1 | Perfluorooctanoate | 45285-51-6 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
7 | Perfluorononanoic acid | PFNA | 375-95-1 | Perfluorononanoate | 72007-68-2 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
8 | Perfluorodecanoic acid | PFDA | 335-76-2 | Perfluorodecanoate | 73829-36-4 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
9 | Perfluoroundecanoic acid | PFUnA | 2058-94-8 | Perfluoroundecanoate (PFUnDA) | 196859-54-8 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
10 | Perfluorododecanoic acid | PFDoA | 307-55-1 | Perfluorododecanoate (PFDoDA) | 171978-95-3 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
11 | Perfluorotridecanoic acid | PFTrDA | 72629-94-8 | Perfluorotridecanoate (PFTriA) | 862374-87-6 | ✔ | ✔ |  | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
12 | Perfluorotetradecanoic acid | PFTeDA | 376-06-7 | Perfluorotetradecanoate (PFTreA) / (PFTA) | 365971-87-5 | ✔ | ✔ |  | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
13 | Perfluoro-n-hexadecanoic acid | PFHxDA | 67905-19-5 | [11 empty] | ✔
14 | Perfluoro-n-octadecanoic acid | PFODA | 16517-11-6 | [11 empty] | ✔
Perfluoroalkyl sulfonic acids (PFSAs) (Acid Form)
15 | Perfluorobutanesulfonic acid | PFBS | 375-73-5 | Perfluorobutane sulfonate | 45187-15-3 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
16 | Perfluoropentanesulfonic acid | PFPeS | 2706-91-4 | Perfluoropentane sulfonate | 175905-36-9 |  |  | ✔ | ✔ | ✔ | ✔ |  |  | ✔ | ✔
17 | Perfluorohexanesulfonic acid | PFHxS | 355-46-4 | Perfluorohexane sulfonate | 108427-53-8 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
18 | Perfluoroheptanesulfonic acid | PFHpS | 375-92-8 | Perfluoroheptane sulfonate | 146689-46-5 |  |  | ✔ | ✔ | ✔ | ✔ |  |  | ✔ | ✔
19 | Perfluorooctanesulfonic acid | PFOS | 1763-23-1 | Perfluorooctane sulfonate | 45298-90-6 | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔ | ✔
20 | Perfluorononanesulfonic acid | PFNS | 68259-12-1 | Perfluorononane sulfonate | 474511-07-4 |  |  |  | ✔ | ✔ | ✔ |  |  | ✔ | ✔
21 | Perfluorodecanesulfonic acid | PFDS | 335-77-3 | Perfluorodecane sulfonate | 126105-34-8 |  |  |  | ✔ | ✔ | ✔ |  |  | ✔ | ✔
22 | Perfluorododecanesulfonic acid | PFDoS | 79780-39-5 | Perfluorododecane sulfonate | 343629-43-6 |  |  |  |  | ✔ |  |  |  | ✔ | ✔
Fluorotelomer sulfonic acids (FTSAs)
23 | 1H,1H, 2H, 2H-Perfluorohexane sulfonic acid | 4:2FTS | 757124-72-4 |  |  |  |  | ✔ | ✔ | ✔ | ✔ |  |  | ✔ | ✔
24 | 1H,1H, 2H, 2H-Perfluorooctane sulfonic acid | 6:2FTS | 27619-97-2 |  |  |  |  | ✔ | ✔ | ✔ | ✔ |  |  | ✔ | ✔
25 | 1H,1H, 2H, 2H-Perfluorodecane sulfonic acid | 8:2FTS | 39108-34-4 |  |  |  |  | ✔ | ✔ | ✔ | ✔ |  |  | ✔ | ✔
26 | 1H, 1H, 2H, 2H-Perfluorododecane sulfonate | 10:2 FTS | 120226-60-0 | [5 empty] | ✔ | [5 empty] | ✔
Perfluorooctane sulfonamides
27 | Perfluorooctanesulfonamide | PFOSA/FOSA | 754-91-6 | [5 empty] | ✔ | ✔ | ✔ |  |  | ✔ | ✔
28 | N-Methylperfluorooctanesulfonamide | NMeFOSA/MeFOSA | 31506-32-8 | [5 empty] | ✔ | ✔ |  |  |  | ✔ | ✔
29 | N-ethylperfluorooctanesulfonamide | NEtFOSA/EtFOSA | 4151-50-2 | [5 empty] | ✔ | ✔ |  |  |  | ✔ | ✔
Perfluorooctane sulfonamidoacetic acids
30 | N-methyl perfluorooctanesulfonamidoacetic acid | NMeFOSAA | 2355-31-9 |  |  | ✔ | ✔ |  | ✔ | ✔ | ✔ |  |  | ✔ | ✔
31 | N-ethyl perfluorooctanesulfonamidoacetic acid | NEtFOSAA | 2991-50-6 |  |  | ✔ | ✔ |  | ✔ | ✔ | ✔ |  |  | ✔ | ✔
Perfluorooctane sulfonamide ethanols
32 | 2-(N-methylperfluoro-1-octanesulfonamido)-ethanol | N-MeFOSE | 24448-09-7 | [5 empty] | ✔ | ✔ |  |  |  | ✔ | ✔
33 | 2-(N-ethylperfluoro-1-octanesulfonamido)-ethanol | N-EtFOSE | 1691-99-2 | [5 empty] | ✔ | ✔ |  |  |  | ✔ | ✔
Per- and Polyfluoroalkyl ether carboxylic acids (PFECAs)
34 | Hexafluoropropylene oxide dimer acid | HFPO-DA | 13252-13-6 |  |  |  | ✔ | ✔ | ✔ | ✔ |  |  |  | ✔ | ✔
35 | 4,8-Dioxa-3H-perfluorononanoic acid | ADONA | 919005-14-4 |  |  |  | ✔ | ✔ |  | ✔ |  |  |  | ✔ | ✔
36 | Perfluoro-3-methoxypropanoic acid | PFMPA | 377-73-1 |  |  |  |  | ✔ |  | ✔ |  |  |  | ✔ | ✔
37 | Perfluoro-4-methoxybutanoic acid | PFMBA | 863090-89-5 |  |  |  |  | ✔ |  | ✔ |  |  |  | ✔ | ✔
38 | Nonafluoro-3,6-dioxaheptanoic acid | NFDHA | 151772-58-6 |  |  |  |  | ✔ |  | ✔ |  |  |  | ✔ | ✔
Perfluoroalkyl ether sulfonic acids (PFESAs)
39 | 9-Chlorohexadecafluoro-3-oxanonane-1-sulfonic acid | 9Cl-PF3ONS | 756426-58-1 |  |  |  | ✔ | ✔ |  | ✔ |  |  |  | ✔ | ✔
40 | 11-Chloroeicosafluoro-3-oxaundecane-1-sulfonic acid | 11Cl-PF3OUdS | 763051-92-9 |  |  |  | ✔ | ✔ |  | ✔ |  |  |  | ✔ | ✔
41 | Perfluoro(2-ethoxyethane)sulfonic acid | PFEESA | 113507-82-7 |  |  |  |  | ✔ |  | ✔ |  |  |  | ✔ | ✔
Fluorotelomer carboxylic acids (FTCAs)
42 | 3:3 Fluorotelomer carboxylic acid | 3:3 FTCA | 356-02-5 | [6 empty] | ✔ |  |  |  | ✔ | ✔
43 | 5:3 Fluorotelomer carboxylic acid | 5:3 FTCA | 914637-49-3 | [6 empty] | ✔ |  |  |  | ✔ | ✔
44 | 3-perfluoroheptyl propanoic acid 2H,2H,3H,3H-Perfluorodecanoic acid | 7:3 FTCA FHpPA | 812-70-4 | 7:3 FTCA | [5 empty] | ✔ |  | ✔ | ✔ | ✔ | ✔
Others
45 | Sodium perfluoro-1-dodecanesulfonate | PFDoS | 1260224-54-1 | [11 empty] | ✔
46 | Decafluoro-4-(pentafluoroethyl) cyclohexanesulfonate | PFecHS | 67584-42-3 | [8 empty] | ✔ | ✔ |  | ✔
47 | 2-perfluorohexyl ethanoic acid | FHEA | 53826-12-3 | 6:2 FTCA | [7 empty] | ✔ | ✔ |  | ✔
48 | 2-perfluorooctyl ethanoic acid | FOEA | 27854-31-5 | 8:2 FTA | [7 empty] | ✔ | ✔ |  | ✔
49 | 2-perfluorodecyl ethanoic acid | FDEA | 53826-13-4 | 10:2 FDEA | [7 empty] | ✔ | ✔ |  | ✔
50 | 2H-perfluoro-2-decenoic acid | FOUEA | 70887-84-2 | 8:2 FTUCA | [7 empty] | ✔ | ✔ | ✔ | ✔
51 | 2H-perfluoro-2-octenoic acid | FHUEA | 70887-88-6 | 6:2 FHUEA | [7 empty] | ✔ | ✔ | ✔ | ✔
52 | Lithium Bis(trifluoromethane)sulfonimideA | HQ-115 | 90076-65-6 | [10 empty] | ✔
ISOTOPICALLY LABELED SURROGATE or EXTRACTED INTERNAL STANDARD (EIS)
1 | Perfluoro-n-[13C4]butanoic acid | MPFBA | 13C4-PFBA | [6 empty] | ✔
2 | Perfluor0-n-[13C5]pentanoic acid | M5PFPeA | 13C5-PFPeA | [6 empty] | ✔
3 | Perfluoro-n-[1,2,3,4,6-13C5]hexanoic acid | M5PFHxA | 13C5-PFHxA | [6 empty] | ✔
4 | Perfluoro-n-[1,2,3,4-13C4]heptanoic acid | M4PFHpA | 13C4-PFHpA | [6 empty] | ✔
5 | Perfluoro-n-[13C8]octanoic acid | M8PFOA | 13C8-PFOA | [6 empty] | ✔
6 | Perfluoro-n-[13C9]nonanoic acid | M9PFNA | 13C9-PFNA | [6 empty] | ✔
7 | Perfluoro-n-[1,2,3,4,5,6-13C6]decanoic acid | M6PFDA | 13C6-PFDA | [6 empty] | ✔
8 | Perfluoro-n-[1,2,3,4,5,6,7-13C7]undecanoic acid | M7PFUnA | 13C7-PFUnA | [6 empty] | ✔
9 | Perfluoro-n-[1,2-13C2]dodecanoic acid | MPFDoA | 13C2-PFDoA | [6 empty] | ✔
10 | Perfluoro-n-[1,2-13C2]tetradecanoic acid | M2PFTreA | 13C2-PFTeDA | [6 empty] | ✔
11 | Perfluoro-1-[2,3,4-13C3]butanesulfonate | MPFBS | 13C3-PFBS | [6 empty] | ✔
12 | Perfluoro-1-[1,2,3-13C3]hexanesulfonate | M3PFHxS | 13C3-PFHxS | [6 empty] | ✔
13 | Perfluoro-1-[13C8]octanesulfonate | M8PFOS | 13C8-PFOS | [6 empty] | ✔
14 | Perfluoro-1-[13C8]octanesulfonamide | M8FOSA | 13C8-PFOSA | [6 empty] | ✔
15 | N-methyl-d3-perfluoro-1-octanesulfonamidoacetic acid | D3-N-MeFOSAA | D3-NMeFOSAA | [6 empty] | ✔
16 | N-ethyl-d5-perfluoro-1-octanesulfonamidoacetic acid | D5-N-EtFOSAA | D5-NEtFOSAA | [6 empty] | ✔
17 | 1H,1H,2H,2H-perfluoro-1-[1,2-13C2]hexane sulfonate | M4:2FTS | 13C2-4:2FTS | [6 empty] | ✔
18 | 1H,1H,2H,2H-perfluoro-1-[1,2-13C2]-octane sulfonate | M6:2FTS | 13C2-6:2FTS | [6 empty] | ✔
19 | 1H,1H,2H,2H-perfluoro-1-[1,2-13C2]-decane sulfonate | M8:2FTS | 13C2-8:2FTS | [6 empty] | ✔
20 | 2,3,3,3-Tetrafluoro-2-(1,1,2,2,3,3,3-heptafluoropropoxy-13C3-propanoic acid | MHFPO-DA | 13C3-HFPO-DA | [6 empty] | ✔
21 | 2-(N-methyl-d3-perfluoro-1-octanesulfonamido)ethan-d4-ol | d7-N-MeFOSE | D7-NMeFOSE | [6 empty] | ✔
22 | 2-(N-ethyl-d5-perfluoro-1-octanesulfonamido)ethan-d4-ol | D9-N-EtFOSE | D9-NEtFOSE | [6 empty] | ✔
23 | N-methyl-d3-perfluoro-1-octanesulfanamide | d-N-MeFOSA | D3-NMeFOSA | [6 empty] | ✔
24 | N-ethyl-d5-perfluoro-1-octanesulfanamide | d-N-EtFOSA | D5-NEtFOSA | [6 empty] | ✔
NON-EXTRACTED INTERNAL STANDARD (NIS)
1 | Perfluoro-n-[2,3,4- 13C3]butanoic acid |  | 3C3-PFBA | [6 empty] | ✔
2 | Perfluoro-n-[1,2,3,4- 13C4]octanoic acid |  | 13C4-PFOA | [6 empty] | ✔
3 | Perfluoro-n-[1,2- 13C2]decanoic acid |  | 13C2-PFDA | [6 empty] | ✔
4 | Perfluoro-n-[1,2,3,4- 13C4]octanesulfonic acid |  | 13C4-PFOS | [6 empty] | ✔
5 | Perfluoro-n-[1,2,3,4,5- 13C5] nonanoic acid |  | 3C5-PFNA | [6 empty] | ✔
6 | Perfluoro-n-[1,2- 13C2]hexanoic acid |  | 13C2-PFHxA | [6 empty] | ✔
7 | Perfluoro-1-hexane[18O2]sulfonic acid |  | 18O2-PFHxS | [6 empty] | ✔