## Cover
MEDICAL PHYSICIST'S MAMMOGRAPHY QC TEST SUMMARY
Preliminary Results
Site |  | Survey Date
Room ID
X-Ray Unit Manufacturer |  | Model
Medical Physicist's QC Tests
Pass/Fail
|  |  |  | ACR Guides | MQSA Regs
1. Mammographic Unit Assembly Evaluation
2. Collimation Assessment
3. Evaluation of Focal Spot Performance
4. Automatic Exposure Control (AEC) System Performance
5. Uniformity of Screen Speed
6. Artifact Evaluation
7. Phantom Image Quality Evaluation**
8. kVp Accuracy and Reproducibility
9. Beam Quality (Half-Value Layer) Assessment
10. Breast Entrance Exposure, Average Glandular Dose,**
AEC Reproducibility, and
Radiation Output Rate
11. Viewbox Luminance and Room Illuminance
**If any of the starred MQSA tests fail (Phantom Image Quality and Average Glandular Dose),
corrective action must be taken before any further exams are performed. Failure of any other
MQSA-mandated tests requires corrective action within 30 days of the test date.
Recommendations for Corrective Actions
Evaluation of Site's Technologist QC Program
|  |  |  | ACR Guides | MQSA Regs
1. Darkroom cleanliness (daily)
2. Processor QC - performed, records maintained, action taken when needed (daily)
3. Screen cleaning (weekly)
4. Mammo phantom imaging - performed, records maintained, action taken as needed (weekly)
5. Darkroom fog (semiannually)
6. Film-screen contact test (semiannually)
7. Compression pressure monitored (semiannually)
8. Repeat analysis - performed, records maintained, reviewed by radiologist (quarterly)
9. Viewboxes and viewing conditions (weekly)
10. Analysis of fixer retention (quarterly)
11. Visual checklist (monthly)
Specific Comments
This is only a preliminary list of findings. A full and final report will be mailed to you shortly. Please call me
if you have any questions about this summary.
Signature
Physicist's Name
Phone Number