## Sheet1
11. Viewbox Luminance and Room Illuminance
|  | Radiologist's Viewboxes |  |  | Technologist's
|  | Reading Area 1 | Reading Area 2 | Reading Area 3 | Viewboxes
Viewbox location
Viewbox luminance (cd/m2)
Illuminance on viewbox surface (lux)
Illuminance seen by observer (lux)
| Dirt and Marks | Y N | Y N | Y N | Y N
| Color Difference | Y N | Y N | Y N | Y N
| Luminance Difference | Y N | Y N | Y N | Y N
| Uniformity | Y N | Y N | Y N | Y N
| Functioning Masks | Y N | Y N | Y N | Y N
Comments:
ACTION LIMIT: | ACR - The illuminance on the viewbox surface or the illuminance seen by the
observer should be 50 lux or less. The mammography viewboxes should
be capable of a luminance of 3000 cd/m2. If these levels are not met,
corrective action should be taken.