## A
5. Uniformity of Screen Speed
Screen type: |  |  |  | Processor used:
Film type: |  |  |  | kVp setting:
Focal spot: |  |  |  | AEC density control:
Small Cassettes: |  |  |  | Large Cassettes:
Size: |  |  | cm | Size: |  |  | cm
Film Emulsion #: |  |  |  | Film Emulsion #:
Cassette ID# | Artifacts? | mAs | Density | Cassette ID# | Artifacts? | mAs | Density
Control Cassette: |  |  |  | Control Cassette:
Mean of control cassette densities |  |  |  | Mean of control cassette densities
Standard deviation of |  |  |  | Standard deviation of |  |  |  | Standard deviation of control cassette densities
control cassette densities |  |  |  | control cassette densities
Other Cassettes: |  |  |  | Other Cassettes:
Mean Density |  |  |  | Mean Density
Minimum Density |  |  |  | Minimum Density
Maximum Density |  |  |  | Maximum Density
Density Range |  |  |  | Density Range
Comments:
ACTION LIMIT: | ACR/MQSA - If standard deviation of control cassette densities is less than 0.05 AND
density range exceeds 0.3, then corrective action is needed.