## kVp
8. kVp Accuracy/Reproducibility
kVp meter used: |  | Setting:
Nominal kVp setting
Focal spot
Exposure time (sec)
mA
mAs
Measured kVp values:
1
2
3
4
Mean kVp
Standard deviation (SD)
Additional kVp measurements (if needed):
5
6
7
8
9
10
Recalculated:
Mean kVp
Standard deviation (SD)
Mean kVp - Nominal kVp
0.05 X Nominal kVp
% Error
Coefficient of variation (SD/Mean kVp)
ACTION LIMIT: | ACR/MQSA - If the mean kVp differs from the nominal
by more than +5% of the nominal kVp, or if the
coefficient of variation exceeds 0.02, then seek service
correction.