MAMMOGRAPHY QUALITY CONTROL CHECKLIST – FULL-FIELD DIGITAL

GENERAL ELECTRIC MODEL: Pristina

Monthly, Quarterly, and Semi-Annual

(date, initial and enter number where appropriate)

| Year |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC |
| Acquisition Station Monitor Cleaning (monthly (or as required) -GE Pristina 5845677-8EN, Rev. 2) |  |  |  |  |  |  |  |  |  |  |  |  |
| AOP and SNR Check (monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Visual Checklist (monthly, and after any service or maintenance on the mammographic X-ray system) |  |  |  |  |  |  |  |  |  |  |  |  |
| Repeat Analysis Check (2% change) (quarterly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Compression Force (25-45 lb) (semi-annually) |  |  |  |  |  |  |  |  |  |  |  |  |
| AOP 3D Check - DBT (monthly, NA-GE Pristina 5845677-8EN, Rev. 2 |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Workstation QC (See Manufacturer’s QC Manual) |  |  |  |  |  |  |  |  |  |  |  |  |
| Film Printer (if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |
| Mobile Unit Quality Control (if applicable) |  |  |  |  |  |  |  |  |  |  |  |  |

| Date: |  | Test: |  | Comments: |
| --- | --- | --- | --- | --- |