FULL-FIELD DIGITAL MAMMOGRAPHY QUALITY CONTROL CHECKLIST

SIEMENS MODEL: ____________________

Monthly, Quarterly, and Semi-Annual Tests

(date, initial and enter number where appropriate)

| Year |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC |
| Repeat/Reject Analysis (quarterly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Detector Calibration (Fusion-quarterly)* |  |  |  |  |  |  |  |  |  |  |  |  |
| Compression Force (25-45 lb) (semiannually) |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Workstation QC (See QC Manual) |  |  |  |  |  |  |  |  |  |  |  |  |

* For Mammomat Revelation and Inspiration, indicate NA-calibration required before QC but does not need to be documented

| Date: |  | Test: |  | Comments: |
| --- | --- | --- | --- | --- |