FULL-FIELD DIGITAL MAMMOGRAPHY QUALITY CONTROL CHECKLIST – CARESTREAM

Monthly, Quarterly, and Semi-Annual Tests

(date, initial and enter number where appropriate)

| Year |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC |
| Cassette/Phosphor and CR System Visual Inspection and Cleaning (monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Mammography Unit Visual Checklist (monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Repeat Analysis (2% change) (quarterly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Compression (25-45 lb) (semi-annually) |  |  |  |  |  |  |  |  |  |  |  |  |
| Image Plate Fog Test (semi-annually) |  |  |  |  |  |  |  |  |  |  |  |  |
| Printer QC (see FDA guidance) |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Workstation QC (see FDA guidance) |  |  |  |  |  |  |  |  |  |  |  |  |

| Date: |  | Test: |  | Comments: |
| --- | --- | --- | --- | --- |