MAMMOGRAPHY QUALITY CONTROL CHECKLIST – FULL-FIELD DIGITAL

FISCHER  MODEL: ____________________

Monthly, Quarterly, and Semi-Annual

(date, initial and enter number where appropriate)

| Year |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC |
| System Resolution (Detector Alignment/ Scan Speed Uniformity) (monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| System Operation (monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Reject/Repeat Analysis (2% change) (quarterly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Compression Force Test (25-45 lb) (semi-annually) |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Workstation QC (See QC Manual) |  |  |  |  |  |  |  |  |  |  |  |  |

| Date: |  | Test: |  | Comments: |
| --- | --- | --- | --- | --- |