MAMMOGRAPHY QUALITY CONTROL CHECKLIST – FULL-FIELD DIGITAL

GENERAL ELECTRIC MODEL: ________________

Monthly, Quarterly, and Semi-Annual

(date, initial and enter number where appropriate)

| Year |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC |
| MTF (2000D-monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| AOP Mode and SNR (monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Visual Checklist (monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Repeat Analysis (2% change) (quarterly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Compression Force (25-45 lb) (semi-annually) |  |  |  |  |  |  |  |  |  |  |  |  |
| Grid Texture Test (SenoClaire-monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| AOP 2D and SNR Check with MTD (SenoClaire-monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| AOP 3D Check (SenoClaire DBT- Monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Visual Checklist (SenoClaire-monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Compression Force (25-45 lb) (SenoClaire-semi-annually) |  |  |  |  |  |  |  |  |  |  |  |  |
| Review Workstation QC (See QC Manual) |  |  |  |  |  |  |  |  |  |  |  |  |
| Analysis of Fixer Retention (0.05 gm/m2) (quarterly, if app) |  |  |  |  |  |  |  |  |  |  |  |  |
| Darkroom Fog ( 0.05) (semi-annually, if app) |  |  |  |  |  |  |  |  |  |  |  |  |

| Date: |  | Test: |  | Comments: |
| --- | --- | --- | --- | --- |