MAMMOGRAPHY QUALITY CONTROL CHECKLIST – FULL-FIELD DIGITAL

LORAD MODEL: ____________________

Monthly, Quarterly, and Semi-Annual

(date, initial and enter number where appropriate)

| Year |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Month | JAN | FEB | MAR | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC |
| Visual Checklist (monthly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Repeat/Reject Analysis (2% change) (quarterly) |  |  |  |  |  |  |  |  |  |  |  |  |
| Compression (25-45 lb) (semiannually) |  |  |  |  |  |  |  |  |  |  |  |  |
| Geometry Calibration for Tomo (semiannually) |  |  |  |  |  |  |  |  |  |  |  |  |
| Diagnostic Review Workstation QC (See Lorad QC Manual) |  |  |  |  |  |  |  |  |  |  |  |  |

| Date: |  | Test: |  | Comments: |
| --- | --- | --- | --- | --- |