## Sheet1
Measure Title: | DXA: Improving Diagnosis of True Changes in Bone Mineral Density
Denominator: | All serial DXA exams which have an available comparable prior exam.
Numerator: | Number of final reports for serial exams that include (1) an appropriate LSC statement referencing a facility’s LSC values and (2) a second statement regarding whether the measurement differences between the current exam and prior exam constitutes a change (difference is greater than LSC value) or does not (difference is less than LSC value).
Exceptions: | Medical or patient reasons to not designate evidence-based follow-up recommendations.
Support: 23
Support with Modifications: 2
Does Not Support: 2
Support | COMMENT | PATIENT
I support this measure. | Good initiative | N | Thank you for your comment.
| I strongly support the inclusion of a quality measure for determination and proper execution of least significant change. Currently, there are no motivating quality measures for DXA; numerous other imaging modalities (CT, MRI, US, mammography) require certification (with it's intrinsic clinical quality requirements) for CMS payment. As you have shown, literature demonstrates that errors and omissions in DXA clinical practice are common and can materially impact patient care. This becomes increasingly important as an aging population sees fracture rates rising and the cost of treatment skyrocketing with the newest agents. How can we know if our treatments are effective? Stability or improvement in BMD is the most common marker, and without LSC values properly calculated and applied, there is no opportunity to utilize DXA effectively to monitor treatment response. An important quality indicator like LSC for DXA - included at the national quality level like NQF and ultimately tied to value-based payment - would send a strong message to facilities and patients that DXA quality matters. | N | Thank you for your comment.
| Should be straightforward to implement | N | Thank you for your comment.
| I had our nucs chief take a look (Munir Ghesani) He supports this. Thank you. | N | Thank you for your comment.
| We already include this information in our reports | N | Thank you for your comment.
| Excellent measure and description. | N | Thank you for your comment.
| Our practice routinely calculates and reports LSC in all DXA patients undergoing serial examinations and feel that this should be the standard of care. | N | Thank you for your comment.
| We currently do this at the sites I read DXAs for and hope it provides appropriate information for ordering clinicians. | N | Thank you for your comment.
| I think that this measure is sufficiently comprehensive, without being overly burdensome to implement. It will result in reducing unwanted variability and technical as well as interpretive measurement inaccuracies and will facilitate improved clinical decision-making. | N | Thank you for your comment.
| This measure is greatly needed. | N | Thank you for your comment.
| I have been officially interpreting DXA scans for decades at academic institutions and absolutely agree with errors in DXA testing by most institutions. Acceptance of the above recommendations is absolutely required or treating clinicians will not obtain accurate results for managing their patients resulting in the confusion presently observed in clinical medicine. | N | Thank you for your comment.
| This measure is critical to improving care of patients! Just like we measure size of pulmonary nodules and report change, reporting change in BMD is critical. | N | Thank you for your comment.
| This is an essential measure for all facilities performing bone density and is the only way clinicians will be able to accurately discuss outcomes with a patient. The treatment ramifications are profound and are an inherent feature of this measure. It is unconscionable not to ratify this measure. Serial bone density measurements should not be reimbursed unless facilities follow this measure. | N | Thank you for your comment.
| DXA reporting should be according to current best practice, as included in the ISCD Official Positions. Quantitative BMD comparisons require that precision assessment be done and the LSC calculated. DXA reports should have 1 diagnosis and 1 fracture risk for each patient, not something different for each skeletal site measured. The diagnosis of osteoporosis persists when treatment results in a T-score better than -2.5. | N | Thank you for your comment.
| This is a matter of vital importance for providers and our patients. I see a lack of this reporting daily from DXAs performed at outside facilities and it is an impediment to patient care. | N | Thank you for your comment.
| This measure is aligned with recommendations of the ISCD and is likely to improve the quality of the exam and reporting of results. A win for patients, at the cost of a modest effort by facilities. | N | Thank you for your comment.
| I manage a large population of osteoporosis patients and it is critical to have excellent quality BMD in order to make treatment decisions. | N | Thank you for your comment.
| Quality DXA scanning is critical and often overlooked. Performing a short term precision study is critical to know whether a change is significant or not. I am highly supportive of this measure. This reference may be useful: J Clin Densitom . 2016 Apr-Jun;19(2):127-40. doi: 10.1016/j.jocd.2016.03.003. Epub 2016 Mar 22. Best Practices for Dual-Energy X-ray Absorptiometry Measurement and Reporting: International Society for Clinical Densitometry Guidance E Michael Lewiecki 1, Neil Binkley 2, Sarah L Morgan 3, Christopher R Shuhart 4, Bruno Muzzi Camargos 5, John J Carey 6, Catherine M Gordon 7, Lawrence G Jankowski 8, Joon-Kiong Lee 9, William D Leslie 10; International Society for Clinical Densitometry | N | Thank you for your comment.
| The referring providers really cannot be expected to figure out if a reported change in BMD is within the range expected from measurement error (LSC), or whether the change exceeds that change and so is statistically significant. The most robust way to determine the LSC is for each center to do an in-house measurement to determine the LSC for the combination of the local densitometer, tech, and patient population. The next best way to determine the LSC is to pick a value based on published literature using a densitometer and patient population similar to the center in question. In any event, a significant change in BMD should be reported only if the change in BMD exceeds that LSC. | N | Thank you for your comment.
| Having LSC reported is critical to treating patients for osteoporosis. It isn’t listed on those from my facility. If ACR supported this measure, it could provide more support for me to successfully lobby its inclusion by radiology at my facility. | N | Thank you for your comment.
| DXA is recognized as the current clinical gold standard for BMD assessment and monitoring. Unfortunately, as noted in Measure Rationale, DXA is often sub optimally performed. Determination and reporting of LSC at all DXA facilities would be a major step forward in emphasizing the importance of quality scan acquisition and analysis. Moreover, this will improve patient care by providing high quality data allowing clinicians to optimize osteoporosis care. Determination and reporting of LSC is not an onerous process even in large systems with multiple densitometers and technologists such as our university-based healthcare system. This is a wonderful step forward and should be strongly supported. | N | Thank you for your comment.
| I applaud the approach. This recommendation should reach radiologists and technologists operating within Radiology Departments. It also is in alignment with the specific ISCD standards. The references that are referred to are not necessarily the most up-to-date or point to the publication that derived the recommendation. I recommend referring to the recent Scoping Review of the ISCD Positions to get the most up-to-date wording and specific references for each ISCD position: Shepherd, J. (2023). Positions of the International Society for Clinical Densitometry and their Etiology: A Scoping Review. Journal of Clinical Densitometry, 101369. Reference 15 should be replaced with Shepherd 2006 JCD 9(1):31-6. It is the primary reference that justifies this position. Shepherd JA, Lu Y, Wilson K, Fuerst T, Genant H, Hangartner TN, Wilson C, Hans D, Leib ES, International Society for Clinical Densitometry Committee on Standards of Bone M. Cross-calibration and minimum precision standards for dual-energy X-ray absorptiometry: the 2005 ISCD Official Positions. J Clin Densitom. 2006;9(1):31-6. Epub 20060512. doi: 10.1016/j.jocd.2006.05.005. PubMed PMID: 16731429. These statements should include the actual maximum allowable precision error as stated in the ISCD position: The minimum acceptable precision for an individual technologist is: • Lumbar Spine: 1.9% (LSC=5.3%) • Total Hip: 1.8% (LSC=5.0%) • Femoral Neck: 2.5% (LSC=6.9%) • Retraining is required if a technologist’s precision is worse than these values. This rationale was given in the Shepherd 2006 reference above. Measurements between centers can be made if the general LSC is calculated. There is an ISCD position about this (same 2006 reference). When changing an entire system to one made by the same manufacturer using a different technology, or when changing to a system made by a different manufacturer, one approach to cross-calibration is: • Scan 30 patients representative of the facility’s patient population once on the initial system and then twice on the new system within 60 days. • Measure those anatomic sites commonly measured in clinical practice, typically spine and proximal femur. • Facilities must comply with locally applicable regulations regarding DXA. • Calculate the average BMD relationship and LSC between the initial and new machine using the ISCD DXA Machine CrossCalibration Tool (www.ISCD.org). • Use this LSC for comparison between the previous and new system. Inter-system quantitative comparisons can only be made if cross-calibration is performed on each skeletal site commonly measured. • Once a new precision assessment has been performed on the new system, all future scans should be compared to scans performed on the new system using the newly established intra-system LSC. The GLSC is defined in: Shepherd, J. A., Morgan, S. L., & Lu, Y. (2008). Comparing BMD results between two similar DXA systems using the generalized least significant change. Journal of Clinical Densitometry, 11(2), 237-242. Thank you for the opportunity to comments. | N | We appreciate and thank you for your comment. We will cite the International Society for Clinical Densitometry (ISCD) guidelines and references appropriately.
I support this measure with modifications. | There are many things I like about this measure from a quality standpoint. It is good to promote the concept of LSC, which I suspect many radiologists know little about. There is a practical issue that needs to be addressed. Many radiology groups contract with a hospital or health care system to read their studies. There are many large radiology groups covering multiple sites performing DXA. Various sites have varying degrees of response to instruction to generate precision data, which is a very time consuming endeavor. Some sites have dedicated technologists who perform the vast majority of DXA, but some smaller centers don't have the luxury of dedicated techs, and may have many or all of their x-ray techs also trained to perform DXA. Getting sufficient exams for every tech has proved to be a very long and difficult task for me personally, requiring many patients to agree to be scanned multiple times for internal quality data. It can be difficult for the radiologist to then be held liable for the ability or willingness of the imaging center's compliance with the quality measure. Putting the LSC in the report really isn't the important goal, but having each site have precision data and having that data available for the interpreting radiologist is really the goal. The presence of the LSC in the report is a secondary measure to make sure the important thing is happening. The examples of LSCs provided gives me pause. While a site may feel they can go above and beyond and provide an LSC for every possible combination of imaging site and every combination of adjacent vertebrae, I think it would be better to limit the quality measure to providing the LSC for the total hip and for the total lumbar spine (L1-L4). I am not a fan of providing comparisons for the forearm. The forearm gives a good sense of cortical bone mineralization, but my understanding has been that cortical bone is going to have slower response to therapies and is not as useful for interval comparison and that this data could lead to incorrect management decisions. If the quality measure only focuses on total hip and L1-L4, it will have made a significant improvement in the overall quality of DXA reporting in the US. | N | Thank you for your comment. After careful consideration, the measure development technical expert panel (TEP), respectfully disagrees with the comment that states "Putting the LSC in the report really isn't the important goal, but having each site have precision data and having that data available for the interpreting radiologist is really the goal." The TEP finds that including the LSC in the report provides a comprehensive picture of the clinical findings and associated recommendations, which are supported by the following articles cited in the measure specifications' reference section. -Lewiecki EM, Binkley N, Morgan SL, et al. 2016 Best Practices for Dual-Energy X-ray Absorptiometry Measurement and Reporting: International Society for Clinical Densitometry Guidance. J Clin Densitom 19:127-40 -Shuhart CR, Yeap SS, Anderson PA, et al. 2019 Executive Summary of the 2019 ISCD Position Development Conference on Monitoring Treatment, DXA Cross-calibration and Least Significant Change, Spinal Cord Injury, Peri-prosthetic and Orthopedic Bone Health, Transgender Medicine, and Pediatrics. J Clin Densitom 22:453-471 Please note that feasibility will be addressed in measure testing.
| Please include a statement that the administration of the facility billing the technical component MUST allocate/provide resources and the time for LSC to be obtained and updated, perhaps biennially. | N | Thank you for your comment. At present, this measure is planned for internal quality improvement unrelated to quality payment programs. Following early adoption and additional scientific acceptibility analysis, it may be considered for use in quality payment programs.
Does not support the measure. | DXAs have a binary result: should the patient be treated medically for osteoporosis or not. This does not materially change this result in my opinion. It just adds extra noise that could erroneously cause a patient not to be treated medically for osteoporosis. | N | Thank you for your comment. The technical expert panel hopes this measure will lead to improved treatment decisions over time.
| I was told my va does not allow patients to be scanned twice in order to calculate the LSC. This is due to additional radiation. | N | Thank you for your comment. We are not aware of any state or federal regulation that prohibits precision measurements.