## Slide 1
Evaluation of Thyroid Function in Pregnant Women Using Automated Immunoassays
K.A. Geno, M.S. Reed, M.A. Cervinski, R.D. Nerenz
May 2021
https://doi.org/10.1093/clinchem/hvab009
© Copyright 2021 by the American Association for Clinical Chemistry

## Slide 2: Introduction
Pregnancy is a euthyroid state
  Thyroid hormone excess or deficiency is not caused by pregnancy
Pregnancy-associated changes affect thyroid analytes
  Stimulation of thyroid stimulating hormone (TSH) receptor by human chorionic gonadotropin (hCG)
  Estradiol-induced increases in thyroxine binding globulin (TBG)
Important to identify thyroid disease in pregnancy
  Increased risk of poor outcomes for mother and child

## Slide 3: Introduction
Several approaches to evaluate free thyroxine (FT4)
  Direct measurement (equilibrium dialysis)
  Indirect measurement (automated immunoassay)
  Estimation (free thyroxine index, FTI)
Automated FT4 assays thought to be unreliable in pregnancy1
  Potential to miscategorize euthyroid as hypothyroid
Professional society recommendations
  Multiply nonpregnant total T4 (TT4) interval by 1.5
  Employ direct FT4 measurement
  Calculate FTI
  Use indirect FT4 with trimester-specific reference intervals
1Lee RH et al, Am J Obstet Gynecol 2009;200:260.e1-260.e6

## Slide 4: Questions to Consider
How do the concentrations of thyroid analytes change during pregnancy?
What are the limitations of professional society recommendations?
What are the consequences of using nonpregnant reference intervals to interpret test results in pregnancy?

## Slide 5: Materials and Methods
Remnant clinical specimens (Li-Hep plasma or serum)
After excluding thyroid peroxidase- or thyroglobulin-antibody positive specimens
  147 nonpregnant women
  184 1st trimester pregnant women
  149 2nd trimester pregnant women
  147 3rd trimester pregnant women
Measurement methods
  Roche Elecsys: TSH, FT4, TT4, thyroid hormone uptake (T-Uptake)
  Equilibrium dialysis(ED), LC-MS/MS: FT4

## Slide 6
FT4 Comparison: Automated Immunoassay vs ED
Figure 1. A) FT4 concentrations by method for nonpregnant, 1st and 3rd trimester specimens. B) Percent bias (Cobas-ED)/ED.
FT4 decreases with gestational age on both methods
Bias between methods consistent in NP, 1st, 3rd

## Slide 7
Thyroid Dynamics in Pregnancy
TSH: decrease in 1st trimester followed by increase at term
FT4: gradual decrease throughout gestation
FTI: modest increase in 1st, no change in 2nd or 3rd
Q: How do you interpret the pattern of increasing TSH and decreasing FT4 at term?
Figure 2. Thyroid analytes in nonpregnant and pregnant women

## Slide 8
Thyroid Dynamics in Pregnancy
Figure 2 (continued). Thyroid analytes in nonpregnant and pregnant women. TT4: dashed lines represent 1.5x the nonpregnant reference interval.
TT4 and T-Uptake: increase in 1st trimester, further increase to plateau in 2nd and 3rd

## Slide 9
Performance of Nonpregnant and Trimester-Specific Reference Intervals for FTI and TSH
Table 2. Application of three reference intervals to FTI and TSH results. The number of values outside the reference interval are indicated.

## Slide 10: Results Summary
FT4 decreases with gestational age on both automated immunoassay and equilibrium dialysis
  Difference in binding capacity between sample and calibrators in automated immunoassay less disruptive than originally thought
FT4, FTI exhibit different patterns of change with gestational age
Suboptimal options for thyroid assessment in 1st trimester
  17% of TSH results below nonpregnant reference interval
  14% of TT4 results below 1.5x nonpregnant reference interval

## Slide 11: Questions for Discussion
Given the different patterns exhibited by automated FT4 and FTI, is one preferred over the other?
How might interpretation of TSH, TT4 and FT4 using nonpregnant intervals misclassify thyroid status?
What are some challenges in the implementation of trimester-specific reference intervals?

## Slide 12: Discussion
Given the different patterns exhibited by automated FT4 and FTI, is one preferred over the other?
Automated FT4
Automated, single measurement
Performed by most clinical laboratories
Shows same trend as direct FT4
Reflects TSH changes in late pregnancy
FTI
Automated, multiple measurements (TT4 and T-Up)
Performed by few clinical laboratories
Different pattern relative to direct FT4
Does not reflect TSH changes in late pregnancy

## Slide 13: Discussion
How might interpretation of TSH, TT4 and FT4 using nonpregnant intervals misclassify thyroid status?
  TSH: falsely identify women as hyperthyroid in 1st and 2nd trimesters, hypothyroid in 3rd
  TT4: falsely identify women as hyperthyroid throughout
    If using 1.5x nonpregnant interval, falsely identify women as hypothyroid in 1st trimester
  FT4: falsely identify women as hypothyroid in 2nd and 3rd trimesters

## Slide 14: Discussion
What are some challenges in the implementation of trimester-specific reference intervals?
  Pregnancy status typically not included in electronic medical record patient demographic information