## Slide 1
Recalibration of Blood Analytes over 25 Years in the Atherosclerosis Risk in Communities Study: Impact of Recalibration on Chronic Kidney Disease Prevalence and Incidence
C.M. Parrinello, M.E. Grams, D. Couper,
C.M. Ballantyne, R.C. Hoogeveen, J.H. Eckfeldt,
E. Selvin, and J. Coresh
July 2015
www.clinchem.org/content/61/7/938.full
© Copyright 2015 by the American Association for Clinical Chemistry

## Slide 2: Introduction
Background
  Equivalence of laboratory measurements over time is important for studies of trends
  Small systematic differences may shift the entire distribution of a biomarker at the population level
Objectives
  Assess the equivalence of different biomarker measurements across 5 Atherosclerosis Risk in Communities (ARIC) visits
  Determine recalibration corrections for those analytes lacking equivalence
  Assess trends in each analyte before and after recalibration

## Slide 3: Question
What are some potential implications of not conducting assay recalibration in a prospective cohort study with multiple measurements over time?

## Slide 4: Materials & Methods
Study population
  Subsample of 200 ARIC participants who had plasma available at all 5 visits (full cohort N=15,792) for 8 analytes that were also reassayed (Figure 1)
  Stratified random sampling selection based on age, sex, and race
Statistical analysis - Recalibration
  Removed outliers extraneous to the recalibration process
  Deming regression of original vs reassayed measurement
  Recalibration equations derived for analytes with differences >10%
Statistical analysis – Impact of recalibration
  Regressed mean analyte value pre- and post-recalibration on age at each visit
  Compared prevalence and incidence of chronic kidney disease (CKD) (using creatinine-based estimated glomerular filtration rate [eGFR]) pre- and post-recalibration (and to previous statistical calibration)

## Slide 5
Figure 1. Study design for original measurements in the entire ARIC cohort and reassay of analytes in the recalibration subsample.

## Slide 6: Question
What is the purpose of removing outliers prior to recalibration?

## Slide 7: Results
Most analytes were well-calibrated
  Reassayed measurement values were highly correlated with original values
  Bias <10% for all analytes except creatinine and uric acid (Table 2)
Developed recalibration equations for creatinine and uric acid and compared pre- and post-calibration results
  Trends in eGFR and uric acid were better aligned after applying equations to the entire cohort (Figure 2)
  Post-recalibration prevalence and incidence estimates of CKD determined by eGFR were more accurate (Figure 3)

## Slide 8
Table 2 (Partial). Recalibration recommendations to maximize reproducibility across visits 1-5.

## Slide 9
Table 3. Comparisons of intercepts and slopes of regression lines of mean analytes vs agea

## Slide 10
Figure 2 (Panels A-D). Regression of eGFR versus age across 5 ARIC visits before and after applying the laboratory recalibration

## Slide 11
Figure 3. Comparison of prevalence estimates of CKD before and after recalibration of creatinine.

## Slide 12: Question
What other approaches could be used to assess the impact of applying a recalibration equation to full cohort data?