## Slide 1
Two-Stage Isothermal Enzymatic Amplification for Concurrent Multiplex Molecular Detection
J. Song, C. Liu, M. G. Mauk, S. C. Rankin,
J. B. Lok, R. M. Greenberg, H. H. Bau
March 2017
www.clinchem.org/content/63/3/714.full
© Copyright 2017 by the American Association for Clinical Chemistry

## Slide 2: Introduction
  The wide array of pathogens responsible for infectious diseases makes it difficult to identify causative agents with single-plex tests. Different infections can cause similar overt symptoms, but require specific disease management strategies
  Pathogens are often co-endemic, making it imperative to distinguish single infections from co-infections, which can alter host responses, disease prognosis, transmission dynamics, and treatment strategies and outcomes.
  Syndromic panel tests with simultaneous detection of multiple biomarkers for infectious diseases can assist health care providers to determine effective treatments and the potential need for additional ancillary diagnostic testing.
  Although multiplex PCR detects multiple targets concurrently, it is restricted to centralized laboratories, which delays test results or makes multiplexing unavailable, depriving healthcare providers of critical, real-time information.

## Slide 3: Method
  To address the need for point-of-care, highly multiplexed tests, we propose a two stage, nested-like, rapid (<40 min) isothermal amplification assay, dubbed RAMP. RAMP’s first-stage uses outer Loop-Mediated Isothermal Amplification (LAMP) primers to amplify all targets with Recombinase Polymerase Amplification (RPA). First-stage amplicons are aliquoted to second-stage reactors, each specialized for a specific target, to undergo LAMP. The assay is implemented in a microfluidic chip. LAMP amplicons can be detected in-situ with colorimetric dye by eye or with a fluorescent dye and a smartphone camera.

## Slide 4
Question 1
What are the advantages of two-stage
enzymatic amplification methods over
single stage amplification methods?

## Slide 5: Benchtop Implementation of RAMP
First stage: Nucleic acids extracted from the sample are added to a reaction mix that contains outer LAMP primers of all targets and controls to amplify any targets present in the sample and positive controls with RPA for 10-20 min.
Second stage: First-stage amplicons are aliquoted to second - stage reactors, each containing primers for one specific target. Each of the second stage reactors undergoes LAMP amplification for typically less than 20 min.

## Slide 6: Example: 16-plex RAMP
RAMP assay designed to detect: (1) Schistosoma mansoni, (2) HIV-1 clade B, (3) S. haematobium, (4) Plasmodium falciparum, (5) S. japonicum, (6) Brugia malayi, (7) Strongyloides stercoralis, (8) Drug-resistant Salmonella, (9) ZIKV-America strain (mex 2-81, Mexico), (10) ZIKV-Africa strain (MR 766, Uganda), (11) HPV-58, (12) HPV-52, (13) HPV-35, (14) HPV-45, (15) HPV-18, and (16) HPV-16.
Amplification curves when the sample contains (a) HPV-16 (100 copies) and ZIKV (American strain, 50 PFU); (b) HPV-18 (100 copies) and ZIKV (African strain, 50 PFU); (c) HIV-1 clade B (100 copies), P. falciparum (300 fg), S. japonicum (1 pg), B. malayi (13 pg), S. stercoralis (1 pg), and drug-resistant Salmonella (100 copies); and (d) no targets are present (negative control) (e) Samples with various numbers of ZIKV: 1, 5, 50, and 500 PFU.

## Slide 7
RAMP’s Performance with Minimally-Prepared Samples
The 16-plex RAMP with a urine sample laden with ZIKV. (a) ZIKV urine sample processing. (b) Amplification curves of urine samples with 0, 1, 5, 50, and 500 PFU of ZIKV. Note robustness, tolerance to inhibitors and high sensitivity (detection of 5 PFU with high repeatability). (c) T1/2 values and s.d. of RAMP for detecting purified ZIKV RNA and heated urine samples laden with ZIKV as functions of the number of viable viruses (PFU).

## Slide 8
RAMP – Microfluidic Implementation
The plastic chip features a central chamber for RPA amplification of all targets and multiple branching LAMP chambers for specific amplification of individual targets.
A sample mixed with binding/lysis agent is introduced into the central RPA reactor, nucleic acids (NAs) are captured on a NA-isolation membrane. Following washes, the reactor is filled with water and heated to ~40oC for the RPA step.
The RPA amplicons diffuse to the branching, LAMP reactors, each pre-storing LAMP reagents for a specific target. When the chip is heated to ~65oC, the LAMP amplification proceeds. The central chamber and branching chambers can be optionally separated with paraffin plugs that melt just-in-time.
Amplicons can be detected with fluorescent or colorimetric dye. The entire process takes place in a closed system, avoiding the need for manually transferring first-stage amplicons and risking cross contamination.

## Slide 9
An example of microfluidic implementation
Four-plex chip: (a) Schematic of the microfluidic chip. (b) Fluorescence image of RAMP products. The sample contains: HIV RNA (1000 copies), drug-resistant Salmonella gDNA (~100 copies), and S. mansoni gDNA (0 fg). The fluorescence image was taken at 50 min. (c) Colorimetric detection of amplicons from 100 copies HIV RNA in tube with Leuco crystal violet (LCV) dye that changes from colorless to violet in the presence of dsDNA. (d) Colorimetric multiplex detection of HIV, S. mansoni, P. falciparum, S. haematobium on chip, using LCV dye. The samples contained:
no targets, (ii) P. falciparum DNA
(300 fg), (iii) P. falciparum DNA (300 fg) and HIV RNA (1000 copies).

## Slide 10
Question 2
What is the advantage of colorimetric
dye over fluorescent dye for the detection
of amplification products?

## Slide 11
Method | Multiplex Capability | Sensitivity | Specificity | Tolerance to inhibitors | Platform | Amplification Time
RAMP | 16 | ++++ | ++++ | ++++ | Isothermal | ≤40 min
RPA | 4 | +++ | + | ++++ | Isothermal | ≤30 min
LAMP | 4 | +++ | ++++ | ++ | Isothermal | ≤40 min
mxPCR | 15 | ++ | +++ | + | Thermal cycler | ~5 h
nmPCR | 18 | ++++ | ++++ | + | Thermal cycler | 1~2 h
isoPCR | 24 | ++++ | ++++ | + | Thermal cycler | ~1 h
Comparison of RAMP with other molecular detection methods

## Slide 12: Results
In both the benchtop and microfluidic format, RAMP demonstrated a high level of multiplexing capability (≥16); high sensitivity (i.e., 1 PFU of ZIKV) and specificity (no false positives or negatives); speed (<40 min); ease of use; and ability to cope with minimally-processed samples.

## Slide 13: Conclusions
RAMP is a hybrid, two-stage, rapid, and highly sensitive and specific assay with extensive multiplexing capabilities, combining the advantages of RPA and LAMP, while circumventing their respective shortcomings.
RAMP can be used in the lab, but one of its distinct advantages is amenability to simple implementation in a microfluidic format for use at the point of care, providing health care personnel with an inexpensive, highly sensitive tool to detect multiple pathogens in a single sample, on-site.
Future work will focus on developing self-contained microfluidic cassettes with sample-processing and dry-stored reagents, and various diagnostic panels of medical significance such as vector-borne and neglected tropical diseases.