## Slide 1
Immunoglobulin-like Domain of HsFcμR as a Capture Molecule for Detection of Crimean-Congo Hemorrhagic Fever Virus- and Zika Virus-Specific IgM Antibodies
A. Rackow, C. Ehmen, R. von Possel, R. Medialdea-Carrera, D. Brown, A.M. Bispo de Filippis, P. Carvalho de Sequeira, R.M. Ribeiro Nogueira, B. Halili, X. Jakupi, L. Berisha, S. Ahmeti, K. Sherifi, J. Schmidt-Chanasit, H. Schmitz, A. Mika, P. Emmerich, and C. Deschermeier
March 2019
www.clinchem.org/content/65/3/451.full
© Copyright 2019 by the American Association for Clinical Chemistry

## Slide 2: Introduction
FcgRIIa (CD32) as a capture molecule in IgG ELISA applications
  Serotype-specific DENV IgG ELISA (Schmitz et al., 2013)
  LASV IgG ELISA (Gabriel et al., 2018)
  CCHFV IgG ELISA (Emmerich et al., 2018)
FcµR (TOSO/FAIM3) (Kubagawa et al., 2009; Shima et al., 2009)
  Highly specific IgM binding
  Structure: signal peptide, Igl domain, TM domain, intracellular domain

## Slide 3: Questions on Introduction
What are the cellular functions of Fc receptors on mammalian immune cells?
What properties qualify Fc receptors as capture molecules for serological assays?

## Slide 4: Materials & Methods
Recombinant expression and purification
  HsFcµR-Igl
  CCHFV antigen (NP)
  ZIKV antigen (NS1)
Serum samples for assay validation
  CCHFV patient sera
  ZIKV patient sera
  Negative controls sera

## Slide 5: Questions on Materials & Methods
How can functional proteins be purified from E. coli inclusion bodies?
What minimum requirements have to be fulfilled by a serum panel suitable for assay validation?

## Slide 6: Results
Production of recombinant HsFcµR-Igl and characterization of binding properties
  Prokaryotic expression and purification
  Specific binding to IgM/antigen immune complexes (ICs)
HsFcµR-Igl as capture molecule in serological tests
  CCHFV IgM FcµR ELISA
  ZIKV IgM FcµR ELISA
  Aggregation-based rapid test (proof-of-principle)

## Slide 7
Prokaryotic expression and purification of HsFcµR-Igl
Figure 1. (A) Recombinant HsFcµR-Igl is found in the insoluble fraction of the bacterial lysate. Size exclusion chromatography (B) of refolded HsFcµR-Igl separates correctly folded, functional HsFcµR-Igl (peak 2) from high molecular weight aggregates (peak 1) (C).

## Slide 8
IgM FcµR ELISA principle
Supplemental Figure 2. Plates are coated with HsFcµR-Igl. Serum and HRP-labeled recombinant antigen are applied to the wells. During the following incubation time, ICs form and bind to HsFcµR-Igl. After plate washing, bound ICs are detected by using the colorimetric HRP substrate TMB.

## Slide 9
HsFcµR-Igl specifically binds to IgM/antigen ICs
Figure 2. (A, B) Specific binding of CCHFV-NPHRP/IgM ICs to HsFcµR-Igl and CCHFV-NPHRP/IgG ICs to HsFcgR-Igl. (C, D) HsFcµR-Igl does not bind to uncomplexed IgM molecules.

## Slide 10
CCHFV IgM FcµR ELISA
Figure 3. (A, B) Absorbance values for early and late patients samples and CCHFV IgM-negative control samples. (C) IgM seroconversion (paired sera). (D) Absorbance values for patient samples stratified according to the day after onset of symptoms on which they were collected.

## Slide 11
Receiver Operating Characteristic (ROC) analyses
Figure 4. ROC analysis of (A, B) CCHFV IgM FcµR ELISA, (C, D) BLACKBOX ZIKV IgM ELISA and (E, F) ZIKV µ-capture ELISA

## Slide 12
BLACKBOX ZIKV IgM ELISA compared with ZIKV µ-capture ELISA and Euroimmun ZIKV IgM ELISA
Figure 5. (A-C) Index values for patient samples and negative control samples. (D-F) Index values for negative control samples, (G-I) Seroconversion (paired sera). (J) Sensitivities and specificities.

## Slide 13
HsFcµR-Igl can be used as a capture molecule in aggregation-based rapid tests.
Figure 6. (A, B) anti-human IgM coated beads, but not HsFcµR-Igl coated beads, aggregate in presence of human IgM. (C) Beads coated with HsFcµR-Igl aggregate in presence of IgM/antigen ICs.

## Slide 14: Question on Results
What criteria influence the choice of the cut-off value for an ELISA application?
What substances could interfere with IgM FcµR ELISA performance?