## Slide 1
Precision and Reliability of 5 Platelet Function Tests in Healthy Volunteers and Donors on Daily Antiplatelet Agent Therapy
B.S. Karon, N.V. Tolan, C.D. Koch,
A.M. Wockenfus, R.S. Miller, R.K. Lingineni,
R.K. Pruthi, D. Chen, and A.S. Jaffe
December 2014
www.clinchem.org/content/60/12/1524.full
© Copyright 2014 by the American Association for Clinical Chemistry

## Slide 2: Introduction
Mechanical circulatory support (MCS) protocols call for titration of antiplatelet agents using laboratory tests.
  MCS is increasingly used as a bridge to cardiac transplant
  Both bleeding and thrombosis are common in the perioperative period
  To balance bleeding and thrombosis risks, protocols call for administration and titration of antiplatelet agents in the perioperative period using tests of platelet function
It is unclear which (if any) platelet function tests are precise and reliable enough to titrate antiplatelet agents over short periods of time.
  Arachidonic-induced (AA) platelet function is used to titrate aspirin therapy
  ADP-induced platelet function is used to titrate clopidogrel or dipyrimidole
  There is no reference method or gold standard for measuring platelet function, making assessment of accuracy difficult
  We chose to measure intra-assay precision, inter-assay precision, and reliability coefficient as a means to determine which platelet function tests are optimal for monitoring and titrating antiplatelet agents over short periods of time

## Slide 3: Question
What measures can be used to compare platelet function tests for suitability in titrating antiplatelet agents over short periods of time?

## Slide 4: Methods
5 tests of platelet function were compared in healthy volunteers and donors on daily aspirin and/or clopidogrel therapy.
  Light transmission aggregometry (LTA), Multiplate whole blood impedance aggregometry (Multiplate), VerifyNow whole blood aggregometry (VerifyNow) and TEG platelet mapping (TEG PM) were used to assess AA- and ADP-induced platelet function in both healthy volunteers and donors on aspirin (AA-induced only) or clopidogrel (ADP-induced only) therapy
  VASP flow cytometry was used to assess ADP-induced platelet function in both healthy volunteers and donors on daily clopidogrel therapy

## Slide 5: Methods
Tests were compared by:
  Mean (SD) values between healthy volunteers and donors on aspirin and/or clopidogrel therapy
  Intra-assay precision (based upon duplicate analysis from samples obtained in a single blood draw)
  Inter-assay precision (duplicate results from each of two blood draws performed within 24-28 hours)
  Reliability coefficient: Ratio of between person variance to total (between person plus within person) variance, interpreted as intraclass coefficient

## Slide 6: Question
How do within person, between person, and biologic variability impact interpretation of repeat platelet function tests used to titrate antiplatelet agents after MCS?

## Slide 7: Results
Multiplate whole blood aggregometry best differentiated AA-induced platelet function in healthy volunteers from donors on daily aspirin therapy.
  Mean AA-induced platelet function was ~ 5-fold higher in healthy volunteers (than donors on aspirin) for LTA, TEG PM, and Multiplate (Fig 1)
  Mean AA-induced platelet function was less than 2-fold higher in healthy volunteers for VerifyNow (Fig 1)
  Intra- and Inter-assay precision was best for VerifyNow, acceptable for Multiplate, but much higher for LTA and TEG PM (Table 1)
  Reliability coefficient was ≥ 0.40 for both healthy volunteers and donors on aspirin only for Multiplate

## Slide 8: Results
All tests except TEG PM differentiated ADP-induced platelet function between healthy volunteers and donors on daily clopidogrel therapy:
  Mean ADP-induced platelet function among healthy volunteers was ~ 2-fold higher than observed in donors on clopidogrel for LTA, Multiplate and VerifyNow (Fig 2)
  TEG PM showed only minimal differences in ADP-induced platelet function between healthy volunteers and donors on daily clopidogrel (Fig 2)
  Intra- and inter-assay precision was best on VerifyNow, but acceptable for TEG PM, Multiplate, and LTA. VASP flow cytometry showed slightly higher inter-assay precision for donors on clopidogrel (Table 2)
  Reliability coefficient was acceptable (≥ 0.40) by all tests in both healthy volunteers and donors on clopidogrel, with the exception of TEG PM among healthy volunteers (R = 0.35)

## Slide 9
Table 1. Intra-assay and inter-assay precision for tests of arachidonic acid-induced platelet function among healthy volunteers and donors on daily aspirin therapy.
LTA = light transmission aggregometry, TEG PM = platelet mapping by thromboelastography
Assay | Healthy volunteers |  |  |  | Aspirin-treated donors |  |  | 
 | Intra-assay CV (%) | N | Inter-assay CV (%) | N | Intra-assay CV (%) | N | Inter-assay CV (%) | N
VerifyNow | 1.4% | 120 | 2.4% | 22 | 3.7% | 24 | 4.8% | 10
Multiplate | 5.2% | 128 | 9.7% | 24 | 16.3% | 26 | 24.7% | 12
LTA | 2.7% | 128 | 7.2% | 24 | 10.1% | 26 | 37.6% | 12
TEG PM | 3.4% | 124 | 6.4% | 23 | 95.3% | 26 | 104% | 13

## Slide 10
Table 2. Intra-assay and inter-assay precision for tests of ADP-induced platelet function among healthy volunteers and donors on daily clopidogrel therapy.
VASP = Vasodilator stimulated phosphoprotein by flow cytometry, LTA = light transmission aggregometry, TEG PM = platelet mapping by thromboelastography
Assay | Healthy volunteers |  |  |  | Clopidogrel-treated donors |  |  | 
 | Intra-assay CV (%) | N | Inter-assay CV (%) | N | Intra-assay CV (%) | N | Inter-assay CV (%) | N
VASP | 1.9% | 120 | 4.7% | 21 | 5.0% | 20 | 26.2% | 10
VerifyNow | 4.4% | 118 | 5.2% | 22 | 7.3% | 19 | 12.9% | 9
Multiplate | 4.3% | 128 | 8.2% | 24 | 8.2% | 20 | 14.2% | 10
LTA | 3.3% | 128 | 6.2% | 24 | 5.7% | 20 | 11.2% | 10
TEG PM | 6.7% | 122 | 9.6% | 23 | 5.5% | 19 | 7.3% | 9

## Slide 11
Figure 1. Scatter plot of arachidonic acid-induced platelet function for healthy volunteers (●) and donors on daily aspirin therapy (×), mean (SD) shown at bottom of figure.

## Slide 12
Figure 2. Scatter plot of ADP-induced platelet function for healthy volunteers (●) and donors on daily clopidogrel therapy (×), mean (SD) shown at bottom of figure.

## Slide 13: Question
If the goal is to monitor and titrate antiplatelet agents in the several days after MCS procedures, what tests (if any) would you use for this purpose?

## Slide 14: Conclusions
TEG PM is least suited for use in monitoring effects of antiplatelet agents over short periods of time.
  High intra-and inter-assay CV for donors on aspirin (AA-induced platelet function), associated with low reliability coefficient
  Little difference in mean ADP-induced platelet function between healthy volunteers and donors on daily clopidogrel
Multiplate may be best test to monitor short-term effects of aspirin.
  Only test to demonstrate acceptable reliability coefficient in both healthy volunteers and donors on daily aspirin
  VerifyNow demonstrated best intra- and inter-assay precision in measuring AA-induced platelet function, but did not distinguish between healthy volunteers and those on aspirin as well as Multiplate

## Slide 15: Conclusions
Multiplate, VerifyNow, and LTA, and VASP flow cytometry may all be appropriate to monitor effects of ADP inhibitors on platelet function over short periods of time