## Details
Project details |  | CCs
Adam McCrone
Ben Vitucci
General information |  | Chris Bailey
Chris Jarrett
Project CAP number |  | Dan Jolly
Daniel McMullan
Site address |  | Greg Mitchell
Greg Stuart
Drawing no. |  | Jason D'angelo
Mark Hill
Amendment |  | Nathan Ward
Raf Invernon
ASP company name |  | Stuart Lomax
Tim Wrightson
ASP company address |  | Zoe Ross
ASP ABN no.
ASP accreditation no.
ASP Project Manager
ASP PM authorisation no.
ASP contact number
ASP contact email
Est. start of work
Is this project related to any other project(s)? If yes, please provide CAP number(s)
Requested initial site mtg
Construction Coordinator (when known)
WR number (when known)
Proposed outage date
Duration of outage work time (AA duration)
Number of staff proposed
Plant & equipment proposed
Scope of proposed works (Installation of equipment, ID & Spike, STJ, UGOH, commissioning, etc.)
Restrictions to normal hours (ROL, businesses, schools, etc.)
Minimisation of isolation (Generators, parallels, bonding, relocate services)
FPJ 2202 Non Contestable (K-Projects)/chargeable connection service to customer requirement
Non-contestable works/chargeable connection services work required date
If required, please enter quantity:
Zone S/S access and supervision for installation of cable | 0
Protection Setting | 0
Testing cable prior to commissioning | 0
Cable ID and spike | 0
Zone S/S CB cable termination | 0
Padmount/Indoor S/S cable termination | 0
Pole top termination (UGOH) and bonding to OH | 0
Straight through joint | 0
Install & remove HV live line links | 0
Break & remove HV bonds | 0
Break & remove LV bonds | 0
Install & remove temporary LV links | 0
Connect & disconnect generators | 0
Traffic control | 0
FPJ 6017 Request for Distribution Substation HVCB Protection Settings and Testing
Distribution substation number
HVCB protection device (e.g. Kries IKI-30 or VIP400)
LV switchgear type
Location/ Address for testing (warehouse or ASP depot/site)
Approved substation supplier name
Substation landing date (at the warehouse or ASP depot/site)
Settings tested by
Outage/Substation energisation date
Date sent to CC
FPJ 4254 Access Authority (AA) Restoration Checklist for Distribution Network
Detailed description of works carried out under this AA
FPJ 4266 ADMS Outage Documentation Verification and Private Property Entry Notification Compliance Confirmation
Date of outage

## FPJ 2021
FPJ 2021 Project Commencement Notification
Please return this form to CustomerNetworkSupport@endeavourenergy.com.au when the project is ready for an initial site meeting. Initial site meetings will be held within 15 business days of all documents being received, pending outstanding construction fee payment. A Construction Coordinator will not be assigned to this project until all fees are paid.
| Date | [6 empty] | CAP number | 0
| Level 1 ASP |  | 0 |  |  |  |  | Project Manager | 0
| Phone |  | 0
Project details
| Drawing number |  |  | 0 |  |  |  | Amendment | 0
| Site address |  |  | 0
| Related project(s) |  |  | 0
Attachments needed
Before You Dig Australia plan
Form FPJ 6017 (Request for Distribution Substation HVCB Protection Settings and Testing)
Network Access (Power Outage) Request
| Request type |  |  |  | Live LV work notification |  |  | LVAA | HVAA
| Proposed date |  |  | 0 |  |  | Number of staff |  | 0
| Duration of outage work time (AA duration) | [5 empty] | 0
| Plant & equipment proposed |  |  |  |  | 0
| Scope of proposed works (Installation of equipment, ID & Spike, STJ, UGOH, commissioning, etc.) |  |  |  |  | 0
| Restrictions to normal hours (ROL, businesses, schools, etc.) |  |  |  |  | 0
| Minimisation of isolation (Generators, parallels, bonding, relocate services) |  |  |  |  | 0
Environmental Impact Assessment
I declare that I (the ASP1 Project Manager) am authorised to act on behalf of, and legally bind, the Level 1 ASP company named in this application. I confirm that the company has received, read, and understood the Summary Environmental Report (SER), including all relevant drawings, revisions, and amendments. The company agrees to comply with all requirements outlined in the SER. I acknowledge that selecting this checkbox constitutes a legally binding declaration on behalf of the company and that failure to comply may result in enforcement action. This declaration is made by an authorised representative of the company and is recorded electronically as part of the project record.
Notes
- There is a 40 day notice period required for first feeder works.
- ASPs guarantee to keep electronic photos of step-by-step of construction works for future reference.
- Level 1 ASP shall have/maintain the current BYDA documents for the site with them and all the services located and
marked up as per the design before the initial site meeting with the Construction Coordinator.
- Level 1 ASP must have the Road Opening Permit before trenching the road or foot path.
Level 1 ASP Contestable Work Guidelines
By submitting this form to Endeavour Energy, the Level 1 ASP acknowledges that they have read and complied with Endeavour Energy's Level 1 ASP Contestable Work Guidelines, available at www.endeavourenergy.com.au

## FPJ 6017
FPJ 6017 Request for Distribution Substation HVCB Protection Settings and Testing
Please forward this form to the Construction Coordinator (CC) when a 1.5 MVA transformer has been installed on the project. The CC will use this information to progress final project requirements.
Key information - ASP to complete
| CAP number | 0
| ASP company name | 0
| ASP Project Manager | 0
| ASP contact number | 0
| ASP contact email | 0
| Design drawing number (attach) | 0
| Distribution substation number | 0
| HVCB protection device (e.g. Kries IKI-30 or VIP400) | 0
| LV switchgear type | 0
| Location/address for testing (warehouse or ASP depot or site) | 0
| Approved substation supplier (name) | 0
| Responsible Construction Coordinator | 0
| Substation landing date (at the warehouse or ASP depot or site) | 0
| Settings tested by date | 0
| Outage date/substation energisation date | 0
| Date sent to CC (must be sent immediately after outage confirmed) | 0
Protection setting delivery details - Protection Engineering to complete
| Protection design work order (Lead time 15 bus. days from the receipt of form) | 4800002105
Settings recipients
Protection setting implementation and testing details - P & C Field Resource Scheduling
| P&C work order (Lead time 3w or by outage date to provide the service) | 4800002105
Region
Setting and testing staff
Construction Coordinator to complete
Date received from ASP
Date sent to Protection Engineering & Protection Field Resource Scheduler
Notes
- Endeavour Energy prefers to set & test the protection settings without any cable connections to the switchgear at site, therefore, request for setting and testing date at the warehouse or ASP depot or site should be immediately after the sub landing date.

## FPJ 2202
FPJ 2202 Non Contestable (K-Projects)/ Chargeable Connection Service to Customer Requirement
Please return this form to the assigned Construction Coordinator (CC) when non‑contestable works are required on the project (e.g., protection works, or testing). The CC will review the submission and coordinate the necessary activities.
Date
Project details
| CAP number |  |  | 0
| Site address |  |  | 0
| Construction Coordinator |  |  | 0
| WR number |  |  | 0 | Attach WR details if required/available
|  | Non-contestable works/chargeable connection services work required date |  |  |  |  | 0
Level 1 ASP details
| ASP |  | 0 |  | Project Manager | 0
| Postal address |  | 0 |  | ABN number | 0
| Phone |  | 0 |  | Email | 0
Non Contestable works/chargeable connection services work details
| Zone S/S access and supervision for installation of cable |  |  |  |  | 0
| Protection Setting |  |  |  |  | 0
| Testing cable prior to commissioning |  |  |  |  | 0
| Cable ID and spike |  |  |  |  | 0
| Zone S/S CB cable termination |  |  |  |  | 0
| Padmount/Indoor S/S cable termination |  |  |  |  | 0
| Pole top termination (UGOH) and bonding to OH |  |  |  |  | 0
| Straight through joint |  |  |  |  | 0
| Install & remove HV live line links |  |  |  |  | 0
| Break & remove HV bonds |  |  |  |  | 0
| Break & remove LV bonds |  |  |  |  | 0
| Install & remove temporary LV links |  |  |  |  | 0
| Connect & disconnect generators |  |  |  |  | 0
| Traffic control |  |  |  |  | 0
Notes
- If a quote/invoice is required, then the Regional Services/Project Manager/Operations Manager will send the quote/invoice to ASP Level 1 as per the above details
- If a quote is received by the ASP, then ASP Level 1 to place the order/quote in acceptance with the Regional Services within the quote validity period and the invoice amount is required to be paid to meet the service date
- If the above requested service date is not achievable, then the Regional Services/Project Manager/Operations Manager is to provide the confirmation to Construction Coordinator and ASP Level 1 on the revised date
- The Project Manager/Operations Manager is to provide the Live Line work reference number to the Construction Coordinator, so that they can refer this number in their WR documentation

## FPJ 4266
FPJ 4266 ADMS Outage Documentation Verification and Private Property Entry Notification Compliance Confirmation
Please send this form to the Construction Coordinator (CC) once all outage documentation has been received and the ASP Project Manager has signed to confirm that the outage information is complete and accurate.
| ASP |  | 0 |  |  | CAP number | 0
| WR number |  | 0 |  |  | Outage date | 0
|  | Construction Coordinator |  |  | 0
I have reviewed the attached copy of the above WR and herby confirm that:
| 1. | It will allow the workgroup to carry out the works as intended and all isolation points shown in the WR have been verified as accurate at field checks. (Note: If you feel that there are any discrepancies, it is imperative that you contact the relevant Construction Coordinator ASAP).
| 2. | All connections to switchgear and overhead mains are as per the attached HV Alteration Sheet (pink sheet) and agree that, if system operations find any variation to the information provided on the HV Alteration Sheet on the day of the outage, they are well within their rights to cancel the job to avoid any disruption to the network.
| 3. | Any customers affected by the switching (if any) will be notified within the required time (4 full working days for residential, industrial & commercial) and the appropriate log sheets will be forwarded to the Construction Coordinator 5 working days prior to the interruption. (Note: Supply Interruption Notices are to be delivered to the affected customers on business days/working days only).
| 4. | In some instances the customer interruption log sheet may not be the complete list of customers interrupted and it is my responsibility to confirm from the site that supply interruption to the customers is in compliance to the attached LV Isolation GIS map/diagram. This includes when necessary opening of all LV pillar open points and checking which side of the switch the services are fed from. (Note: Failure to correctly notify customers of the interruption will result in a cancellation of the outage and any variations at site should be notified immediately to the Endeavour Energy Construction Coordinator. The white sheet with the customer log sheet should also be submitted for Endeavour Energy records).
| 5. | I have obtained approval through appropriate notification from the affected private property owners/Council to enter or temporarily use their land during these works in accordance to Electricity Act 1995 (NSW). (Attach evidence of such approval if required).
Signed
| ASP Project Manager |  |  | 0
Signature
Date

## FPJ 4254
FPJ 4254 Access Authority (AA) Restoration Checklist for Distribution Network
This form must be physically handed to the Construction Coordinator (CC) on site at the completion of the outage. The CC will save a copy for project records.
Date
| CAP number |  |  | 0
| Site address |  |  | 0
| WR number |  |  | 0
| Detailed description of works carried out under this AA |  |  | 0
Declaration - check all boxes for compliance
All works have been carried out to E.E. Standards and Specifications
All HV/LV work is in accordance with the system alteration sheet.
All relevant tests* including earth grid and insulation resistance have been carried out on all new and altered electrical apparatus. All results comply with Endeavour Energy standards (MCI 0006, Section 10 for Underground Distribution; MCI 0005, Section 11 for Overhead Distribution, First Feeder from Zone Sub to MMI 0025 and SDI 120) *Except for the LV work, the polarity & phasing compliance tests will be done under the live condition after the energisation of the circuit
All cables, conductors, and other electrical apparatus are secure.
All Hazardous and Unusual conditions have been identified with the use of tags and details provided to Construction Coordinator.
Declaration - check one box for compliance
All works have been completed as per the Access Authority, and is in a position where it can be restored as well as all new apparatus can be commissioned.
Works Incomplete/Non compliant (details must be attached)
No work has been carried out, the network remains cnchanged
Signed
| ASP Project Manager |  | 0
Signature
Date
Accepted
| Construction Coordinator |  | 0
Signature
Date

## FPJ 4247
FPJ 4247 Level 1 ASP Works Complete Declaration and Handover of Assets to Endeavour Energy
Please submit this form upon completion of the project to both the Construction Coordinator (CC) and CustomerNetworkSupport@endeavourenergy.com.au.
| CAP number |  | 0 |  |  |  | Drawing number |  | 0
| ASP |  | 0 |  |  |  | Amendment |  | 0
| Site address |  | 0
Declaration
| I, | 0 |  |  | declare on behalf of the nominated Accredited Service Provider (ASP)
|  | 0 |  |  |  | 0 | that:-
A. Commissioning of electrical works
The works have been completed (unless detailed in work not completed below) in accordance with the above electrical network construction drawings and in compliance with Endeavour Energy Standards and the Summary Environmental Report (SER). Pre-commissioning/ Commissioning Check List for Underground System (FPJ 4248) is attached. I confirm that works detailed in the attached documents is completed and can be energised. We indemnify Endeavour Energy against any claims resulting from the incorrect work practices and unsafe electrical connections. All personnel associated with the works have been advised that the new assets are to be considered as connected to Endeavour Energy’s network and energised. It is clearly understood by all of my staff and sub-contractors that contact with the assets will result in electric shock, severe burns or death and all the future access must be arranged by Endeavour Energy in accordance with Endeavour Energy’s electrical safety rules.
Work is completed and checked:
|  | Work is not completed: |  |  |  | Define the works in the attachment (note: Part B does not apply)
Test reports for underground distribution (MCI 0006, Section 10), overhead distribution (MCI 0005, Section 11), first feeder cables from zone substation and transmission / sub transmission cables (MMI 0025) proving that the work complies with the required safety standards and the nominated technical standards.
B. Final handover of assets on total project completion
I am authorised on behalf of the applicant to handover the assets as detailed in the certified design to Endeavour Energy. I declare that the assets are free of all encumbrances. All payments to employees, agents, contractors including Level 1 ASP’s, subcontractors and suppliers associated with the works have been made in full and we Indemnify Endeavour Energy from all claims from anyone claiming any lien or Interest in the works arising from any debt. I understand that until formal transfer of the assets occurs, when I have met Endeavour Energy’s requirements for the entire project, as well as there being no outstanding defects to be corrected, all restoration work is complete or evidence of arrangement with the Council to carry out restoration at a later date enclosed and a “Letter of Acceptance” has been issued, my company will be responsible for the assets and any costs in maintaining/repairing such assets. I also understand that the warranty maintenance commencement date will be the date advised in the “Letter of Acceptance”.
Signed
| ASP Project Manager |  |  | 0
Signature
| Date | [6 empty] | Time
Witnessed
| Construction Coordinator |  |  | 0
Signature
| Date | [6 empty] | Time
Attached information must contain:
1. | Electrical Network Construction drawing marked to show the part completion of the project.
2. | For staged commissioning, highlight the portion of work to be commissioned.
3. | Stamp the drawing to show "Electrical Network Construction Drawing Lodgement for Part Commissioning" by clearly identifying the company name, ASP accreditation number,signatory name and signature, date.
4. | All test reports.

## FPJ 4252
CAP No. | 0 | Equipment to be returned to Endeavour Energy (Switch Gear - Transformers - All Copper Conductor - Bare or Insulated)
Adam McCrone
Bob Parry
Level 3 ASP to Complete | [5 empty] | Level 1 ASP to Complete |  | Construction Coordinator: | 0 | Regional-Logistic Support Officer/Transformer Workshop Staff | Bob Schroeder
Chris Jarrett
Colin Hall
Date: |  | Company |  | Name: |  | Reasons if items are not returned. (Name/ Date/Signature) |  | Authorisation to return the material to EE | Authorisation not to return the material to EE | Endorsement of Return (Name/Date/signature) | Gerard Kovacic
Greg Mitchell
Jim Stanley
Type (E.g.. Pole Top Trf, 63kVA, 3 Phase) |  | Details of parent Asset (E.g.. From Pole Sub 1234) |  |  | Proposed Return | [5 empty] | Mark Brodie
Michael Daniel
Peter Stacker
Raf Invernon
Roy Cole
Russell Chippindale
Steven Davenport
Stuart Lomax
Tony Di Maio
Bare Copper Conductor Size |  | Approx. Length (m) & Weight (kg) | Asset Management Endorsement of Return (Name/Date/Signature) |  |  | Required Returns: - Oil & Gas filled HV Switch-Gear, HV Metering Units, - HV Auto Re-closer / Sectionalisers, Load Break Switch (LBS) - Power Transformers, Distribution Transformers (Form FRG 4516 must be filled out by level 1 ASP) - Metering / Protection Transformers - Protection and Transmission Apparatus. ABS, underslung, streetlight columns and lanterns not to be returned unless CI requests their return
Switchgear, Transformers and Padmount Substations to be returned to Hoxton Park Transformer Workshop using form FRG4516 in addition to this form, if within 25km of worksite or depot as listed. All copper conductor (Bare or Insulated) to be returned to a convenient depot on the list. Note: 1. Any materials not returned to Endeavour Energy's store should be safely disposed off by the Level 1 ASP in compliance to environmental and local authority conditions and should not be re-used in any shape or form in the network installation.
2. Hazardous materials (eg.asbestos containing materials) not to be returned to Endeavour Energy depots. ASP is responsible for its safe disposal and must provide Construction Coordinator a copy of clearance certificate and disposal certificate/ waste receipt from a licenced EPA disposal site. 3. ASP's guarantee to remove and destroy all Endeavour Energy asset identifier or signs from the assets not required to return to Endeavour Energy stores.
Logistic/Depot Stores Contacts
Location |  | Contact |  | TX or Padmount S/S |  | SW/GR | Bare Cu | Phone and mobile No.
Moss Vale |  | Phil Wales |  | P |  | P | P | 0418 446 261
Kings Park |  | Peter Craig |  | P |  | P | P | 0437 306 718
Hoxton Park |  | Sam Abdallah |  | X |  | X | P | 9853 5662
Hoxton Park Transformer Workshop |  | Dave Johnson |  | P |  | P | X | 0439 460 353
Katoomba |  | David Watson |  | To Bowenfels or To Penrith |  |  |  | 0461 378 093
Kandos |  | David Watson |  | To Bowenfels |  |  |  | 0461 378 093
Bowenfels |  | David Watson |  | P |  | P | P | 0461 378 093
Narellan |  | Tom Portokalis |  | Hoxton Park |  | Hoxton Park | P | 0428 362 141
Picton |  | Phil Wales |  | X |  | X | X | 0418 446 261
Nowra |  | Sandra Lightfoot |  | P |  | P | P | 0423 799 922
Penrith |  | Richard Atkinson |  | P |  | P | P | 0421 495 120
|  | Scott Reynolds | [5 empty] | 0417 408 754
Shellharbour |  | Samantha Girardot |  | P |  | P | P | 0419 848 332
Springhill |  | Alex Tejera |  | Springhill |  | P | P | 0438 232 280
Ulladulla |  | Sandra Lightfoot |  | To Nowra |  |  |  | 0423 799 922
Windsor |  | Richard Atkinson |  | To Penrith |  |  |  | 0421 495 120 0417 408 754
Scott Reynolds
P - Indicates Capacity Available |  |  |  | X - Indicates No Capacity
Accredited Service Providers returning materials are to arrange a delivery time and unloading requirements by contacting the appropriate depot as listed, providing 3-5 working days' notice. The goods receiving time for all the depots is between 9am and 2pm, preferably before midday.