## Imperial
[6 empty] | RECTANGULAR DUCT ORDER SHEET | [11 empty] | 11
Straight Duct with Multiple Taps
DUCT SPECIFICATIONS
[7 empty] | -X- | -Y- |  | -L1-
[7 empty] | DUCT | DUCT |  | DUCT
FITTING NUMBER |  |  |  |  | QTY |  | WDTH | DPTH |  | LGTH
TAP SPECIFICATIONS
USE COLUMNS THAT APPLY FOR THE SPECIFIC TAP SELECTED
[14 empty] | -L3- | -L4- | -L5-
[14 empty] | LOCATE | LOCATE | LOCATE |  | "R"
[11 empty] | -TX- | -TY- | -L2- | TAP | TAP | TAP | "DØ" | TAP
[9 empty] | TAP |  | TAP | TAP | TAP | FROM | FROM | FROM | TAP | RING
[5 empty] | TAP TYPE |  |  |  | LOCATION |  | WDTH | DEPTH | LGTH | D1 | TR | TR | DIA. | TYPE
TAP #1:
TAP #2:
TAP #3:
TAP #4:
TAP #5:
TAP #6:
TAP #7:
TAP #8
TAP #9
REMARKS:
|  |  |  | TAP TYPE | [5 empty] | TAP LOCATION
|  |  |  | LEGEND: | [5 empty] | LEGEND:
|  |  |  | STRAIGHT | [5 empty] | TOP
|  |  |  | SHOE | [5 empty] | RIGHT
|  |  |  | CONICAL | [5 empty] | BOTTOM
|  |  |  | LATERAL | [5 empty] | LEFT
ROUND
NOTES: | 1 | USE THE GUIDELINES ON THE PRECEDING PAGE FOR ASSISTANCE IN LOCATING THE
SPECIFIC TAP TYPES TO BE INCLUDED ON THIS DUCT FITTING.
| 2 | ALL DUCT FITTINGS WITH STANDARD CONNECTIONS INCLUDE GASKETS AND CLAMPS
OR HARDWARE AS REQUIRED FOR INSTALLATION.
METRIC EQUIVALENTS ARE SHOWN IN PARENTHESIS & ITALICS (MILLIMETERS OR AS NOTED)
REMARKS:
COMPANY / JOB REFERENCE:
Exential U.S. Inc. ¦ T 802-655-8800 ¦ F 802-655-8804 ¦ www.exentec.net/products/process-exhaust
© COPYRIGHT 2025 EXENTIAL U.S. INC. REV: 01/01/25 REC011BF | [17 empty] | 11