## Sheet1
|  |  |  | ROUND DUCT ORDER SHEET | [6 empty] | 43
Field Installed Hot Tap
[5 empty] | -D1- | -D1- |  | -D2-
[5 empty] | DUCT | RING |  | DUCT | HOST DUCT I.D., WALL THICKNESS &
FITTING NUMBER |  |  | QTY |  | DIA | TYPE |  | DIA | MATERIAL TYPE REQUIRED INFORMATION | REMARKS
Isolation Boxes
NOTE: BOXES CAN BE USED ON SAME
SIZE HOST DUCT WITH HOT TAPS OF D1
FITTING NUMBER |  |  | QTY |  | TAP DIA. |  | HOST DIA. |  | SIZE OR SMALLER | REMARKS
NOTES: | 1 | STRAIGHT TAP IS STANDARD. ISOLATION BOX REQUIRED FOR INSTALLATION. REFER TO
THE CATALOG INSTALLATION AND ASSEMBLY GUIDE.
| 2 | ALL DUCT FITTINGS WITH STANDARD CONNECTIONS INCLUDE GASKETS AND CLAMPS
OR HARDWARE AS REQUIRED FOR INSTALLATION.
| 3 | REFER TO CATALOG PAGE FOR PRODUCT LIMITATIONS.
METRIC EQUIVALENTS ARE SHOWN IN PARENTHESIS & ITALICS (MILLIMETERS OR AS NOTED)
REMARKS:
COMPANY / JOB REFERENCE:
Exential U.S. Inc. ¦ T 802-655-8800 ¦ F 802-655-8804 ¦ www.exentec.net/products/process-exhaust
© COPYRIGHT 2025 EXENTIAL U.S. INC. REV: 01/01/25 RND043BH | [10 empty] | 43