## Sheet1
Date | Hinckley Reservoir Elevation | Hinckley Reservoir Comparison to Elevation Trigger1 | Hinckley Reservoir Comparison to Normal Elevation2 | Hinckley Reservoir Discharge | 1920 Operating Diagram Release4 | Hinckley Reservoir Inflow | Hinckley Reservoir 30-Day Running Average Inflow5 | Wilmurt Streamgage Flow | Mohawk Valley Water Authority Withdrawal | Delta Reservoir Elevation | Delta Reservoir Discharge | Nine Mile Feeder Discharge
| (ft) | (ft) | (ft) | (cfs)3 | (cfs) | (cfs) | (cfs) | (cfs) | (cfs) | (ft) | (cfs) | (cfs)
2011-12-31 | 1224.94 | 26.94 | 12.44 | 1084 | 1080 | 998 | 1118 | #N/A | 33.1 | #N/A | #N/A | #N/A
2011-12-30 | 1225.02 | 27.02 | 12.62 | 1104 | 1080 | 1005 | 1160 | 703 | 33.3 | 541 | 529 | 0
2011-12-29 | 1225.1 | 27.1 | 12.6 | 1100 | 1050 | 1161 | 1206 | 827 | 32.96 | 541.1 | 538 | 0
2011-12-28 | 1225.08 | 27.08 | 12.38 | 1061 | 1050 | 1389 | 1218 | 1070 | 32.8 | 540.9 | 474 | 0
2011-12-27 | 1224.85 | 26.85 | 11.85 | 1058 | 1050 | 892 | 1215 | 560 | 32.89 | 540.8 | 454 | 0
2011-12-26 | 1224.99 | 26.99 | 11.89 | 1062 | 1050 | 949 | 1223 | 627 | 33.22 | #N/A | #N/A | #N/A
2011-12-25 | 1225.09 | 27.09 | 11.79 | 1132 | 1050 | 886 | 1231 | 651 | 33.09 | #N/A | #N/A | #N/A
2011-12-24 | 1225.28 | 27.28 | 11.78 | 1269 | 1050 | 1290 | 1245 | #N/A | 33.06 | #N/A | #N/A | #N/A
2011-12-23 | 1225.28 | 27.28 | 11.78 | 1149 | 1050 | 1717 | 1265 | 1230 | 33.03 | 540.9 | 1720 | 0
2011-12-22 | 1224.88 | 26.88 | 11.28 | 1055 | 1050 | 1540 | 1267 | 1250 | 33.21 | 541.7 | 1720 | 0
2011-12-21 | 1224.54 | 26.54 | 11.04 | 1057 | 1050 | 906 | 1242 | 570 | 33.29 | 542.4 | 1710 | 0
2011-12-20 | 1224.67 | 26.67 | 11.07 | 1052 | 1050 | 914 | 1242 | 619 | 33.34 | 543.5 | 1730 | 0
2011-12-19 | 1224.78 | 26.78 | 10.88 | 1052 | 1050 | 900 | 1238 | 656 | 32.69 | 544.5 | 1740 | 0
2011-12-18 | 1224.91 | 26.91 | 10.91 | 1049 | 1050 | 1083 | 1234 | 758 | 31.85 | #N/A | #N/A | #N/A
2011-12-17 | 1224.9 | 26.9 | 10.7 | 1058 | 1050 | 1675 | 1233 | #N/A | 31.88 | #N/A | #N/A | #N/A
2011-12-16 | 1224.46 | 26.46 | 10.16 | 1058 | 1050 | 2023 | 1216 | 1670 | 33.42 | 546.9 | 1790 | 0
2011-12-15 | 1223.76 | 25.76 | 9.36 | 1034 | 1030 | 898 | 1191 | 530 | 34.15 | 547.1 | 1770 | 0
2011-12-14 | 1223.87 | 25.87 | 9.37 | 1034 | 1030 | 701 | 1203 | 441 | 33.07 | 548.1 | 1780 | 0
2011-12-13 | 1224.14 | 26.14 | 9.64 | 1034 | 1030 | 542 | 1204 | 404 | 32.59 | 549.1 | 1790 | 0
2011-12-12 | 1224.52 | 26.52 | 10.22 | 1033 | 1030 | 577 | 1206 | 420 | 32.94 | 549.9 | 579 | 0
2011-12-11 | 1224.87 | 26.87 | 10.77 | 1035 | 1030 | 803 | 1212 | 505 | 32.89 | #N/A | #N/A | #N/A
2011-12-10 | 1225.06 | 27.06 | 11.06 | 1094 | 1030 | 928 | 1211 | #N/A | 32.93 | #N/A | #N/A | #N/A
2011-12-09 | 1225.19 | 27.19 | 11.19 | 1224 | 1030 | 1071 | 1198 | 687 | 32.62 | 550.6 | 372 | 0
2011-12-08 | 1225.32 | 27.32 | 11.42 | 1286 | 1000 | 1307 | 1179 | 860 | 32.29 | 550.6 | 430 | 0
2011-12-07 | 1225.32 | 27.32 | 11.52 | 1475 | 1000 | 1242 | 1155 | 1090 | 32.12 | 550.6 | 474 | 0
2011-12-06 | 1225.2 | 27.2 | 11.5 | 1049 | 1000 | 1231 | 1133 | 923 | 32.15 | 550.6 | 368 | 0
2011-12-05 | 1225.09 | 27.09 | 11.49 | 1094 | 1000 | 915 | 1112 | 658 | #N/A | 550.6 | 339 | 0
2011-12-04 | 1225.23 | 27.23 | 11.43 | 1255 | 1000 | 1008 | 1101 | 757 | #N/A | #N/A | #N/A | #N/A
2011-12-03 | 1225.43 | 27.43 | 11.43 | 1481 | 1000 | 1327 | 1091 | #N/A | #N/A | #N/A | #N/A | #N/A
2011-12-02 | 1225.55 | 27.55 | 11.45 | 1543 | 1000 | 1685 | 1071 | 1330 | #N/A | 550.8 | 569 | 0
2011-12-01 | 1225.47 | 27.47 | 11.47 | 1075 | 980 | 2242 | 1041 | 2070 | #N/A | 550.9 | 724 | 0
2011-11-30 | 1224.63 | 26.63 | 10.83 | 981 | 980 | 2406 | 996 | 2430 | #N/A | 550.8 | 616 | 0
2011-11-29 | 1223.58 | 25.58 | 9.98 | 985 | 980 | 1511 | 950 | 1370 | #N/A | 550.4 | 316 | 0
2011-11-28 | 1223.2 | 25.2 | 9.8 | 992 | 980 | 1297 | 940 | 1130 | #N/A | 550.3 | 335 | 0
2011-11-27 | 1222.98 | 24.98 | 9.88 | 994 | 980 | 1130 | 947 | 923 | #N/A | #N/A | #N/A | #N/A
2011-11-26 | 1222.9 | 24.9 | 9.9 | 988 | 980 | 1201 | 972 | #N/A | #N/A | #N/A | #N/A | #N/A
2011-11-25 | 1222.75 | 24.75 | 9.95 | 985 | 980 | 1299 | 988 | 804 | #N/A | 550.1 | 256 | 0
2011-11-24 | 1222.53 | 24.53 | 9.83 | 992 | 990 | 1888 | 996 | 1030 | #N/A | #N/A | #N/A | #N/A
2011-11-23 | 1221.85 | 23.85 | 9.15 | 996 | 990 | 1781 | 984 | 962 | #N/A | 548.5 | 398 | 0
2011-11-22 | 1221.26 | 23.26 | 8.76 | 992 | 990 | 776 | 974 | 493 | #N/A | 547.7 | 1110 | 0
2011-11-21 | 1221.44 | 23.44 | 9.14 | 1002 | 990 | 923 | 1008 | 571 | #N/A | 548.2 | 1130 | 0
2011-11-20 | 1221.52 | 23.52 | 9.52 | 994 | 990 | 790 | 1047 | 538 | #N/A | #N/A | #N/A | #N/A
2011-11-19 | 1221.7 | 23.7 | 9.8 | 993 | 990 | 787 | 1091 | #N/A | #N/A | #N/A | #N/A | #N/A
2011-11-18 | 1221.87 | 23.87 | 10.07 | 993 | 990 | 1052 | 1112 | 661 | #N/A | 548.9 | 231 | 0
2011-11-17 | 1221.84 | 23.84 | 10.04 | 1005 | 1000 | 1140 | 1126 | 765 | #N/A | 548.8 | 231 | 0
2011-11-16 | 1221.75 | 23.75 | 10.15 | 1009 | 1000 | 1281 | 1162 | 874 | #N/A | 548.8 | 231 | 0
2011-11-15 | 1221.56 | 23.56 | 10.06 | 1011 | 1000 | 1270 | 1215 | 875 | #N/A | 548.7 | 263 | 0
2011-11-14 | 1221.37 | 23.37 | 9.87 | 1010 | 1000 | 719 | 1276 | 437 | #N/A | 548.6 | 1080 | 0
2011-11-13 | 1221.62 | 23.62 | 10.02 | 1006 | 1000 | 612 | 1346 | 454 | #N/A | #N/A | #N/A | #N/A
2011-11-12 | 1221.94 | 23.94 | 10.44 | 1012 | 1000 | 742 | 1351 | #N/A | #N/A | #N/A | #N/A | #N/A
2011-11-11 | 1222.16 | 24.16 | 10.76 | 1002 | 1000 | 795 | 1341 | 525 | #N/A | #N/A | #N/A | #N/A
2011-11-10 | 1222.34 | 24.34 | 11.04 | 1030 | 1000 | 541 | 1326 | 349 | #N/A | 550.2 | 210 | 0
2011-11-09 | 1222.73 | 24.73 | 11.63 | 1001 | 1000 | 495 | 1321 | 341 | #N/A | 550.3 | 228 | 0
2011-11-08 | 1223.13 | 25.13 | 12.43 | 1038 | 1000 | 580 | 1316 | 352 | #N/A | 550.3 | 249 | 0
2011-11-07 | 1223.49 | 25.49 | 12.69 | 1014 | 1000 | 579 | 1311 | 361 | #N/A | 550.3 | 290 | 0
2011-11-06 | 1223.83 | 25.83 | 13.23 | 1002 | 1000 | 595 | 1306 | 380 | #N/A | #N/A | #N/A | #N/A
2011-11-05 | 1224.17 | 26.17 | 13.67 | 1008 | 1000 | 607 | 1303 | #N/A | #N/A | #N/A | #N/A | #N/A
2011-11-04 | 1224.48 | 26.48 | 13.98 | 1006 | 1000 | 683 | 1303 | 453 | 32.15 | 550.5 | 228 | 0
2011-11-03 | 1224.73 | 26.73 | 14.43 | 970 | 970 | 752 | 1304 | 488 | 32.32 | 550.5 | 243 | 0
2011-11-02 | 1224.91 | 26.91 | 14.51 | 985 | 970 | 767 | 1308 | 532 | 31.81 | 550.5 | 259 | 0
2011-11-01 | 1225.09 | 27.09 | 14.69 | 1063 | 970 | 883 | 1317 | 595 | 32.28 | 550.5 | 287 | 0
2011-10-31 | 1225.23 | 27.23 | 14.73 | 1217 | 970 | 1041 | 1321 | 670 | 32.1 | 550.6 | 339 | 0
2011-10-30 | 1225.38 | 27.38 | 14.78 | 1430 | 970 | 1214 | 1323 | 797 | 32.16 | #N/A | #N/A | #N/A
2011-10-29 | 1225.55 | 27.55 | 14.85 | 1672 | 970 | 1509 | 1328 | #N/A | 32.13 | #N/A | #N/A | #N/A
2011-10-28 | 1225.69 | 27.69 | 14.89 | 1763 | 970 | 1869 | 1304 | 1260 | 32.17 | #N/A | #N/A | #N/A
2011-10-27 | 1225.63 | 27.63 | 14.93 | 1539 | 940 | 1685 | 1265 | 1190 | 32.28 | #N/A | #N/A | #N/A
2011-10-26 | 1225.54 | 27.54 | 14.94 | 1520 | 940 | 1531 | 1228 | 1010 | 32.22 | 550.7 | 524 | 0
2011-10-25 | 1225.55 | 27.55 | 14.95 | 1535 | 940 | 1533 | 1197 | 1140 | 32.03 | 550.7 | 504 | 0
2011-10-24 | 1225.57 | 27.57 | 15.07 | 1663 | 940 | 1472 | 1176 | 980 | 32.36 | 550.7 | 430 | 0
2011-10-23 | 1225.73 | 27.73 | 15.23 | 1918 | 940 | 1821 | 1157 | 1250 | 32.08 | #N/A | #N/A | #N/A
2011-10-22 | 1225.82 | 27.82 | 15.32 | 1968 | 940 | 2074 | 1123 | #N/A | 32.1 | #N/A | #N/A | #N/A
2011-10-21 | 1225.76 | 27.76 | 15.36 | 1694 | 940 | 2122 | 1074 | 1670 | 32.1 | #N/A | #N/A | #N/A
2011-10-20 | 1225.47 | 27.47 | 15.27 | 1242 | 900 | 1401 | 1021 | 1180 | 32.04 | 550.7 | 435 | 0
2011-10-19 | 1225.37 | 27.37 | 15.27 | 1144 | 900 | 1490 | 992 | 1160 | 31.73 | 550.7 | 547 | 0
2011-10-18 | 1225.13 | 27.13 | 15.13 | 918 | 900 | 2217 | 953 | 1730 | 31.85 | #N/A | #N/A | #N/A
2011-10-17 | 1224.19 | 26.19 | 14.39 | 902 | 900 | 2876 | 895 | 2600 | 31.79 | 550.9 | 833 | 0
2011-10-16 | 1222.72 | 24.72 | 12.92 | 913 | 900 | 3094 | 815 | 2440 | 32.09 | #N/A | #N/A | #N/A
2011-10-15 | 1221.05 | 23.05 | 11.25 | 896 | 900 | 2806 | 733 | #N/A | 32.73 | #N/A | #N/A | #N/A
2011-10-14 | 1219.55 | 21.35 | 9.85 | 915 | 900 | 783 | 663 | 714 | 32.35 | 549.9 | 196 | 0
2011-10-13 | 1219.67 | 21.27 | 9.87 | 918 | 900 | 433 | 657 | 277 | 34.93 | 549.8 | 196 | 0
2011-10-12 | 1220.08 | 21.58 | 10.18 | 907 | 900 | 356 | 665 | 253 | 32.9 | 549.7 | 193 | 0
2011-10-11 | 1220.54 | 21.84 | 10.54 | 905 | 900 | 362 | 684 | 271 | 32.54 | 549.8 | 193 | 0
2011-10-10 | 1220.99 | 22.09 | 10.99 | 898 | 900 | 362 | 713 | 293 | 32.61 | 549.9 | 193 | 0
2011-10-09 | 1221.43 | 22.33 | 11.43 | 906 | 900 | 429 | 779 | 320 | 32.56 | #N/A | #N/A | #N/A
2011-10-08 | 1221.82 | 22.62 | 11.82 | 904 | 900 | 436 | 924 | #N/A | 32.62 | #N/A | #N/A | #N/A
2011-10-07 | 1222.2 | 22.8 | 12.2 | 906 | 900 | 511 | 1177 | 393 | 32.36 | 550 | 193 | 0
2011-10-06 | 1222.53 | 22.93 | 12.53 | 887 | 880 | 579 | 1267 | 464 | 32.76 | 550 | 196 | 0
2011-10-05 | 1222.78 | 22.98 | 12.58 | 880 | 880 | 712 | 1385 | 558 | 32.16 | 550 | 199 | 0
2011-10-04 | 1222.93 | 23.03 | 12.63 | 884 | 880 | 897 | 1393 | 656 | 32.72 | 550 | 204 | 0
2011-10-03 | 1222.94 | 22.84 | 12.54 | 884 | 880 | 1037 | 1376 | 767 | 32.46 | 549.8 | 219 | 0
2011-10-02 | 1222.84 | 22.54 | 12.34 | 879 | 880 | 981 | 1356 | 781 | 32.88 | #N/A | #N/A | #N/A
2011-10-01 | 1222.78 | 22.28 | 12.28 | 893 | 880 | 1110 | 1341 | #N/A | 32.77 | #N/A | #N/A | #N/A
2011-09-30 | 1222.63 | 22.03 | 12.03 | 900 | 880 | 1374 | 1335 | 1060 | 33.16 | 549.4 | 216 | 0
2011-09-29 | 1222.29 | 21.49 | 11.59 | 860 | 850 | 774 | 1323 | 522 | 32.99 | 548.9 | 201 | 0
2011-09-28 | 1222.38 | 21.38 | 11.78 | 854 | 850 | 704 | 1358 | 423 | 32.87 | 548.9 | 193 | 0
2011-09-27 | 1222.52 | 21.32 | 12.02 | 858 | 850 | 566 | 1480 | 388 | 32.36 | 548.9 | 193 | 0
2011-09-26 | 1222.76 | 21.36 | 12.26 | 858 | 850 | 617 | 1506 | 478 | 33.23 | 548.9 | 193 | 0
2011-09-25 | 1222.97 | 21.47 | 12.37 | 856 | 850 | 897 | 1484 | 644 | 33.27 | #N/A | #N/A | #N/A
2011-09-24 | 1222.96 | 21.26 | 12.26 | 856 | 850 | 910 | 1461 | 704 | 33.38 | #N/A | #N/A | #N/A
2011-09-23 | 1222.94 | 21.04 | 12.14 | 865 | 850 | 790 | 1439 | 543 | 32.98 | 548.7 | 222 | 0
2011-09-22 | 1223.01 | 20.91 | 12.31 | 861 | 850 | 618 | 1419 | 372 | 32.83 | 548.2 | 191 | 0
2011-09-21 | 1223.22 | 21.02 | 12.52 | 855 | 850 | 521 | 1407 | 378 | 32.91 | 548.2 | 191 | 0
2011-09-20 | 1223.49 | 21.09 | 12.79 | 849 | 850 | 526 | 1400 | 330 | 32.66 | 548.2 | 191 | 0
2011-09-19 | 1223.76 | 21.16 | 13.16 | 855 | 850 | 334 | 1392 | 270 | 33.25 | 548.3 | 188 | 0
2011-09-18 | 1224.17 | 21.37 | 13.57 | 854 | 850 | 461 | 1391 | 314 | 33.93 | #N/A | #N/A | #N/A
2011-09-17 | 1224.48 | 21.58 | 13.78 | 859 | 850 | 477 | 1390 | 373 | 33.11 | #N/A | #N/A | #N/A
2011-09-16 | 1224.78 | 21.68 | 14.08 | 856 | 850 | 645 | 1393 | 460 | 33.97 | 548.4 | 191 | 0
2011-09-15 | 1224.96 | 21.66 | 14.16 | 763 | 760 | 711 | 1405 | 422 | 33.94 | 548.5 | 191 | 0
2011-09-14 | 1225.02 | 21.52 | 14.12 | 779 | 760 | 607 | 1411 | 413 | 32.94 | 548.5 | 191 | 0
2011-09-13 | 1225.16 | 21.56 | 14.26 | 933 | 760 | 666 | 1402 | 476 | 33.93 | 548.6 | 191 | 0
2011-09-12 | 1225.38 | 21.58 | 14.48 | 1231 | 760 | 910 | 1388 | 605 | 33.77 | 548.6 | 191 | 0
2011-09-11 | 1225.63 | 21.63 | 14.53 | 1837 | 760 | 1243 | 1368 | 747 | 33.62 | #N/A | #N/A | #N/A
2011-09-10 | 1226.08 | 21.88 | 14.78 | 2960 | 760 | 2348 | 1339 | 1300 | 33.2 | #N/A | #N/A | #N/A
The Jarvis turbine release returned to the Operating Diagram discharge at about 1:30pm because of the reduced flood risk.
2011-09-09 | 1226.54 | 22.14 | 15.04 | 3647 | 760 | 4762 | 1282 | 3170 | 32.7 | 548.6 | 204 | 0
2011-09-08 | 1225.89 | 21.39 | 14.09 | 1997 | 660 | 8038 | 1153 | 7380 | 33.29 | 548.1 | 273 | 0
2011-09-07 | 1221.37 | 16.67 | 9.37 | 1807 | 660 | 3208 | 896 | 2730 | 33.04 | 546.6 | 193 | 0
The Jarvis turbine release was increased to its capability (1800 cfs) at 5pm to reduce the flood potential as the remnants of hurricane Lee approached.
2011-09-06 | 1220.29 | 15.39 | 8.09 | 1001 | 660 | 4113 | 803 | 3360 | #N/A | 546.5 | 196 | 0
2011-09-05 | 1217.77 | 12.67 | 5.37 | 660 | 660 | 959 | 676 | 1070 | 34.33 | #N/A | #N/A | #N/A
2011-09-04 | 1217.55 | 12.35 | 4.95 | 665 | 660 | 378 | 651 | 244 | 34.37 | #N/A | #N/A | #N/A
2011-09-03 | 1217.82 | 12.42 | 5.12 | 662 | 660 | 444 | 643 | 287 | 34.65 | #N/A | #N/A | #N/A
2011-09-02 | 1218.02 | 12.42 | 5.12 | 661 | 660 | 548 | 633 | 367 | 33.97 | 546.6 | 185 | 0
The Jarvis turbine release returned to the Operating Diagram release at 8:30 pm because of decreased flooding in the Mohawk River.
2011-09-01 | 1218.14 | 12.34 | 5.14 | 551 | 520 | 913 | 623 | 505 | 34.9 | 546.6 | 185 | 0
2011-08-31 | 1217.86 | 11.96 | 4.86 | 412 | 520 | 1005 | 601 | 816 | 33.7 | #N/A | #N/A | #N/A
The Jarvis turbine release was decreased to 400 cfs at 6 pm to help alleviate downstream flooding that was occurring in the Mohawk River.
2011-08-30 | 1217.39 | 11.29 | 4.29 | 400 | 520 | 1840 | 575 | 1570 | 34.1 | #N/A | #N/A | #N/A
2011-08-29 | 1216.19 | 9.89 | 2.99 | 400 | 520 | 4374 | 522 | 3620 | #N/A | #N/A | #N/A | #N/A
2011-08-28 | 1212.66 | 6.16 | -0.64 | 1434 | 520 | 1323 | 384 | 1670 | #N/A | #N/A | #N/A | #N/A
2011-08-27 | 1212.79 | 6.19 | -0.81 | 1816 | 520 | -27 | 347 | 112 | #N/A | #N/A | #N/A | #N/A
The Jarvis turbine release was increased to its capability (1800 cfs) at 2:30 pm today to help reduce the flood potential as hurricane Irene approached.
2011-08-26 | 1214.5 | 7.7 | 0.7 | 1042 | 520 | 195 | 355 | 128 | 33.76 | 546.3 | 185 | 0
2011-08-25 | 1215.29 | 8.29 | 1.19 | 482 | 480 | 249 | 357 | 128 | 33.12 | #N/A | #N/A | #N/A
2011-08-24 | 1215.52 | 8.32 | 1.22 | 477 | 480 | 198 | 358 | 129 | 32.81 | 546.4 | 185 | 0
2011-08-23 | 1215.79 | 8.39 | 1.39 | 499 | 480 | 264 | 360 | 155 | 32.89 | 546.4 | 199 | 0
2011-08-22 | 1216.03 | 8.53 | 1.53 | 486 | 480 | 294 | 357 | 176 | 32.9 | 546.5 | 213 | 0
2011-08-21 | 1216.22 | 8.52 | 1.52 | 489 | 480 | 285 | 353 | 149 | 33.22 | #N/A | #N/A | #N/A
2011-08-20 | 1216.43 | 8.53 | 1.53 | 490 | 480 | 319 | 350 | 175 | 32.89 | #N/A | #N/A | #N/A
2011-08-19 | 1216.6 | 8.5 | 1.5 | 481 | 480 | 435 | 345 | 232 | 33.38 | #N/A | #N/A | #N/A
2011-08-18 | 1216.67 | 8.47 | 1.37 | 403 | 400 | 551 | 337 | 341 | 32.77 | 547.4 | 196 | 0
2011-08-17 | 1216.48 | 8.08 | 0.98 | 403 | 400 | 1004 | 326 | 601 | 33.12 | 547.5 | 196 | 0
As of August 16 the Hinckley reservoir 30 day running average inflow trigger became DEACTIVATED. Normal monitoring of Hinckley resevoir resumed.
2011-08-16 | 1215.99 | 7.39 | 0.29 | 407 | 400 | 913 | 302 | 815 | 32.86 | 547.6 | 196 | 0
2011-08-15 | 1215.46 | 6.66 | -0.44 | 406 | 400 | 326 | 277 | 140 | 32.97 | 547.6 | 204 | 0
2011-08-14 | 1215.56 | 6.66 | -0.44 | 399 | 400 | 239 | 273 | 141 | 32.11 | #N/A | #N/A | #N/A
2011-08-13 | 1215.73 | 6.63 | -0.37 | 399 | 400 | 307 | 272 | 180 | 33.27 | #N/A | #N/A | #N/A
2011-08-12 | 1215.84 | 6.54 | -0.46 | 399 | 400 | 387 | 268 | 261 | 33 | 548.8 | 207 | 0
2011-08-11 | 1215.88 | 6.38 | -0.42 | 450 | 450 | 622 | 268 | 410 | 35.13 | 548 | 2020 | 0
2011-08-10 | 1215.76 | 6.16 | -0.64 | 439 | 450 | 908 | 257 | 856 | #N/A | 548.9 | 185 | 0
2011-08-09 | 1215.38 | 5.58 | -1.12 | 400 | 450 | 332 | 236 | 187 | #N/A | 548.7 | 180 | 0
2011-08-08 | 1215.47 | 5.47 | -1.23 | 450 | 450 | 393 | 235 | 225 | 32.85 | 548.7 | 180 | 0
2011-08-07 | 1215.55 | 5.35 | -1.25 | 468 | 450 | 319 | 232 | 135 | 33.01 | #N/A | #N/A | #N/A
2011-08-06 | 1215.71 | 5.31 | -1.29 | 478 | 450 | 202 | 234 | 67 | 33.83 | #N/A | #N/A | #N/A
2011-08-05 | 1215.98 | 5.48 | -1.12 | 451 | 450 | 150 | 241 | 62 | 33.49 | 548.9 | 183 | 0
2011-08-04 | 1216.27 | 5.57 | -0.93 | 522 | 520 | 149 | 251 | 66 | 33.89 | 548.9 | 177 | 0
2011-08-03 | 1216.62 | 5.72 | -0.78 | 531 | 520 | 237 | 262 | 66 | 33.71 | 549 | 185 | 0
2011-08-02 | 1216.9 | 5.8 | -0.6 | 531 | 520 | 247 | 273 | 71 | 33.48 | 549 | 185 | 0
2011-08-01 | 1217.17 | 5.97 | -0.53 | 527 | 520 | 241 | 283 | 83 | 33.43 | 549.1 | 185 | 10
As of August 1 the Hinckley reservoir 30 day running average inflow trigger became ACTIVATED. Routine Communication Protocols were utilized.
2011-07-31 | 1217.44 | 6.04 | -0.26 | 523 | 520 | 236 | 300 | 100 | 33.55 | #N/A | #N/A | #N/A
2011-07-30 | 1217.71 | 6.11 | -0.19 | 519 | 520 | 230 | 333 | 126 | 33.55 | #N/A | #N/A | #N/A
2011-07-29 | 1217.98 | 6.18 | -0.02 | 520 | 520 | 223 | 407 | 84 | 34.1 | 549.2 | 185 | 10
2011-07-28 | 1218.26 | 6.36 | 0.16 | 575 | 580 | 207 | 504 | 77 | 36.33 | 549.3 | 185 | 10
2011-07-27 | 1218.59 | 6.49 | 0.29 | 583 | 580 | 260 | 543 | 87 | 36.33 | 549.3 | 188 | 10
2011-07-26 | 1218.88 | 6.58 | 0.48 | 582 | 580 | 269 | 590 | 98 | 36.33 | 549.3 | 193 | 10
2011-07-25 | 1219.16 | 6.66 | 0.56 | 584 | 580 | 257 | 685 | 78 | 36.4 | 549.3 | 191 | 10
2011-07-24 | 1219.46 | 6.86 | 0.76 | 576 | 580 | 174 | 810 | 67 | 36.54 | #N/A | #N/A | #N/A
2011-07-23 | 1219.81 | 7.01 | 0.91 | 580 | 580 | 175 | 841 | 73 | #N/A | #N/A | #N/A | #N/A
2011-07-22 | 1220.16 | 7.16 | 1.16 | 584 | 580 | 201 | 872 | 81 | 35.96 | 549.5 | 193 | 10
2011-07-21 | 1220.49 | 7.29 | 1.39 | 609 | 610 | 162 | 884 | 87 | 35.06 | 549.6 | 193 | 10
2011-07-20 | 1220.87 | 7.47 | 1.67 | 614 | 610 | 189 | 888 | 95 | 33.5 | 549.6 | 193 | 10
2011-07-19 | 1221.24 | 7.74 | 1.84 | 615 | 610 | 249 | 891 | 106 | 34.05 | 549.6 | 193 | 10
2011-07-18 | 1221.55 | 7.85 | 1.95 | 633 | 610 | 277 | 895 | 96 | 34.74 | 549.7 | 193 | 10
2011-07-17 | 1221.85 | 7.95 | 2.05 | 610 | 610 | 151 | 898 | 94 | 34.62 | #N/A | #N/A | #N/A
2011-07-16 | 1222.23 | 8.13 | 2.33 | 612 | 610 | 226 | 904 | 101 | 34.52 | #N/A | #N/A | #N/A
2011-07-15 | 1222.55 | 8.35 | 2.55 | 612 | 610 | 198 | 910 | 106 | 34.86 | 549.9 | 237 | 10
2011-07-14 | 1222.9 | 8.5 | 2.8 | 598 | 600 | 194 | 918 | 115 | 35.33 | 550 | 249 | 10
2011-07-13 | 1223.23 | 8.63 | 3.03 | 598 | 600 | 373 | 928 | 123 | 35.24 | 550 | 249 | 10
2011-07-12 | 1223.42 | 8.62 | 3.22 | 597 | 600 | 306 | 935 | 134 | 34.18 | 550.1 | 259 | 10
2011-07-11 | 1223.67 | 8.77 | 3.37 | 596 | 600 | 278 | 944 | 140 | 34.2 | 550.2 | 287 | 10
2011-07-10 | 1223.93 | 8.83 | 3.43 | 604 | 600 | 284 | 949 | 152 | 34.2 | #N/A | #N/A | #N/A
2011-07-09 | 1224.2 | 8.9 | 3.6 | 606 | 600 | 298 | 951 | 172 | 34.45 | #N/A | #N/A | #N/A
2011-07-08 | 1224.45 | 8.95 | 3.65 | 607 | 600 | 390 | 952 | 198 | 34.95 | #N/A | #N/A | #N/A
2011-07-07 | 1224.64 | 9.04 | 3.64 | 604 | 600 | 426 | 952 | 234 | 34.47 | #N/A | #N/A | #N/A
2011-07-06 | 1224.79 | 8.99 | 3.69 | 614 | 600 | 448 | 951 | 258 | 33.68 | 550.4 | 193 | 10
2011-07-05 | 1224.94 | 8.94 | 3.74 | 624 | 600 | 458 | 952 | 325 | 33.73 | 550.4 | 219 | 10
2011-07-04 | 1225.09 | 8.89 | 3.79 | 679 | 600 | 566 | 952 | 439 | 33.75 | #N/A | #N/A | #N/A
2011-07-03 | 1225.19 | 8.79 | 3.79 | 818 | 600 | 570 | 951 | 383 | 33.47 | #N/A | #N/A | #N/A
2011-07-02 | 1225.4 | 8.9 | 3.8 | 1177 | 600 | 753 | 951 | 484 | 33.07 | #N/A | #N/A | #N/A
2011-07-01 | 1225.73 | 9.03 | 4.03 | 1895 | 600 | 1219 | 959 | 693 | 33.21 | 550.7 | 499 | 10
2011-06-30 | 1226.19 | 9.29 | 4.29 | 2662 | 510 | 2439 | 941 | 1190 | 32.93 | #N/A | #N/A | #N/A
2011-06-29 | 1226.38 | 9.28 | 4.38 | 2274 | 510 | 3137 | 887 | 2090 | #N/A | #N/A | #N/A | #N/A
2011-06-28 | 1225.78 | 8.58 | 3.58 | 1422 | 510 | 1363 | 825 | 816 | 33.13 | 550.8 | 669 | 10
2011-06-27 | 1225.85 | 8.45 | 3.65 | 1808 | 510 | 1694 | 836 | 1083 | 32.78 | 551.1 | 1040 | 10
2011-06-26 | 1225.96 | 8.36 | 3.66 | 1154 | 510 | 3116 | 843 | 1943 | 31.84 | #N/A | #N/A | #N/A
2011-06-25 | 1224.55 | 6.75 | 2.15 | 517 | 510 | 4002 | 783 | 3226 | 32.33 | #N/A | #N/A | #N/A
2011-06-24 | 1221.94 | 4.04 | -0.56 | 499 | 510 | 1100 | 676 | 573 | 32.56 | 550.1 | 237 | 10
2011-06-23 | 1221.5 | 3.4 | -1.2 | 572 | 570 | 1094 | 679 | 635 | 33.19 | 549.9 | 225 | 10
2011-06-22 | 1221.12 | 2.82 | -1.58 | 574 | 570 | 584 | 690 | 222 | 33.97 | 549.8 | 225 | 10
2011-06-21 | 1221.14 | 2.64 | -1.56 | 583 | 570 | 269 | 720 | 139 | 33.54 | 549.9 | 222 | 10
2011-06-20 | 1221.41 | 2.81 | -1.49 | 566 | 570 | 275 | 779 | 147 | 33.51 | 550 | 222 | 10
2011-06-19 | 1221.67 | 2.87 | -1.33 | 570 | 570 | 378 | 847 | 170 | 33.24 | #N/A | #N/A | #N/A
2011-06-18 | 1221.84 | 2.84 | -1.36 | 570 | 570 | 365 | 884 | 178 | 32.41 | #N/A | #N/A | #N/A
2011-06-17 | 1222.03 | 2.83 | -1.27 | 575 | 570 | 344 | 911 | 165 | 31.17 | 550.1 | 228 | 10
2011-06-16 | 1222.23 | 2.83 | -1.07 | 605 | 600 | 386 | 938 | 195 | 30.1 | 550.1 | 234 | 10
2011-06-15 | 1222.43 | 2.93 | -0.87 | 602 | 600 | 446 | 977 | 240 | 30.18 | 550.2 | 243 | 10
2011-06-14 | 1222.57 | 2.87 | -0.73 | 604 | 600 | 486 | 1022 | 272 | 30.49 | 550.2 | 273 | 10
2011-06-13 | 1222.69 | 2.79 | -0.71 | 603 | 600 | 600 | 1045 | 319 | 30.4 | 550.2 | 266 | 10
2011-06-12 | 1222.72 | 2.62 | -0.78 | 601 | 600 | 559 | 1050 | 307 | 31.63 | #N/A | #N/A | #N/A
2011-06-11 | 1222.78 | 2.58 | -0.82 | 601 | 600 | 444 | 1057 | 194 | 31.79 | #N/A | #N/A | #N/A
2011-06-10 | 1222.93 | 2.53 | -0.77 | 598 | 600 | 324 | 1067 | 159 | 31.54 | 550.2 | 237 | 10
2011-06-09 | 1223.16 | 2.56 | -0.64 | 601 | 600 | 326 | 1084 | 174 | 34.6 | 550.2 | 259 | 10
2011-06-08 | 1223.4 | 2.6 | -0.4 | 601 | 600 | 390 | 1100 | 197 | 31.73 | 550.3 | 294 | 10
2011-06-07 | 1223.58 | 2.68 | -0.32 | 604 | 600 | 418 | 1121 | 238 | 31.65 | 550.4 | 343 | 10
2011-06-06 | 1223.75 | 2.65 | -0.25 | 606 | 600 | 471 | 1147 | 291 | 30.93 | 550.4 | 403 | 10
2011-06-05 | 1223.87 | 2.57 | -0.23 | 604 | 600 | 456 | 1182 | 313 | 30.56 | #N/A | #N/A | #N/A
2011-06-04 | 1224.01 | 2.51 | -0.19 | 605 | 600 | 522 | 1237 | 356 | #N/A | #N/A | #N/A | #N/A
The Hinckley downstream discharge returned to the Operating Diagram discharge (600 cfs) after installation of the directional and warning buoys was completed at 11:34am.
2011-06-03 | 1224.1 | 2.5 | -0.2 | 989 | 600 | 577 | 1334 | 422 | #N/A | 550.5 | 287 | 10
2011-06-02 | 1224.43 | 2.63 | 0.23 | 1402 | 670 | 1006 | 1438 | 500 | #N/A | 550.6 | 376 | 10
The downstream discharge from Hinckley dam was increased to 1400 cfs at 7:33pm in order to reduce the reservoir water level so that the directional and warning buoys can be safely installed at Hinckley dam.
2011-06-01 | 1224.75 | 2.75 | 0.55 | 1401 | 670 | 676 | 1456 | 635 | #N/A | 550.7 | 449 | 10
The downstream discharge from Hinckley dam was increased to 2500 cfs at 4:52pm in order to reduce the reservoir water level overnight so the directional and warning buoys could be safely installed at Hinckley dam on Friday May 27.
The Hinckley downstream discharge returned to the Operating Diagram discharge (670 cfs) after temporary installation of the directional and warning buoys was completed at 9:15am.
2011-05-31 | 1225.31 | 3.31 | 1.11 | 1191 | 670 | 820 | 1487 | 829 | #N/A | 550.8 | 579 | 10
2011-05-30 | 1225.6 | 3.6 | 1.4 | 1493 | 670 | 1282 | 1539 | 1201 | #N/A | #N/A | #N/A | #N/A
2011-05-29 | 1225.78 | 3.78 | 1.58 | 1470 | 670 | 1697 | 1642 | 1798 | #N/A | #N/A | #N/A | #N/A
2011-05-28 | 1225.55 | 3.55 | 1.25 | 851 | 670 | 1885 | 1967 | 1605 | #N/A | #N/A | #N/A | #N/A
2011-05-27 | 1224.82 | 2.82 | 0.52 | 1210 | 670 | 1335 | 2457 | 852 | #N/A | 550.9 | 807 | 10
2011-05-26 | 1224.75 | 2.75 | 0.45 | 1752 | 760 | 783 | 2827 | 823 | #N/A | 550.8 | 597 | 10
2011-05-25 | 1225.49 | 3.49 | 1.09 | 1353 | 760 | 1184 | 3115 | 1063 | #N/A | 550.9 | 739 | 10
2011-05-24 | 1225.63 | 3.63 | 1.23 | 1488 | 760 | 1426 | 3201 | 1285 | #N/A | 550.9 | 882 | 0
2011-05-23 | 1225.7 | 3.7 | 1.3 | 1737 | 760 | 1499 | 3278 | 1376 | #N/A | 551 | 989 | 0
2011-05-22 | 1225.9 | 3.9 | 1.5 | 2075 | 760 | 2012 | 3327 | 1882 | #N/A | #N/A | #N/A | #N/A
2011-05-21 | 1225.96 | 3.96 | 1.46 | 1701 | 760 | 2313 | 3367 | 2158 | #N/A | #N/A | #N/A | #N/A
2011-05-20 | 1225.54 | 3.54 | 1.04 | 1166 | 760 | 1506 | 3448 | 1569 | #N/A | 551.3 | 1370 | 0
2011-05-19 | 1225.32 | 3.32 | 0.82 | 1140 | 900 | 1172 | 3524 | 1051 | #N/A | 550.9 | 855 | 0
2011-05-18 | 1225.32 | 3.32 | 0.82 | 1203 | 900 | 1168 | 3587 | 1051 | 29.63 | 551 | 944 | 0
2011-05-17 | 1225.37 | 3.37 | 0.87 | 1112 | 900 | 1545 | 3695 | 1355 | 29.56 | 551.2 | 1320 | 0
2011-05-16 | 1225.08 | 3.08 | 0.58 | 920 | 900 | 1801 | 3793 | 1427 | 30.13 | 551 | 817 | 0
2011-05-15 | 1224.45 | 2.45 | -0.15 | 909 | 900 | 1165 | 3855 | 692 | 30.09 | #N/A | #N/A | #N/A
2011-05-14 | 1224.28 | 2.28 | -0.32 | 912 | 900 | 760 | 3983 | 429 | 31.07 | #N/A | #N/A | #N/A
2011-05-13 | 1224.42 | 2.42 | -0.08 | 917 | 900 | 751 | 4143 | 437 | 30.74 | 550.5 | 284 | 0
2011-05-12 | 1224.87 | 2.87 | 0.47 | 1029 | 1030 | 769 | 4450 | 488 | 30.76 | 550.6 | 315 | 0
2011-05-11 | 1224.88 | 2.88 | 0.48 | 1036 | 1030 | 829 | 4696 | 560 | 30.98 | 550.6 | 349 | 0
2011-05-10 | 1224.96 | 2.96 | 0.66 | 1056 | 1030 | 808 | 4795 | 676 | 30.36 | 550.6 | 396 | 0
2011-05-09 | 1225.16 | 3.16 | 0.96 | 1203 | 1030 | 1021 | 4848 | 862 | 29.52 | 550.7 | 469 | 0
2011-05-08 | 1225.32 | 3.32 | 1.02 | 1433 | 1030 | 1196 | 4872 | 1053 | 29.83 | #N/A | #N/A | #N/A
2011-05-07 | 1225.52 | 3.52 | 1.22 | 1710 | 1030 | 1499 | 4893 | 1396 | 29.34 | #N/A | #N/A | #N/A
The Jarvis turbine release was reduced down to the Operating Diagram release (1030 cfs) at 3:45pm today because of decreasing flood risk as directed by the Canal Corporation.
2011-05-06 | 1225.69 | 3.69 | 1.29 | 2520 | 1030 | 2106 | 4912 | 2019 | 28.85 | 551.1 | 1030 | 0
2011-05-05 | 1226.01 | 4.01 | 1.61 | 3376 | 1100 | 3448 | 4947 | 3188 | 29.12 | 551.4 | 1620 | 0
2011-05-04 | 1225.98 | 3.98 | 1.58 | 2388 | 1100 | 3696 | 4925 | 3773 | 28.15 | 551.5 | 1830 | 0
2011-05-03 | 1225.06 | 3.06 | 0.66 | 1822 | 1100 | 1547 | 4834 | 1414 | 28.53 | 550.8 | 574 | 0
2011-05-02 | 1225.28 | 3.28 | 0.98 | 2260 | 1100 | 1607 | 4809 | 1591 | 27.99 | 550.9 | 708 | 0
2011-05-01 | 1225.78 | 3.78 | 1.68 | 3484 | 1100 | 2360 | 4776 | 2226 | 28.59 | #N/A | #N/A | #N/A
2011-04-30 | 1226.61 | 7 | 2.71 | 6434 | 1100 | 4383 | 4719 | 3665 | 28.07 | #N/A | #N/A | #N/A
2011-04-29 | 1228.08 | #N/A | 4.28 | 14231 | 1100 | 11451 | 4591 | 8079 | 28.77 | 552.1 | 3110 | 0
2011-04-28 | 1230 | #N/A | 6.4 | 14469 | 1100 | 16585 | 4229 | -999999 | 29.18 | 552.5 | 3940 | 0
2011-04-27 | 1228.57 | #N/A | 5.17 | 12009 | 1100 | 12431 | 3696 | 10058 | 29.1 | 552 | 3000 | 0
The Jarvis turbine release was increased to its capability (1800 cfs) at about 5:30 pm today to help reduce the flood potential.
2011-04-26 | 1228.3 | #N/A | 5.1 | 6861 | 1100 | 9413 | 3302 | 8328 | 28.83 | 551 | 1580 | 0
2011-04-25 | 1226.52 | #N/A | 3.72 | 3690 | 1100 | 3771 | 3010 | 2863 | 30.04 | 550.7 | 980 | 0
2011-04-24 | 1226.48 | #N/A | 4.08 | 3417 | 1100 | 3730 | 2906 | 2824 | 30.3 | #N/A | #N/A | #N/A
2011-04-23 | 1226.28 | #N/A | 4.48 | 3049 | 1100 | 2994 | 2811 | 2261 | 30.46 | #N/A | #N/A | #N/A
2011-04-22 | 1226.34 | #N/A | 5.34 | 3814 | 1100 | 3212 | 2745 | 2371 | 30.19 | 550.8 | 1090 | 0
2011-04-21 | 1226.79 | #N/A | 6.49 | 4472 | 1100 | 4718 | 2680 | 3730 | 30.65 | 551.2 | 1570 | 0
2011-04-20 | 1226.63 | #N/A | 6.83 | 3254 | 1100 | 3800 | 2572 | 3061 | 29.96 | 550.7 | 1140 | 0
2011-04-19 | 1226.26 | #N/A | 7.06 | 3636 | 1100 | 3048 | 2509 | 1992 | 30.49 | 550.7 | 975 | 0
2011-04-18 | 1226.7 | #N/A | 7.9 | 4582 | 1100 | 4417 | 2494 | 3080 | 30.15 | 550.9 | 1310 | 0
2011-04-17 | 1226.83 | #N/A | 8.63 | 4026 | 1100 | 4492 | 2443 | 3509 | #N/A | #N/A | #N/A | #N/A
2011-04-16 | 1226.52 | #N/A | 9.22 | 4153 | 1100 | 3645 | 2352 | 2624 | #N/A | #N/A | #N/A | #N/A
2011-04-15 | 1226.9 | #N/A | 10.5 | 5276 | 1100 | 5014 | 2263 | 3670 | #N/A | 550.7 | 1080 | 0
2011-04-14 | 1227.11 | #N/A | 11.51 | 7205 | 1100 | 5573 | 2153 | 4085 | #N/A | 551 | 1380 | 0
2011-04-13 | 1228.27 | #N/A | 13.37 | 7805 | 1100 | 9945 | 2018 | 4831 | #N/A | 550.8 | 1070 | 0
2011-04-12 | 1226.79 | #N/A | 12.59 | 1747 | 1100 | 8170 | 1758 | 6090 | #N/A | 550.9 | 1220 | 0
2011-04-11 | 1222.05 | #N/A | 8.55 | 1113 | 1100 | 3795 | 1583 | 3337 | #N/A | 550.7 | 1010 | 0
2011-04-10 | 1219.96 | #N/A | 7.16 | 1106 | 1100 | 2398 | 1570 | 1654 | #N/A | #N/A | #N/A | #N/A
2011-04-09 | 1218.93 | #N/A | 6.63 | 1109 | 1100 | 1730 | 1570 | 1123 | #N/A | #N/A | #N/A | #N/A
2011-04-08 | 1218.44 | #N/A | 6.74 | 1113 | 1100 | 1822 | 1580 | 1142 | #N/A | 550.8 | 1130 | 0
2011-04-07 | 1217.88 | #N/A | 6.97 | 1107 | 1100 | 2074 | 1605 | 1265 | #N/A | 551 | 1410 | 0
2011-04-06 | 1217.08 | #N/A | 6.98 | 1102 | 1100 | 3143 | 1645 | 1883 | #N/A | 551.4 | 2090 | 0
2011-04-05 | 1215.34 | #N/A | 6.14 | 1113 | 1100 | 2804 | 1682 | 2040 | #N/A | 551.4 | 2190 | 0
2011-04-04 | 1213.86 | #N/A | 5.66 | 1112 | 1100 | 977 | 1673 | 591 | #N/A | 550.5 | 755 | 0
2011-04-03 | 1214.01 | #N/A | 6.91 | 1105 | 1100 | 774 | 1658 | 465 | #N/A | #N/A | #N/A | #N/A
2011-04-02 | 1214.33 | #N/A | 8.13 | 1096 | 1100 | 631 | 1651 | 429 | #N/A | #N/A | #N/A | #N/A
2011-04-01 | 1214.77 | #N/A | 9.47 | 1102 | 1100 | 632 | 1655 | 410 | 30.97 | 550.1 | 532 | 0
2011-03-31 | 1215.21 | #N/A | 10.81 | 1102 | 1100 | 568 | 1664 | 421 | 31.43 | 550.1 | 566 | 0
2011-03-30 | 1215.7 | #N/A | 12.2 | 1105 | 1100 | 577 | 1667 | 411 | 31.63 | 550.2 | 626 | 0
2011-03-29 | 1216.17 | #N/A | 13.47 | 1108 | 1100 | 586 | 1657 | 436 | 30.86 | 550.5 | 340 | 0
2011-03-28 | 1216.64 | #N/A | 14.84 | 1111 | 1100 | 619 | 1648 | 462 | 30.67 | 550.6 | 353 | 0
2011-03-27 | 1217.08 | #N/A | 16.08 | 1104 | 1100 | 641 | 1638 | 489 | 30.94 | #N/A | #N/A | #N/A
2011-03-26 | 1217.49 | #N/A | 16.89 | 1106 | 1100 | 675 | 1627 | 506 | 31.03 | #N/A | #N/A | #N/A
2011-03-25 | 1217.88 | #N/A | 17.67 | 1102 | 1100 | 868 | 1616 | 601 | 30.69 | 550.7 | 553 | 0
2011-03-24 | 1218.09 | #N/A | 18.09 | 1101 | 1100 | 1018 | 1603 | 691 | 31.16 | 550.8 | 658 | 0
2011-03-23 | 1218.18 | #N/A | 18.28 | 1110 | 1100 | 1250 | 1585 | 809 | 31.04 | 550.9 | 788 | 0
2011-03-22 | 1218.08 | #N/A | 18.38 | 1125 | 1100 | 1499 | 1560 | #N/A | 31.05 | 551 | 852 | 0
2011-03-21 | 1217.79 | #N/A | 18.19 | 1115 | 1100 | 1892 | 1526 | #N/A | 30.88 | 550.9 | 722 | 0
2011-03-20 | 1217.15 | #N/A | 17.75 | 1123 | 1100 | 2592 | 1477 | #N/A | 30.61 | #N/A | #N/A | #N/A
2011-03-19 | 1215.91 | #N/A | 16.41 | 1117 | 1100 | 2911 | 1399 | #N/A | 31.07 | #N/A | #N/A | #N/A
2011-03-18 | 1214.35 | #N/A | 15.05 | 1121 | 1100 | 1750 | 1313 | #N/A | 31.02 | 548.2 | 631 | 0
2011-03-17 | 1213.8 | #N/A | 14.7 | 999 | 1000 | 968 | 1267 | #N/A | 30.64 | 547.8 | 240 | 0
2011-03-16 | 1213.85 | #N/A | 14.75 | 996 | 1000 | 1715 | 1244 | #N/A | 30.95 | 547.3 | 243 | 0
2011-03-15 | 1213.21 | #N/A | 14.21 | 999 | 1000 | 1518 | 1196 | #N/A | 30.61 | 547.1 | 217 | 0
2011-03-14 | 1212.7 | #N/A | 13.9 | 1018 | 1000 | 2163 | 1155 | #N/A | 31 | 546.8 | 229 | 0
2011-03-13 | 1211.64 | #N/A | 12.94 | 1018 | 1000 | 2912 | 1093 | #N/A | 31.09 | #N/A | #N/A | #N/A
2011-03-12 | 1209.9 | #N/A | 11.3 | 1026 | 1000 | 3412 | 1004 | #N/A | 31.06 | #N/A | #N/A | #N/A
2011-03-11 | 1207.5 | #N/A | 8.8 | 1016 | 1000 | 2387 | 901 | #N/A | 31.11 | 543.4 | 305 | 0
2011-03-10 | 1206.06 | #N/A | 7.36 | 485 | 470 | 2025 | 831 | #N/A | 30.89 | 542.2 | 212 | 0
2011-03-09 | 1204.38 | #N/A | 5.68 | 485 | 470 | 2595 | 775 | #N/A | 30.89 | 541.9 | 215 | 0
2011-03-08 | 1201.94 | #N/A | 3.34 | 480 | 470 | 3252 | 700 | #N/A | 31.11 | 541 | 223 | 0
2011-03-07 | 1198.44 | #N/A | -0.26 | 498 | 470 | 4251 | 602 | #N/A | 30.66 | 539.9 | 240 | 0
2011-03-06 | 1192.98 | #N/A | -5.52 | 490 | 470 | 2559 | 471 | #N/A | 31.07 | #N/A | #N/A | #N/A
2011-03-05 | 1189.45 | #N/A | -9.05 | 477 | 470 | 516 | 393 | #N/A | 30.59 | #N/A | #N/A | #N/A
2011-03-04 | 1189.42 | #N/A | -9.38 | 470 | 470 | 572 | 385 | #N/A | 34.64 | 535.7 | 196 | 0
2011-03-03 | 1189.28 | #N/A | -9.82 | 454 | 450 | 742 | 377 | #N/A | 30.96 | 535.5 | 198 | 0
2011-03-02 | 1188.78 | #N/A | -10.62 | 446 | 450 | 892 | 361 | #N/A | 31.17 | 535.2 | 206 | 0
2011-03-01 | 1187.96 | #N/A | -11.64 | 436 | 450 | 655 | 340 | #N/A | 30.78 | 534.7 | 212 | 0
2011-02-28 | 1187.57 | #N/A | -12.23 | 437 | 450 | 297 | 327 | #N/A | 30.72 | 533.9 | 193 | 0
2011-02-27 | 1187.89 | #N/A | -12.01 | 441 | 450 | 307 | 329 | #N/A | 30.85 | #N/A | #N/A | #N/A
2011-02-26 | 1188.2 | #N/A | -11.9 | 445 | 450 | 315 | 328 | #N/A | 31.13 | #N/A | #N/A | #N/A
2011-02-25 | 1188.5 | #N/A | -11.9 | 450 | 450 | 312 | 327 | #N/A | 30.84 | 533.8 | 188 | 0
2011-02-24 | 1188.81 | #N/A | -11.79 | 470 | 480 | 335 | 323 | #N/A | 35.94 | 533.9 | 191 | 0
2011-02-23 | 1189.11 | #N/A | -11.59 | 482 | 480 | 480 | 322 | #N/A | 28.96 | 533.9 | 191 | 0
2011-02-22 | 1189.16 | #N/A | -11.64 | 483 | 480 | 477 | 315 | #N/A | 31.11 | 534 | 193 | 0
2011-02-21 | 1189.22 | #N/A | -11.88 | 483 | 480 | 502 | 309 | #N/A | 30.77 | 534 | 198 | 0
2011-02-20 | 1189.23 | #N/A | -12.27 | 484 | 480 | 482 | 302 | #N/A | 31.04 | #N/A | #N/A | #N/A
2011-02-19 | 1189.28 | #N/A | -12.52 | 485 | 480 | 425 | 297 | #N/A | 30.79 | #N/A | #N/A | #N/A
2011-02-18 | 1189.43 | #N/A | -12.57 | 497 | 480 | 266 | 293 | #N/A | 30.94 | 533.5 | 188 | 0
2011-02-17 | 1189.9 | #N/A | -12.2 | 598 | 600 | 326 | 295 | #N/A | 30.53 | 533.4 | 188 | 0
2011-02-16 | 1190.43 | #N/A | -11.97 | 601 | 600 | 356 | 295 | #N/A | 30.96 | 533.3 | 188 | 0
2011-02-15 | 1190.9 | #N/A | -11.8 | 602 | 600 | 277 | 292 | #N/A | 31.03 | 533.4 | 201 | 0
2011-02-14 | 1191.5 | #N/A | -11.6 | 601 | 600 | 287 | 292 | #N/A | 30.47 | 533.5 | 196 | 0
2011-02-13 | 1192.07 | #N/A | -11.43 | 601 | 600 | 279 | 292 | #N/A | 30.98 | #N/A | #N/A | #N/A
2011-02-12 | 1192.64 | #N/A | -11.16 | 610 | 600 | 298 | 290 | #N/A | 31.17 | #N/A | #N/A | #N/A
2011-02-11 | 1193.19 | #N/A | -11.01 | 612 | 600 | 265 | 290 | #N/A | 30.65 | 533.8 | 198 | 0
2011-02-10 | 1193.78 | #N/A | -10.82 | 669 | 670 | 302 | 292 | #N/A | 31.06 | 533.9 | 196 | 0
2011-02-09 | 1194.39 | #N/A | -10.61 | 665 | 670 | 290 | 292 | #N/A | 30.81 | 533.9 | 196 | 0
2011-02-08 | 1194.99 | #N/A | -10.41 | 667 | 670 | 356 | 293 | #N/A | 31.08 | 534 | 198 | 0
2011-02-07 | 1195.49 | #N/A | -10.31 | 668 | 670 | 338 | 295 | #N/A | 30.99 | 534 | 198 | 0
2011-02-06 | 1196.01 | #N/A | -10.09 | 673 | 670 | 302 | 297 | #N/A | #N/A | #N/A | #N/A | #N/A
2011-02-05 | 1196.58 | #N/A | -9.92 | 677 | 670 | 327 | 300 | #N/A | 31.14 | #N/A | #N/A | #N/A
2011-02-04 | 1197.1 | #N/A | -9.6 | 674 | 670 | 240 | 302 | #N/A | 30.59 | 534.2 | 196 | 0
2011-02-03 | 1197.74 | #N/A | -9.16 | 756 | 760 | 276 | 311 | #N/A | 31.12 | 534.2 | 196 | 0
2011-02-02 | 1198.42 | #N/A | -8.68 | 765 | 760 | 304 | 319 | #N/A | 31.08 | #N/A | #N/A | #N/A
2011-02-01 | 1199.07 | #N/A | -8.33 | 764 | 760 | 262 | 330 | #N/A | 30.54 | #N/A | #N/A | #N/A
2011-01-31 | 1199.75 | #N/A | -7.85 | 762 | 760 | 263 | 340 | #N/A | 30.8 | 534.4 | 196 | 0
2011-01-30 | 1200.42 | #N/A | -7.48 | 765 | 760 | 273 | 344 | #N/A | 31.16 | #N/A | #N/A | #N/A
2011-01-29 | 1201.06 | #N/A | -7.04 | 764 | 760 | 359 | 347 | #N/A | 30.68 | #N/A | #N/A | #N/A
2011-01-28 | 1201.59 | #N/A | -6.71 | 767 | 760 | 274 | 350 | #N/A | 31.16 | #N/A | #N/A | #N/A
2011-01-27 | 1202.21 | #N/A | -6.19 | 820 | 820 | 301 | 355 | #N/A | 30.71 | 534.8 | 198 | 0
2011-01-26 | 1202.86 | #N/A | -5.64 | 826 | 820 | 171 | 357 | #N/A | 31.24 | 534.9 | 198 | 0
2011-01-25 | 1203.66 | #N/A | -4.94 | 818 | 820 | 313 | 365 | #N/A | 30.71 | 534.9 | 198 | 0
2011-01-24 | 1204.26 | #N/A | -4.44 | 817 | 820 | 267 | 371 | #N/A | 30.64 | 535 | 201 | 0
2011-01-23 | 1204.91 | #N/A | -3.69 | 825 | 820 | 311 | 379 | #N/A | #N/A | #N/A | #N/A | #N/A
2011-01-22 | 1205.51 | #N/A | -3.09 | 826 | 820 | 286 | 387 | #N/A | 31.01 | #N/A | #N/A | #N/A
2011-01-21 | 1206.12 | #N/A | -2.78 | 819 | 820 | 342 | 396 | #N/A | #N/A | 535.1 | 201 | 0
2011-01-20 | 1206.66 | #N/A | -2.44 | 894 | 890 | 290 | 404 | #N/A | 30.92 | 535.2 | 201 | 0
2011-01-19 | 1207.32 | #N/A | -1.98 | 903 | 890 | 327 | 413 | #N/A | 30.81 | 535.2 | 201 | 0
2011-01-18 | 1207.95 | #N/A | -1.45 | 889 | 890 | 323 | 422 | #N/A | 30.35 | 535.3 | 201 | 0
2011-01-17 | 1208.55 | #N/A | -1.15 | 910 | 890 | 272 | 432 | #N/A | 30.4 | #N/A | #N/A | #N/A
2011-01-16 | 1209.22 | #N/A | -0.68 | 926 | 890 | 277 | 450 | #N/A | 30.77 | #N/A | #N/A | #N/A
2011-01-15 | 1209.89 | #N/A | -0.21 | 921 | 890 | 272 | 468 | #N/A | #N/A | #N/A | #N/A | #N/A
2011-01-14 | 1210.55 | #N/A | 0.15 | 908 | 890 | 239 | 490 | #N/A | 30.53 | 535.5 | 201 | 0
2011-01-13 | 1211.22 | #N/A | 0.52 | 960 | 960 | 295 | 517 | #N/A | 29.79 | 535.6 | 201 | 0
2011-01-12 | 1211.88 | #N/A | 0.99 | 959 | 960 | 317 | 561 | #N/A | 30.04 | 535.5 | 204 | 0
2011-01-11 | 1212.5 | #N/A | 1.3 | 963 | 960 | 322 | 613 | #N/A | 29.58 | 535.9 | 204 | 0
2011-01-10 | 1213.12 | #N/A | 1.62 | 966 | 960 | 317 | 626 | #N/A | 29.97 | 535.95 | 204 | 0
2011-01-09 | 1213.73 | #N/A | 2.03 | 967 | 960 | 406 | 638 | #N/A | 29.48 | #N/A | #N/A | #N/A
2011-01-08 | 1214.26 | #N/A | 2.36 | 966 | 960 | 388 | 643 | #N/A | 29.58 | #N/A | #N/A | #N/A
2011-01-07 | 1214.8 | #N/A | 2.8 | 967 | 960 | 394 | 651 | #N/A | 29.95 | 536.05 | 212 | 0
2011-01-06 | 1215.32 | #N/A | 3.12 | 1028 | 1030 | 391 | 663 | #N/A | 29.73 | 536.05 | 217 | 0
2011-01-05 | 1215.9 | #N/A | 3.6 | 1028 | 1030 | 498 | 677 | #N/A | 29.34 | 536.05 | 217 | 0
2011-01-04 | 1216.38 | #N/A | 4.08 | 1034 | 1030 | 544 | 690 | 368 | 28.51 | #N/A | #N/A | #N/A
2011-01-03 | 1216.82 | #N/A | 4.52 | 1008 | 1030 | 606 | 711 | 416 | 28.23 | 541.2 | 538 | 0
2011-01-02 | 1217.18 | #N/A | 4.88 | 1040 | 1030 | 577 | 745 | 392 | 28.82 | #N/A | #N/A | #N/A
2011-01-01 | 1217.59 | #N/A | 5.29 | 1024 | 1030 | 379 | 827 | 280 | 27.95 | #N/A | #N/A | #N/A