## Sheet1
Date | Hinckley Reservoir Elevation | Hinckley Reservoir Comparison to Elevation Trigger1 | Hinckley Reservoir Comparison to Normal Elevation2 | Hinckley Reservoir Discharge | 1920 Operating Diagram Release4 | Hinckley Reservoir Inflow | Hinckley Reservoir 30-Day Running Average Inflow5 | Wilmurt Streamgage Flow | Mohawk Valley Water Authority Withdrawal | Delta Reservoir Elevation | Delta Reservoir Discharge | Nine Mile Feeder Discharge
| (ft) | (ft) | (ft) | (cfs)3 | (cfs) | (cfs) | (cfs) | (cfs) | (cfs) | (ft) | (cfs) | (cfs)
2014-12-31 | 1224.9 | 26.9 | 12.4 | 1067 | 1060 | 923 | 1422 | 762
2014-12-30 | 1225.1 | 27.1 | 12.7 | 1089 | 1060 | 1210 | 1404 | 982
2014-12-29 | 1225 | 27 | 12.5 | 992 | 1060 | 2006 | 1387 | 1520
2014-12-28 | 1224.3 | 26.3 | 11.6 | 778 | 770 | 2199 | 1347 | 1630
2014-12-27 | 1223.2 | 25.2 | 10.2 | 771 | 770 | 2641 | 1307
2014-12-26 | 1221.8 | 23.8 | 8.7 | 781 | 770 | 5423 | 1267 | 3620 | 30.9
2014-12-25 | 1218.1 | 20.1 | 4.8 | 785 | 770 | 10126 | 1161 | 7620 | 34
2014-12-24 | 1209.6 | 11.6 | -3.9 | 799 | 790 | 3300 | 947 | 2580 | 34.1
2014-12-23 | 1207.1 | 9.1 | -6.4 | 796 | 790 | 655 | 893 | 439 | 35.4
2014-12-22 | 1207.2 | 9.2 | -6.4 | 794 | 790 | 489 | 889 | 384 | 33.5
2014-12-21 | 1207.6 | 9.6 | -5.9 | 803 | 800 | 472 | 888 | 387 | 34.6
2014-12-20 | 1208 | 10 | -5.6 | 803 | 800 | 493 | 887 | 355 | 32.9
2014-12-19 | 1208.3 | 10.3 | -5.6 | 799 | 800 | 772 | 887 | 479 | 35.4
2014-12-18 | 1208.4 | 10.4 | -5.6 | 798 | 800 | 820 | 884 | 577 | 34.4
2014-12-17 | 1208.4 | 10.4 | -5.8 | 830 | 830 | 565 | 885 | 455 | 36.7
2014-12-16 | 1208.6 | 10.6 | -5.6 | 835 | 830 | 471 | 880 | 343 | 34.9
2014-12-15 | 1209 | 11 | -5.4 | 834 | 830 | 491 | 872 | 357 | 35.7
2014-12-14 | 1209.4 | 11.4 | -5.1 | 840 | 840 | 496 | 867 | 380 | 33.4
2014-12-13 | 1209.8 | 11.8 | -4.8 | 842 | 840 | 543 | 863 | 387 | 36
2014-12-12 | 1210.1 | 12.1 | -4.2 | 844 | 840 | 567 | 856 | 416 | 34.6
2014-12-11 | 1210.4 | 12.4 | -3.7 | 842 | 840 | 713 | 846 | 452 | 36.1
2014-12-10 | 1210.5 | 12.5 | -3.5 | 850 | 850 | 695 | 834 | 482 | 33.7
2014-12-09 | 1210.7 | 12.7 | -3.3 | 853 | 850 | 647 | 822 | 458 | 35.3
2014-12-08 | 1210.9 | 12.9 | -3 | 854 | 850 | 545 | 813 | 427 | 35.8
2014-12-07 | 1211.2 | 13.2 | -2.6 | 846 | 840 | 867 | 807 | 585 | 35
2014-12-06 | 1211.2 | 13.2 | -2.5 | 849 | 840 | 768 | 793 |  | 33
2014-12-05 | 1211.3 | 13.3 | -2.3 | 847 | 840 | 587 | 777 |  | 35.5
2014-12-04 | 1211.6 | 13.6 | -2.2 | 850 | 840 | 802 | 770 | 638 | 33.5
2014-12-03 | 1211.6 | 13.6 | -2.4 | 759 | 760 | 1330 | 753 | 656 | 36.2
2014-12-02 | 1211.1 | 13.1 | -3 | 761 | 760 | 1035 | 721 | 723 | 33.8
2014-12-01 | 1210.9 | 12.9 | -3.1 | 756 | 760 | 402 | 698 | 645 | 35
2014-11-30 | 1211.2 | 13.2 | -2.6 | 753 | 760 | 697 | 697 | 533 | 33.4
2014-11-29 | 1211.3 | 13.3 | -2.3 | 767 | 760 | 813 | 690 |  | 33.8
2014-11-28 | 1211.3 | 13.3 | -2.1 | 766 | 760 | 991 | 681 | 785 | 31.8
2014-11-27 | 1211.1 | 13.1 | -2 | 761 | 760 | 1462 | 668 | 1070 | 35.3
2014-11-26 | 1210.4 | 12.4 | -2.6 | 749 | 740 | 2221 | 640 | 1560 | 35.7
2014-11-25 | 1209 | 11 | -3.8 | 756 | 740 | 3713 | 589 | 2720 | 35
2014-11-24 | 1205.9 | 7.9 | -6.8 | 746 | 740 | 1675 | 485 | 1380 | 35.1
2014-11-23 | 1204.9 | 6.9 | -7.8 | 737 | 740 | 538 | 449 | 390 | 34.7
2014-11-22 | 1205.2 | 7.2 | -7.4 | 742 | 740 | 454 | 456 |  | 32.2
2014-11-21 | 1205.5 | 7.5 | -6.8 | 743 | 740 | 452 | 469 | 326 | 33.2
2014-11-20 | 1205.8 | 7.8 | -6.2 | 738 | 740 | 489 | 486 | 369 | 34.5
2014-11-19 | 1206.1 | 8.1 | -5.8 | 791 | 790 | 699 | 510 | 392 | 31.3 | 548.5 | 515 | 0
2014-11-18 | 1206.2 | 8.2 | -5.6 | 796 | 790 | 839 | 541 | 548 | 33.2
2014-11-17 | 1206.2 | 8.2 | -5.6 | 795 | 790 | 407 | 596 | 288 | 34.2
2014-11-16 | 1206.7 | 8.7 | -4.9 | 821 | 820 | 226 | 679 | 245 | 33.5
2014-11-15 | 1207.3 | 9.3 | -4.2 | 820 | 820 | 351 | 831 |  | 30.8
2014-11-14 | 1207.8 | 9.8 | -3.7 | 815 | 820 | 363 | 912 | 275 | 33.4 | 548 | 509 | 0
2014-11-13 | 1208.3 | 10.3 | -3.3 | 819 | 820 | 361 | 921 | 275 | 33.8 | 548.3 | 509 | 0
2014-11-12 | 1208.8 | 10.8 | -2.7 | 841 | 850 | 256 | 920 | 266 | 34.9 | 545.5 | 509 | 0
2014-11-11 | 1209.4 | 11.4 | -2 | 845 | 850 | 350 | 924 | 269 | 33.9
2014-11-10 | 1209.9 | 11.9 | -1.4 | 855 | 850 | 329 | 927 | 283 | 31.3
2014-11-09 | 1210.4 | 12.4 | -0.6 | 874 | 880 | 392 | 935 | 300 | 32.8
2014-11-08 | 1210.9 | 12.9 | 0.2 | 886 | 880 | 347 | 942 | 323 | 33.2
2014-11-07 | 1211.5 | 13.5 | 0.7 | 888 | 880 | 446 | 961 | 323 | 31.1
2014-11-06 | 1211.9 | 13.9 | 1.3 | 881 | 880 | 304 | 966 | 283 | 34.3 | 549.9 | 240 | 0
2014-11-05 | 1212.5 | 14.5 | 2 | 915 | 910 | 358 | 973 | 285 | 32.9 | 549.9 | 240 | 0
2014-11-04 | 1213 | 15 | 2.5 | 915 | 910 | 297 | 980 | 292 | 32.6 | 549.9 | 240 | 0
2014-11-03 | 1213.6 | 15.6 | 3.3 | 923 | 910 | 379 | 997 | 307 | 34.1 | 550 | 243 | 0
2014-11-02 | 1214.1 | 16.1 | 3.7 | 950 | 940 | 340 | 997 | 341 | 32
2014-11-01 | 1214.7 | 16.7 | 4.3 | 948 | 940 | 377 | 990 | 372 | 30.8
2014-10-31 | 1215.2 | 17.2 | 4.7 | 946 | 940 | 478 | 983 | 409 | 34.7
2014-10-30 | 1215.6 | 17.6 | 5 | 966 | 940 | 542 | 971 | 445 | 31.2 | 550.1 | 210 | 43
2014-10-29 | 1216 | 18 | 5.3 | 994 | 980 | 623 | 960 | 473 | 31.9
2014-10-28 | 1216.4 | 18.4 | 5.6 | 975 | 980 | 602 | 944 | 485 | 33.7 | 549.8 | 210 | 43
2014-10-27 | 1216.7 | 18.7 | 6 | 986 | 980 | 696 | 930 | 522 | 32 | 549.8 | 213 | 43
2014-10-26 | 1217 | 19 | 6.4 | 968 | 970 | 589 | 914 | 505 | 30.4
2014-10-25 | 1217.3 | 19.3 | 6.7 | 970 | 970 | 614 | 900 |  | 31.3
2014-10-24 | 1217.6 | 19.6 | 7.1 | 976 | 970 | 738 | 887 | 520 | 32.8 | 549.7 | 213 | 43
2014-10-23 | 1217.9 | 19.9 | 7.4 | 954 | 970 | 832 | 871 | 597 | 31.5 | 549.7 | 201 | 43
2014-10-22 | 1218 | 20 | 7.5 | 801 | 790 | 972 | 853 | 728 | 31.2 | 549.7 | 204 | 43
2014-10-21 | 1217.9 | 19.9 | 7.5 | 797 | 790 | 1201 | 831 | 912 | 32.9 | 549.4 | 204 | 43
2014-10-20 | 1217.5 | 19.5 | 7.3 | 792 | 790 | 1624 | 801 | 1190 | 31.3 | 549.5 | 207 | 43
2014-10-19 | 1216.8 | 18.8 | 6.8 | 605 | 600 | 2491 | 755 | 1700 | 29.4
2014-10-18 | 1215.2 | 17.2 | 5.2 | 616 | 600 | 2921 | 684 |  | 31.4
2014-10-17 | 1213.2 | 15.2 | 3.4 | 615 | 600 | 4761 | 601 | 2830 | 31.7
2014-10-16 | 1209.2 | 11.2 | -0.6 | 613 | 600 | 2786 | 461 | 1770 | 31.1
2014-10-15 | 1206.9 | 8.9 | -2.9 | 604 | 600 | 652 | 388 | 298 | 33 | 545.9 | 191 | 43
2014-10-14 | 1206.8 | 8.6 | -2.9 | 602 | 600 | 327 | 391 | 269 | 32.3
2014-10-13 | 1207.2 | 8.8 | -2.6 | 605 | 600 | 374 | 409 | 295 | 33.1 | 545.9 | 204 | 43
2014-10-12 | 1207.4 | 8.9 | -2.5 | 562 | 560 | 447 | 414 | 339 | 29.5
2014-10-11 | 1207.6 | 8.9 | -2.4 | 559 | 560 | 561 | 417 |  | 31.9
2014-10-10 | 1207.6 | 8.7 | -2.4 | 558 | 560 | 606 | 411 | 514 | 31.2
2014-10-09 | 1207.6 | 8.5 | -2.4 | 557 | 560 | 908 | 398 | 684 | 32.4 | 547.4 | 995 | 43
2014-10-08 | 1207.2 | 8 | -2.8 | 554 | 550 | 602 | 378 | 524 | 31.7 | 547.6 | 177 | 43
2014-10-07 | 1207.2 | 7.8 | -2.8 | 553 | 550 | 508 | 367 | 338 | 32.7
2014-10-06 | 1207.3 | 7.7 | -2.7 | 552 | 550 | 577 | 365 | 418 | 32.6 | 547.5 | 177 | 43
2014-10-05 | 1207.3 | 7.5 | -2.9 | 588 | 590 | 798 | 361 | 594 | 30.2
2014-10-04 | 1207.1 | 7.2 | -3.2 | 587 | 590 | 380 | 354 | 284 | 31.5
2014-10-03 | 1207.3 | 7.2 | -3.1 | 588 | 590 | 122 | 375 | 130 | 32.8 | 547.5 | 175 | 43
2014-10-02 | 1207.8 | 7.5 | -2.7 | 589 | 590 | 165 | 417 | 133 | 35.5
2014-10-01 | 1208.3 | 7.8 | -2.2 | 770 | 650 | 123 | 425 | 137 | 35.5
2014-09-30 | 1209 | 8.4 | -1.6 | 612 | 650 | 227 | 431 | 141 | 35.5 | 547.6 | 167 | 43
2014-09-29 | 1209.4 | 8.6 | -1.3 | 567 | 650 | 129 | 433 | 146 | 35.1 | 547.7 | 163 | 43
NY Power Authority Comments: On Sept 29, unexpected delays in returning the Jarvis turbine to service resulted in an underdischarge of 83 cfsd. On Sept 30, the Jarvis turbine tripped offline, resulting in an underdischarge of 38 cfsd. This makeup water will be scheduled on Oct 1.
2014-09-28 | 1209.9 | 8.9 | -0.7 | 689 | 690 | 196 | 436 | 153 | 33.1
2014-09-27 | 1210.4 | 9.2 | -0.1 | 692 | 690 | 193 | 438 | 162 | 33.1
2014-09-26 | 1210.9 | 9.5 | 0.4 | 695 | 690 | 190 | 441 |  | 34.9 | 547.8 | 167 | 43
2014-09-25 | 1211.4 | 9.9 | 0.8 | 705 | 690 | 219 | 450 | 184 | 33.6
2014-09-24 | 1211.9 | 10.2 | 1.2 | 731 | 730 | 266 | 459 | 196 | 33.4 | 547.9 | 170 | 43
2014-09-23 | 1212.4 | 10.5 | 1.6 | 734 | 730 | 290 | 477 | 210 | 32.8 | 547.9 | 172 | 43
2014-09-22 | 1212.8 | 10.7 | 2.1 | 735 | 730 | 286 | 504 | 221 | 32.8
2014-09-21 | 1213.2 | 11 | 2.5 | 728 | 730 | 302 | 563 | 214 | 32
2014-09-20 | 1213.6 | 11.2 | 3 | 726 | 730 | 269 | 686 |  | 33.2
2014-09-19 | 1214.1 | 11.5 | 3.5 | 729 | 730 | 349 | 728 | 254 | 32.3 | 547.6 | 167 | 43
2014-09-18 | 1214.5 | 11.7 | 3.9 | 734 | 730 | 433 | 730 | 301 | 32.5 | 547.7 | 167 | 43
2014-09-17 | 1214.8 | 11.8 | 4 | 688 | 680 | 551 | 729 | 370 | 34.3
2014-09-16 | 1214.9 | 11.8 | 4.2 | 687 | 680 | 605 | 725 | 418 | 33.9 | 547.7 | 170 | 43
2014-09-15 | 1215 | 11.7 | 4.2 | 681 | 680 | 736 | 723 | 509 | 32 | 547.7 | 170 | 43
2014-09-14 | 1215 | 11.5 | 4.1 | 718 | 720 | 884 | 721 | 735 | 31.7
2014-09-13 | 1214.8 | 11.2 | 4 | 716 | 720 | 526 | 719 |  | 31.9
2014-09-12 | 1215 | 11.2 | 4.1 | 723 | 720 | 530 | 739 | 415 | 33.4 | 547.6 | 170 | 43
2014-09-11 | 1215.2 | 11.2 | 4.1 | 725 | 720 | 364 | 744 | 254 | 33.4 | 547.6 | 167 | 43
2014-09-10 | 1215.5 | 11.3 | 4.2 | 747 | 750 | 214 | 738 | 184 | 34.1 | 547.6 | 170 | 43
2014-09-09 | 1216 | 11.6 | 4.5 | 752 | 750 | 327 | 739 | 209 | 33.4 | 547.7 | 170 | 43
2014-09-08 | 1216.4 | 11.9 | 4.6 | 755 | 750 | 270 | 736 |  | 32.4 | 547.7 | 170 | 43
2014-09-07 | 1216.8 | 12.2 | 4.8 | 742 | 740 | 454 | 735 | 300 | 31.3
2014-09-06 | 1217.1 | 12.2 | 4.9 | 741 | 740 | 451 | 730 |  | 32.6
2014-09-05 | 1217.4 | 12.3 | 5 | 740 | 740 | 594 | 728 | 424 | 34.3 | 547.7 | 504 | 43
2014-09-04 | 1217.5 | 12.3 | 4.9 | 853 | 740 | 997 | 725 |  | 34.5 | 548.2 | 504 | 43
2014-09-03 | 1217.4 | 12 | 4.7 | 1169 | 1170 | 1371 | 711 | 1090 | 35 | 548.3 | 509 | 43
2014-09-02 | 1217.3 | 11.7 | 4.4 | 1257 | 1170 | 412 | 700 | 285 | 33.6 | 548.5 | 504 | 43
2014-09-01 | 1218 | 12.2 | 5 | 1386 | 1170 | 320 | 711 | 307 | 32.5
2014-08-31 | 1218.9 | 13 | 5.9 | 1407 | 1400 | 267 | 718 | 188 | 31.7
2014-08-30 | 1219.9 | 13.8 | 6.8 | 1396 | 1400 | 235 | 740 | 186 | 33.5
2014-08-29 | 1220.8 | 14.5 | 7.6 | 1398 | 1400 | 246 | 759 | 213 | 32.8 | 549.6 | 504 | 43
2014-08-28 | 1221.8 | 15.3 | 8.5 | 1195 | 1400 | 279 | 779 | 258 | 31.6
2014-08-27 | 1222.5 | 15.9 | 8.9 | 805 | 800 | 456 | 818 | 318 | 35.8
2014-08-26 | 1222.8 | 16 | 9 | 807 | 800 | 487 | 842 | 419 | 34.4
2014-08-25 | 1223.1 | 16.1 | 9 | 810 | 800 | 812 | 837 | 594 | 32 | 550.2 | 234 | 43
2014-08-24 | 1223.1 | 15.9 | 8.8 | 692 | 680 | 1112 | 817 | 895 | 30.6
2014-08-23 | 1222.8 | 15.4 | 8.4 | 686 | 680 | 2053 | 790 | 1380 | 31.4
2014-08-22 | 1221.8 | 14.3 | 7.3 | 689 | 680 | 3979 | 730 | 2740 | 33.1 | 550.5 | 308 | 43
2014-08-21 | 1219.2 | 11.5 | 4.5 | 650 | 680 | 1547 | 607 | 1090 | 29.7
2014-08-20 | 1218.5 | 10.6 | 3.6 | 645 | 640 | 412 | 562 | 246 | 33.1
2014-08-19 | 1218.7 | 10.6 | 3.6 | 644 | 640 | 381 | 555 | 279 | 33.2 | 550.2 | 231 | 43
2014-08-18 | 1218.9 | 10.7 | 3.6 | 642 | 640 | 437 | 549 | 355 | 29.6 | 550.2 | 240 | 43
2014-08-17 | 1219.1 | 10.7 | 3.6 | 579 | 570 | 553 | 543 | 421 | 30.7
2014-08-16 | 1219.2 | 10.6 | 3.5 | 578 | 570 | 672 | 535 | 510 | 30.8
2014-08-15 | 1219.1 | 10.3 | 3.2 | 578 | 570 | 821 | 522 |  | 33.1 | 550 | 228 | 43
2014-08-14 | 1219 | 10 | 3 | 576 | 570 | 1144 | 508 | 907 | 32 | 550 | 228 | 43
2014-08-13 | 1218.5 | 9.4 | 2.4 | 563 | 560 | 656 | 486 | 474 | 31.2 | 549.5 | 489 | 43
2014-08-12 | 1218.5 | 9.2 | 2.2 | 563 | 560 | 182 | 481 | 144 | 33 | 549.5 | 459 | 43
2014-08-11 | 1218.8 | 9.3 | 2.5 | 565 | 560 | 270 | 489 | 149 | 33.2 | 549.8 | 459 | 43
2014-08-10 | 1219.1 | 9.5 | 2.7 | 546 | 550 | 220 | 496 | 168 | 32
2014-08-09 | 1219.4 | 9.6 | 2.9 | 548 | 550 | 250 | 509 |  | 30.9
2014-08-08 | 1219.6 | 9.6 | 2.9 | 550 | 550 | 298 | 535 | 223 | 33.2 | 550.5 | 259 | 43
2014-08-07 | 1219.9 | 9.7 | 3.1 | 551 | 550 | 403 | 567 |  | 31.6 | 550.6 | 335 | 43
2014-08-06 | 1220 | 9.6 | 3 | 539 | 540 | 482 | 578 | 401 | 34.6 | 550.8 | 499 | 43
2014-08-05 | 1220.1 | 9.6 | 3 | 549 | 540 | 598 | 579 | 535 | 31.7 | 550.9 | 704 | 43
2014-08-04 | 1220 | 9.4 | 2.8 | 541 | 540 | 1030 | 580 | 750 | 35.2 | 550.9 | 791 | 43
2014-08-03 | 1219.7 | 8.8 | 2.3 | 519 | 520 | 734 | 581 | 438 | 29
2014-08-02 | 1219.5 | 8.4 | 2 | 518 | 520 | 552 | 618 |  | 33.6
2014-08-01 | 1219.5 | 8.3 | 1.8 | 518 | 520 | 913 | 656 | 654 | 33.5 | 550.7 | 444 | 43
2014-07-31 | 1219.2 | 7.8 | 1.6 | 518 | 520 | 791 | 647 | 616 | 33.6 | 550.6 | 324 | 43
2014-07-30 | 1219 | 7.4 | 1.2 | 516 | 520 | 848 | 637 | 678 | 33.4 | 550.5 | 294 | 43
2014-07-29 | 1218.8 | 7 | 0.8 | 503 | 520 | 1453 | 629 | 1020 | 33.4
2014-07-28 | 1218 | 6.2 | 0 | 533 | 520 | 1180 | 602 | 720 | 33 | 549.9 | 191 | 43
2014-07-27 | 1217.5 | 5.4 | -0.8 | 525 | 530 | 355 | 599 | 252 | 32.6
2014-07-26 | 1217.7 | 5.4 | -0.7 | 523 | 530 | 206 | 646 | 148 | 35.6
2014-07-25 | 1218 | 5.5 | -0.6 | 525 | 530 | 295 | 751 | 177 | 34.4 | 549.9 | 191 | 43
2014-07-24 | 1218.2 | 5.6 | -0.5 | 527 | 530 | 244 | 792 | 213 | 36.6 | 549.9 | 191 | 43
2014-07-23 | 1218.5 | 5.7 | -0.4 | 566 | 570 | 304 | 801 | 144 | 37 | 549.9 | 191 | 40
2014-07-22 | 1218.7 | 5.7 | -0.3 | 567 | 570 | 188 | 804 | 139 | 35.1
2014-07-21 | 1219 | 5.8 | 0 | 571 | 570 | 216 | 814 | 148 | 34.6
2014-07-20 | 1219.4 | 6 | 0.2 | 804 | 680 | 203 | 829 | 160 | 32.5
2014-07-19 | 1219.9 | 6.4 | 0.5 | 808 | 680 | 232 | 850 | 176 | 34.7
2014-07-18 | 1220.4 | 6.7 | 0.8 | 811 | 680 | 321 | 887 | 200 | 36.5
2014-07-17 | 1220.8 | 6.9 | 1 | 911 | 680 | 293 | 945 | 230 | 33 | 550.3 | 256 | 0
2014-07-16 | 1221.3 | 7.2 | 1.4 | 1131 | 1010 | 381 | 965 | 274 | 36.4 | 550.4 | 316 | 0
2014-07-15 | 1221.9 | 7.7 | 1.9 | 1136 | 1010 | 505 | 994 | 318 | 36.2 | 550.4 | 180 | 0
2014-07-14 | 1222.4 | 8 | 2.3 | 1044 | 1010 | 503 | 1070 | 356 | 33.7 | 550.5 | 191 | 0
NY Power Authority Comments: Jarvis underdischarged 931 cfsd over July 8-10, because of the storm on July 8. An additional 133 cfs will be added to the Operating Diagram release over July 14-21, to make up this water.
2014-07-13 | 1222.9 | 8.3 | 2.7 | 831 | 830 | 414 | 1194 | 297 | 37
2014-07-12 | 1223.2 | 8.4 | 3 | 831 | 830 | 477 | 1279 | 350 | 37
2014-07-11 | 1223.5 | 8.6 | 3.2 | 835 | 830 | 609 | 1290 | 469 | 32.1 | 550.5 | 246 | 0
2014-07-10 | 1223.7 | 8.6 | 3.2 | 775 | 830 | 1037 | 1287 | 707 | 35.8 | 550.6 | 308 | 0
2014-07-09 | 1223.5 | 8.2 | 2.9 | 451 | 1160 | 1260 | 1259 | 1020 | 32.5
2014-07-08 | 1222.9 | 7.4 | 2.1 | 993 | 1160 | 741 | 1230 | 350 |  | 550.5 | 216 | 0
NY Power Authority Comments: The severe storm this evening (July 8) tore down transmission lines and forced Jarvis powerhouse offline. The maximum diversion capability is 710 cfs through outlet #4, which is less than the Operating Diagram discharge.
2014-07-07 | 1223.2 | 7.6 | 2.2 | 1168 | 1160 | 490 | 1214 | 348 | 31.9 | 550.5 | 216 | 0
2014-07-06 | 1223.7 | 7.9 | 2.6 | 1162 | 1160 | 641 | 1210 | 442 | 31.3
2014-07-05 | 1224.1 | 8.1 | 2.9 | 1165 | 1160 | 1073 | 1204 | 668 | 30.9
2014-07-04 | 1224.2 | 8 | 2.9 | 1163 | 1160 | 1819 | 1185 | 1020 | 32
2014-07-03 | 1223.7 | 7.3 | 2.3 | 1159 | 1160 | 1712 | 1145 | 1150 | 31.9 | 550.6 | 376 | 0
2014-07-02 | 1223.4 | 6.8 | 1.8 | 1131 | 1090 | 635 | 1103 | 493 | 33.8 | 550.6 | 355 | 0
2014-07-01 | 1223.7 | 7 | 2 | 1090 | 1090 | 503 | 1097 | 391 | 34.5 | 550.6 | 347 | 0
2014-06-30 | 1224.2 | 7.3 | 2.3 | 1013 | 1090 | 587 | 1095 | 446 | 33
2014-06-29 | 1224.6 | 7.4 | 2.6 | 681 | 670 | 650 | 1091 | 580 | 33
2014-06-28 | 1224.6 | 7.4 | 2.4 | 680 | 670 | 1078 | 1089 | 872 | 31.7
2014-06-27 | 1224.3 | 6.9 | 2.1 | 678 | 670 | 1792 | 1077 | 1350 | 33.8
2014-06-26 | 1223.5 | 5.9 | 1.2 | 1058 | 670 | 3330 | 1044 | 2460 | 31.4 | 551.8 | 2210 | 0
2014-06-25 | 1221.8 | 4 | -0.6 | 1495 | 1500 | 1530 | 962 | 1320 | 33.3 | 550.7 | 459 | 0
2014-06-24 | 1221.8 | 3.9 | -0.7 | 1371 | 1500 | 519 | 957 | 301 | 33.7 | 550.5 | 216 | 0
NY Power Authority Comments: 2760 cfsh of water was under-diverted during 4 hours today, in order to safely repair the Jarvis bypass valve. Canal Corp and Brookfield Power agreed that this water can be made up on Thursday June 26.
2014-06-23 | 1222.5 | 4.4 | -0.2 | 1487 | 1500 | 398 | 1004 | 325 | 33.2 | 550.5 | 246 | 0
2014-06-22 | 1223.4 | 5 | 0.6 | 1478 | 1480 | 471 | 1049 | 402 | 33.8
2014-06-21 | 1224.1 | 5.6 | 1.4 | 1474 | 1480 | 685 | 1074 |  | 31.3
2014-06-20 | 1224.7 | 6.1 | 1.8 | 1574 | 1480 | 843 | 1078 | 759 | 34.8 | 550.8 | 607 | 0
2014-06-19 | 1225.3 | 6.5 | 2.3 | 1799 | 1480 | 1330 | 1086 | 1220 | 32.9
2014-06-18 | 1225.7 | 6.7 | 2.5 | 1056 | 520 | 2062 | 1078 | 1790 | 31.5 | 551.2 | 1070 | 0
2014-06-17 | 1225 | 5.8 | 1.7 | 1144 | 520 | 879 | 1068 | 705 | 33.5
2014-06-16 | 1225.2 | 5.8 | 1.9 | 730 | 520 | 1260 | 1151 | 1040 | 31.4
NY Power Authority Comments: Additional water was being released (June 16-18) so the reservoir water level would fall below spillway crest, so that the bypass valve could be repaired under safe water conditions below the Hinckley dam.
2014-06-15 | 1224.8 | 5.3 | 1.5 | 541 | 530 | 2801 | 1301 | 1700 | 29.5
NY Power Authority Comments: On June 15, the reservoir elevation rose above the elevation trigger. The low elevation trigger is DE-ACTIVATED. Normal monitoring of Hinckley reservoir has resumed.
2014-06-14 | 1223.2 | 3.5 | -0.1 | 616 | 530 | 4194 | 1270 | 3230 | 30.1
2014-06-13 | 1220 | 0.2 | -3.4 | 530 | 530 | 2988 | 1151 |  | 29.6 | 550.4 | 308 | 0
2014-06-12 | 1218.1 | -2 | -5.4 | 532 | 530 | 801 | 1077 | 483 | 30.3 | 549.9 | 196 | 0
2014-06-11 | 1217.9 | -2.3 | -5.7 | 941 | 550 | 506 | 1077 | 223 | 34.3 | 549.9 | 196 | 0
2014-06-10 | 1218.3 | -2.1 | -5.4 | 1214 | 550 | 209 | 1094 | 174 | 30.8 | 549.9 | 196 | 0
NY Power Authority Comments: As directed by the Canal Corporation, Jarvis went to its maximum discharge capability (1600 cfs) from 0843 June 10 until 0900 June 11, to aid navigation.
2014-06-09 | 1219.1 | -1.5 | -4.7 | 553 | 550 | 378 | 1131 | 192 | 33.4 | 550 | 196 | 0
2014-06-08 | 1219.3 | -1.5 | -4.5 | 557 | 560 | 265 | 1159 | 210 | 30.4
2014-06-07 | 1219.5 | -1.4 | -4.4 | 560 | 560 | 384 | 1187 | 237 | 34.3
2014-06-06 | 1219.7 | -1.4 | -4.3 | 564 | 560 | 447 | 1212 | 270 | 30.4 | 550.1 | 199 | 0
2014-06-05 | 1219.8 | -1.5 | -4.3 | 567 | 560 | 511 | 1242 | 322
2014-06-04 | 1219.9 | -1.6 | -4.3 | 792 | 790 | 614 | 1288 | 388 |  | 550.1 | 204 | 0
2014-06-03 | 1220.1 | -1.5 | -4.2 | 791 | 790 | 459 | 1346 | 305 | 31.2 | 550 | 196 | 0
2014-06-02 | 1220.4 | -1.4 | -3.8 | 1044 | 790 | 463 | 1395 | 319 | 34.9 | 550.1 | 196 | 0
2014-06-01 | 1220.9 | -1.1 | -3.3 | 1404 | 1400 | 442 | 1449 | 367 | 30.5
2014-05-31 | 1221.6 | -0.4 | -2.6 | 1402 | 1400 | 454 | 1533 |  | 30.4
NY Power Authority Comments: As of May 31, the Hinckley reservoir elevation trigger became ACTIVATED. Routine Communication Protocols were utilized.
2014-05-30 | 1222.4 | 0.4 | -1.8 | 1404 | 1400 | 604 | 1638 | 497 | 30.6
2014-05-29 | 1223 | 1 | -1.2 | 1397 | 1400 | 718 | 1698 | 599 | 31.7 | 550.2 | 216 | 0
2014-05-28 | 1223.6 | 1.6 | -0.7 | 1400 | 1400 | 780 | 1716 | 692 | 30.1 | 550.3 | 253 | 0
2014-05-27 | 1224.1 | 2.1 | -0.2 | 1461 | 1400 | 868 | 1734 | 779 |  | 550.3 | 269 | 0
2014-05-26 | 1224.5 | 2.5 | 0.2 | 1544 | 1400 | 1377 | 1759 | 1040 | 30.1
NY Power Authority Comments: The actual discharge was higher than the Operating Diagram discharge, because the outlet#4 valve adjustment was delayed from Mon May 26 (Memorial Day) to the next normal working day Tues May 27.
2014-05-25 | 1224.7 | 2.7 | 0.3 | 1544 | 1540 | 1939 | 1763 | 1320 | 29.6
2014-05-24 | 1224.4 | 2.4 | 0 | 1438 | 1540 | 1766 | 1737 | 1310 | 30.3
NY Power Authority Comments: The Jarvis turbine tripped offline for 2 hrs 49 minutes. This resulted in the actual discharge for the day being 102 cfsd below the Operating Diagram discharge.
2014-05-23 | 1224.2 | 2.2 | -0.2 | 1534 | 1540 | 1204 | 1736 | 838 | 30.2
2014-05-22 | 1224.4 | 2.4 | 0 | 1310 | 1540 | 812 | 1776 | 639 | 30.7 | 550.1 | 204 | 0
2014-05-21 | 1224.8 | 2.8 | 0.3 | 1228 | 860 | 1093 | 1811 | 775 | 32.9
NY Power Authority Comments: The buoy safety line was installed and the Jarvis discharge reverted to the Operating Diagram discharge of 860 cfs at 11am.
2014-05-20 | [6 empty] | 1825 | 1010 | 29.1 | 550 | 199 | 0
2014-05-19 | 1225.3 | 3.3 | 0.8 | 2094 | 860 | 1757 | 1815 | 1400 | 33.6
NY Power Authority Comments: NYPA requested and Canal Corp agreed to extending the maximum Jarvis discharge (1620 cfs), so that the water level would drop below spillway crest and installation of the buoy safety line could commence before Memorial day weekend.
2014-05-18 | 1225.6 | 3.6 | 1.1 | 2005 | 1070 | 3306 | 1812 | 2300 | 29
2014-05-17 | 1224.7 | 2.7 | 0.2 | 1649 | 1070 | 5617 | 1776 |  | 29.2
2014-05-16 | 1221.7 | -0.3 | -2.8 | 1623 | 1070 | 1875 | 1708 | 1160 | 31.7
2014-05-15 | 1221.5 | -0.5 | -3.1 | 1617 | 1070 | 767 | 1923 | 538 | 31.8 | 550.4 | 844 | 0
2014-05-14 | 1222.2 | 0.2 | -2.4 | 1359 | 1400 | 819 | 2328 | 610 | 32.3 | 550.7 | 412 | 0
NY Power Authority Comments: As directed by the Canal Corporation, Jarvis went to its maximum discharge capability (1620 cfs) in anticipation of the heavy rainfall on May 16.
2014-05-13 | 1222.6 | 0.6 | -1.9 | 1507 | 1400 | 800 | 2555 | 661 | 32.1 | 550.7 | 421 | 0
NY Power Authority Comments: Additional water was discharged (107 cfsd) on May 13 to balance a reduction of flow on May 14. The reduction on May 14 allowed for the safe repair to the Jarvis bypass valve.
2014-05-12 | 1223.2 | 1.2 | -1.2 | 1493 | 1400 | 1007 | 2710 | 794 | 32 | 550.8 | 494 | 0
2014-05-11 | 1223.6 | 1.6 | -0.8 | 1620 | 1640 | 1293 | 2839 | 963 | 29
2014-05-10 | 1223.9 | 1.9 | -0.4 | 1623 | 1640 | 1196 | 2940 | 908 | 32.6
2014-05-09 | 1224.2 | 2.2 | 0 | 1625 | 1640 | 1063 | 3006 | 774 | 31.3 | 550.6 | 308 | 0
2014-05-08 | 1224.6 | 2.6 | 0.4 | 1614 | 1640 | 1114 | 3101 | 928 | 31.5
2014-05-07 | 1225 | 3 | 0.7 | 1740 | 1800 | 1304 | 3148 | 1150 | 31.4 | 550.7 | 449 | 0
2014-05-06 | 1225.4 | 3.4 | 1 | 2045 | 1800 | 1842 | 3165 | 1520 | 32.3 | 550.8 | 593 | 0
2014-05-05 | 1225.6 | 3.6 | 1.2 | 2107 | 1800 | 2307 | 3175 | 2020 | 31.8
2014-05-04 | 1225.4 | 3.4 | 1 | 2025 | 1400 | 1889 | 3172 | 1570 | 31.8
2014-05-03 | 1225.6 | 3.6 | 1.2 | 2433 | 1400 | 2026 | 3161 |  | 30.3
2014-05-02 | 1225.9 | 3.9 | 1.6 | 2882 | 1400 | 2880 | 3145 | 2300 | 30.6 | 551 | 932 | 0
2014-05-01 | 1225.9 | 3.9 | 1.8 | 2220 | 1400 | 3495 | 3103 | 2960 | 32.4 | 551 | 938 | 0
2014-04-30 | 1225 |  | 1.1 | 1617 | 1600 | 2343 | 3006 | 1780 | 31.6
NY Power Authority Comments: As directed by the Canal Corporation, Jarvis will continue to release its current maximum discharge capability (1600 cfs) in anticipation of the heavy rainfall over the next several days.
2014-04-29 | 1224.5 |  | 0.7 | 1578 | 1600 | 1241 | 2981 | 984 | 30.9
2014-04-28 | 1224.7 |  | 1.1 | 1574 | 1600 | 1301 | 2976 | 1110 | 33
2014-04-27 | 1225 |  | 1.6 | 1543 | 1540 | 1603 | 2948 | 1300 | 29.8
2014-04-26 | 1224.9 |  | 1.7 | 1544 | 1540 | 1471 | 2907 | 1250
2014-04-25 | 1225 |  | 2.2 | 1618 | 1540 | 1208 | 2867 | 1160 | 33.1
2014-04-24 | 1225.3 |  | 2.9 | 1905 | 1540 | 1730 | 2836 | 1520 | 32.2
2014-04-23 | 1225.5 |  | 3.7 | 1925 | 1800 | 2354 | 2789 | 2050 | 32.9
2014-04-22 | 1225.2 |  | 4.2 | 1650 | 1800 | 1844 | 2721 | 1650 | 34
2014-04-21 | 1225.1 |  | 4.8 | 1625 | 1800 | 1485 | 2670 | 1310 | 35
2014-04-20 | 1225.2 |  | 5.4 | 1782 | 1800 | 1542 | 2631 | 1280 | 32.4
2014-04-19 | 1225.4 |  | 6.2 | 2169 | 1800 | 1658 | 2591 |  | 32.7
2014-04-18 | 1225.8 |  | 7 | 3079 | 1800 | 2224 | 2547 | 1700 | 31.6
2014-04-17 | 1226.4 |  | 8.2 | 5138 | 1800 | 3581 | 2484 | 2720
NY Power Authority Comments: The Jarvis plant discharge capability is about 1620 cfs, because of out-of-service equipment. Beginning today, the Jarvis plant equipment is unable to release the full 1800 cfs Operating Diagram release.
2014-04-16 | 1227.5 |  | 10.2 | 10335 | 1400 | 8323 | 2375 | 6340 | 32.6
2014-04-15 | 1228.9 |  | 12.5 | 8133 | 1400 | 12901 | 2108 | 12300 | 34
2014-04-14 | 1225.6 |  | 10 | 1561 | 1400 | 7635 | 1690 | 6460 | 33.3
NY Power Authority Comments: The Canal Corporation, Brookfield Power and NYPA agreed today to release more than the Operating Diagram discharge, to help reduce the flood peak.
2014-04-13 | 1221 |  | 6.1 | 1411 | 1400 | 5442 | 1448 | 4320 | 33.9
2014-04-12 | 1217.8 |  | 3.6 | 1430 | 1400 | 4885 | 1279 | 3390 | 34.8
2014-04-11 | 1214.8 |  | 1.3 | 1344 | 1400 | 4337 | 1128 | 3130 | 34.8
2014-04-10 | 1212.1 |  | -0.7 | 1438 | 1400 | 3172 | 997 | 2100 | 38.2
2014-04-09 | 1210.5 |  | -1.8 | 1202 | 890 | 3901 | 903 | 2580 | 40
NY Power Authority Comments: Additional water was discharged (99 cfsd) above the Operating Diagram scheduled release on April 9, to balance the under discharge (56 cfsd) on April 11 to help with repairs to the Jarvis bypass valve. Another under discharge planned for April 15 was cancelled due to water flowing over the spillway creating unsafe working conditions.
2014-04-08 | 1207.8 |  | -3.9 | 893 | 890 | 2527 | 783 | 1870 | 38.5
2014-04-07 | 1206 |  | -4.9 | 822 | 890 | 1803 | 711 | 1100 | 38.2
2014-04-06 | 1204.9 |  | -5.2 | 617 | 600 | 2162 | 663 | 1300 | 38.1
2014-04-05 | 1203.2 |  | -6 | 608 | 600 | 2223 | 603 | 1430 | 34.9
2014-04-04 | 1201.3 |  | -6.9 | 580 | 600 | 1562 | 537 |  | 35.3
2014-04-03 | 1200.1 |  | -7 | 608 | 600 | 1538 | 494 | 976 | 34.5
2014-04-02 | 1198.9 |  | -7.3 | 310 | 295 | 1615 | 454 | 973
2014-04-01 | 1197.2 |  | -8.1 | 323 | 295 | 577 | 413 | 1070 | 34.8
2014-03-31 | 1195.2 |  | -9.2 | 310 | 295 | 1588 | 406 | 1070 | 33.5
2014-03-30 | 1193.2 |  | -10.3 | 300 | 300 | 1098 | 367 | 667
2014-03-29 | 1191.9 |  | -10.8 | 295 | 300 | 478 | 343 | 297 | 34.2
2014-03-28 | 1191.6 |  | -10.2 | 295 | 300 | 346 | 342 | 192 | 34
2014-03-27 | 1191.6 |  | -9.4 | 295 | 300 | 273 | 348 | 285 | 35.9
2014-03-26 | 1191.6 |  | -9 | 295 | 300 | 289 | 363 | 222 | 34.9
2014-03-25 | 1191.7 |  | -8.5 | 295 | 300 | 318 | 387 | 275 | 34.4
2014-03-24 | 1191.7 |  | -8.3 | 295 | 300 | 304 | 419 | 272 | 34.4
2014-03-23 | 1191.7 |  | -8.2 | 295 | 300 | 318 | 439 | 212 | 34.7
2014-03-22 | 1191.7 |  | -8 | 295 | 300 | 332 | 444 | 227 | 34.1
2014-03-21 | 1191.7 |  | -7.9 | 295 | 300 | 347 | 440 | 215 | 36.6
2014-03-20 | 1191.6 |  | -7.8 | 303 | 300 | 340 | 434 | 205 | 34.8
2014-03-19 | 1191.6 |  | -7.9 | 314 | 315 | 323 | 429 | 209 | 38.9
2014-03-18 | 1191.6 |  | -7.6 | 314 | 315 | 308 | 424 | 298 | 36.4
2014-03-17 | 1191.7 |  | -7.4 | 330 | 315 | 324 | 420 | 324 | 34.3
2014-03-16 | 1191.7 |  | -7.4 | 353 | 360 | 359 | 416 | 241 | 36.2
2014-03-15 | 1191.8 |  | -7.2 | 353 | 360 | 362 | 410 | 226 | 34.3
2014-03-14 | 1191.8 |  | -7 | 353 | 360 | 376 | 405 | 329 | 35
2014-03-13 | 1191.8 |  | -6.9 | 393 | 360 | 343 | 399 | 258 | 37
2014-03-12 | 1191.9 |  | -6.7 | 450 | 450 | 429 | 396 | 230 | 36.1
2014-03-11 | 1192 |  | -6.7 | 451 | 450 | 343 | 390 | 208 | 36.7
2014-03-10 | 1192.2 |  | -6.5 | 479 | 450 | 297 | 384 | 212
2014-03-09 | 1192.6 |  | -6.2 | 515 | 560 | 384 | 380 | 229 | 0.3
2014-03-08 | 1192.8 |  | -5.8 | 518 | 560 | 361 | 379 | 234 | 0.3
2014-03-07 | 1193.1 |  | -5.6 | 521 | 560 | 356 | 373 | 309 | 0.3
2014-03-06 | 1193.4 |  | -5.1 | 580 | 560 | 246 | 372 | 335 | 0.3
2014-03-05 | 1193.9 |  | -4.6 | 718 | 720 | 262 | 372 | 283 | 21
NY Power Authority Comments: The March 5 - 10 MVWA withdrawals will be updated soon with estimated values, based on the measured flow rate into the water treatment plant, adding the typical difference in the two meter readings.
2014-03-04 | 1194.6 |  | -4.2 | 710 | 720 | 343 | 373 | 339 | 37
2014-03-03 | 1195.2 |  | -3.9 | 729 | 720 | 388 | 370 | 343 | 36.8
2014-03-02 | 1195.8 |  | -3.6 | 744 | 740 | 361 | 365 | 302 | 40.3
2014-03-01 | 1196.4 |  | -3.2 | 743 | 740 | 408 | 362 | 418 | 38.2
2014-02-28 | 1196.9 |  | -2.9 | 745 | 740 | 399 | 356 | 459 | 36.5
2014-02-27 | 1197.4 |  | -2.5 | 743 | 740 | 448 | 349 | 512 | 37.3
2014-02-26 | 1197.8 |  | -2.3 | 699 | 690 | 526 | 345 | 420 | 36.2
2014-02-25 | 1198.1 |  | -2.3 | 693 | 690 | 699 | 338 | 540 | 36.5
2014-02-24 | 1198.1 |  | -2.5 | 705 | 690 | 1015 | 324 | 713 | 36.8
2014-02-23 | 1197.7 |  | -3 | 772 | 770 | 1272 | 300 | 988 | 36.5
NY Power Authority Comments: On February 23, the 30-day inflow rose to the 300 cfs low inflow trigger. The low inflow trigger is DE-ACTIVATED. Normal monitoring of Hinckley reservoir has resumed.
2014-02-22 | 1197.1 |  | -3.7 | 781 | 770 | 910 | 271 | 886 | 37
2014-02-21 | 1196.9 |  | -4.2 | 778 | 770 | 469 | 249 | 306 | 36.7
2014-02-20 | 1197.4 |  | -4.1 | 770 | 770 | 223 | 248 | 217 | 37.2
2014-02-19 | 1198.2 |  | -3.6 | 846 | 850 | 174 | 258 | 225 | 36.9
2014-02-18 | 1199.1 |  | -2.9 | 898 | 850 | 168 | 276 | 281 | 36.5
2014-02-17 | 1200.1 |  | -2 | 919 | 850 | 188 | 298 | 324 | 37.2
NY Power Authority Comments: As of February 17, the Hinckley reservoir 30 day inflow trigger became ACTIVATED. Routine Communication Protocols were utilized.
2014-02-16 | 1201 |  | -1.4 | 935 | 890 | 192 | 326 | 240 | 37.4
2014-02-15 | 1202 |  | -0.7 | 910 | 890 | 181 | 368 | 235 | 38.2
2014-02-14 | 1202.9 |  | -0.2 | 898 | 890 | 201 | 437 | 236 | 39.1
2014-02-13 | 1203.7 |  | 0.2 | 915 | 890 | 199 | 551 | 336 | 38.6
2014-02-12 | 1204.5 |  | 0.7 | 926 | 930 | 210 | 652 | 367 | 37.1
2014-02-11 | 1205.4 |  | 1.2 | 936 | 930 | 245 | 749 | 287 | 39.2
2014-02-10 | 1206.2 |  | 1.6 | 956 | 930 | 239 | 900 | 263 | 37
2014-02-09 | 1206.9 |  | 1.9 | 980 | 970 | 167 | 919 | 296 | 39.5
2014-02-08 | 1207.8 |  | 2.4 | 973 | 970 | 166 | 931 | 379 | 36.4
2014-02-07 | 1208.7 |  | 2.9 | 960 | 970 | 355 | 948 | 335 | 37.7
2014-02-06 | 1209.3 |  | 3.2 | 988 | 970 | 201 | 966 | 318 | 38.5
2014-02-05 | 1210.1 |  | 3.6 | 1019 | 1020 | 318 | 994 | 272 | 36.7
2014-02-04 | 1210.8 |  | 4.1 | 1014 | 1020 | 249 | 1004 | 280
2014-02-03 | 1211.6 |  | 4.7 | 1044 | 1020 | 303 | 1009 | 290 | 40.3
2014-02-02 | 1212.3 |  | 5.2 | 1077 | 1070 | 234 | 1008 | 297 | 38.4
2014-02-01 | 1213.1 |  | 5.7 | 1077 | 1070 | 244 | 1011 |  | 36.7
2014-01-31 | 1213.9 |  | 6.3 | 1083 | 1070 | 265 | 1015 | 307 | 22.7
2014-01-30 | 1214.7 |  | 6.8 | 1213 | 1070 | 241 | 1016 | 399 | 0
2014-01-29 | 1215.5 |  | 7.4 | 1409 | 1400 | 191 | 1024 | 425 | 5.1
2014-01-28 | 1216.6 |  | 8.3 | 1407 | 1400 | 308 | 1034 | 354 | 33.7
2014-01-27 | 1217.6 |  | 9.2 | 1410 | 1400 | 319 | 1047 | 367 | 31
2014-01-26 | 1218.5 |  | 10 | 1401 | 1400 | 289 | 1043 | 390 | 24
2014-01-25 | 1219.4 |  | 10.8 | 1407 | 1400 | 306 | 1043 |  | 7.1
2014-01-24 | 1220.3 |  | 11.6 | 1404 | 1400 | 378 | 1051 | 404 | 14.2
2014-01-23 | 1221.2 |  | 12.6 | 1404 | 1400 | 267 | 1066 | 412 | 32
2014-01-22 | 1222.1 |  | 13.5 | 1403 | 1400 | 439 | 1159 | 371 | 39.3
2014-01-21 | 1222.8 |  | 13.9 | 1392 | 1400 | 512 | 1344 | 441 | 37.3
2014-01-20 | 1223.5 |  | 14.4 | 1258 | 1400 | 727 | 1527 | 596 | 35.1
2014-01-19 | 1223.9 |  | 14.6 | 1061 | 1060 | 823 | 1545 | 695 | 34.5
2014-01-18 | 1224.1 |  | 14.7 | 1061 | 1060 | 1018 | 1531 |  | 37.2
2014-01-17 | 1224.2 |  | 14.5 | 1070 | 1060 | 1453 | 1507 | 1090 | 34.5
2014-01-16 | 1223.9 |  | 14 | 1024 | 1060 | 2246 | 1468 | 1560 | 35.1
2014-01-15 | 1223 |  | 12.9 | 959 | 940 | 3633 | 1401 | 2570 | 35.8
2014-01-14 | 1220.9 |  | 10.5 | 946 | 940 | 3223 | 1293 | 2450 | 32.5
2014-01-13 | 1219.1 |  | 8.4 | 957 | 940 | 3129 | 1198 | 2240 | 35.9
2014-01-12 | 1217.3 |  | 6.4 | 947 | 940 | 4775 | 1108 | 3840 | 35.2
2014-01-11 | 1214 |  | 2.8 | 936 | 940 | 797 | 963 | 1110 | 34.5
2014-01-10 | 1214.2 |  | 2.7 | 944 | 940 | 539 | 952 | 620 | 33
2014-01-09 | 1214.5 |  | 2.8 | 964 | 940 | 685 | 954 | 766 | 37.3
2014-01-08 | 1214.8 |  | 2.9 | 989 | 980 | 880 | 954 | 938 | 35
2014-01-07 | 1214.9 |  | 2.9 | 983 | 980 | 1052 | 953 | 1040 | 36.9
2014-01-06 | 1214.8 |  | 2.6 | 1007 | 980 | 616 | 951 | 668 | 35.4
2014-01-05 | 1215.2 |  | 2.9 | 1055 | 1057 | 381 | 976 | 489 | 34.9
2014-01-04 | 1215.8 |  | 3.5 | 1064 | 1057 | 296 | 1005 | 428 | 35.1
2014-01-03 | 1216.5 |  | 4.2 | 1269 | 1057 | 317 | 1018 | 409 | 33.6
NY Power Authority Comments: The Canal Corporation instructed NYPA to return to the Operating Diagram discharge on January 3.
2014-01-02 | 1217.3 |  | 5 | 1401 | 1057 | 345 | 1031 | 417 | 33
2014-01-01 | 1218.2 |  | 5.9 | 1399 | 1200 | 318 | 1045 | 419 | 34

## Sheet2
Date | Hinckley Reservoir Elevation | Hinckley Reservoir Comparison to Normal Elevation2 | Hinckley Reservoir Discharge | 1920 Operating Diagram Release4 | Hinckley Reservoir Inflow | Hinckley Reservoir 30-Day Running Average Inflow5 | Wilmurt Streamgage Flow | Mohawk Valley Water Authority Withdrawal
| (ft) | (ft) | (cfs)3 | (cfs) | (cfs) | (cfs) | (cfs) | (cfs)
2014-02-15 | 1202 | -0.7 | 910 | 890 | 181 | 368 | 235 | 38.2
2014-02-16 | 1201 | -1.4 | 935 | 890 | 192 | 326 | 240 | 37.4
2014-02-17 | 1200.1 | -2 | 919 | 850 | 188 | 298 | 324 | 37.2
NY Power Authority Comments: As of February 17, the Hinckley reservoir 30 day inflow trigger became ACTIVATED. Routine Communication Protocols were utilized.
2014-02-18 | 1199.1 | -2.9 | 898 | 850 | 168 | 276 | 281 | 36.5
2014-02-19 | 1198.2 | -3.6 | 846 | 850 | 174 | 258 | 225 | 36.9
2014-02-20 | 1197.4 | -4.1 | 770 | 770 | 223 | 248 | 217 | 37.2
2014-02-21 | 1196.9 | -4.2 | 778 | 770 | 469 | 249 | 306 | 36.7
2014-02-22 | 1197.1 | -3.7 | 781 | 770 | 910 | 271 | 886 | 37
2014-02-23 | 1197.7 | -3 | 772 | 770 | 1272 | 300 | 988 | 36.5
NY Power Authority Comments: On February 23, the 30-day inflow rose to the 300 cfs low inflow trigger. The low inflow trigger is DE-ACTIVATED. Normal monitoring of Hinckley reservoir has resumed.
2014-02-24 | 1198.1 | -2.5 | 705 | 690 | 1015 | 324 | 713 | 36.8
2014-02-25 | 1198.1 | -2.3 | 693 | 690 | 699 | 338 | 540 | 36.5
2014-02-26 | 1197.8 | -2.3 | 699 | 690 | 526 | 345 | 420 | 36.2
2014-02-27 | 1197.4 | -2.5 | 743 | 740 | 448 | 349 | 512 | 37.3
2014-02-28 | 1196.9 | -2.9 | 745 | 740 | 399 | 356 | 459 | 36.5
2014-03-01 | 1196.4 | -3.2 | 743 | 740 | 408 | 362 | 418 | 38.2
2014-03-02 | 1195.8 | -3.6 | 744 | 740 | 361 | 365 | 302 | 40.3
2014-03-03 | 1195.2 | -3.9 | 729 | 720 | 388 | 370 | 343 | 36.8
2014-03-04 | 1194.6 | -4.2 | 710 | 720 | 343 | 373 | 339 | 37
2014-03-05 | 1193.9 | -4.6 | 718 | 720 | 262 | 372 | 283 | 21
2014-03-06 | 1193.4 | -5.1 | 580 | 560 | 246 | 372 | 335 | 0.3
2014-03-07 | 1193.1 | -5.6 | 521 | 560 | 356 | 373 | 309 | 0.3
2014-03-08 | 1192.8 | -5.8 | 518 | 560 | 361 | 379 | 234 | 0.3
2014-03-09 | 1192.6 | -6.2 | 515 | 560 | 384 | 380 | 229 | 0.3
2014-03-10 | 1192.2 | -6.5 | 479 | 450 | 297 | 384 | 212
2014-03-11 | 1192 | -6.7 | 451 | 450 | 343 | 390 | 208 | 36.7
2014-03-12 | 1191.9 | -6.7 | 450 | 450 | 429 | 396 | 230 | 36.1
2014-03-13 | 1191.8 | -6.9 | 393 | 360 | 343 | 399 | 258 | 37
2014-03-14 | 1191.8 | -7 | 353 | 360 | 376 | 405 | 329 | 35
2014-03-15 | 1191.8 | -7.2 | 353 | 360 | 362 | 410 | 226 | 34.3
2014-03-16 | 1191.7 | -7.4 | 353 | 360 | 359 | 416 | 241 | 36.2
2014-03-17 | 1191.7 | -7.4 | 330 | 315 | 324 | 420 | 324 | 34.3
2014-03-18 | 1191.6 | -7.6 | 314 | 315 | 308 | 424 | 298 | 36.4
2014-03-19 | 1191.6 | -7.9 | 314 | 315 | 323 | 429 | 209 | 38.9
2014-03-20 | 1191.6 | -7.8 | 303 | 300 | 340 | 434 | 205 | 34.8
2014-03-21 | 1191.7 | -7.9 | 295 | 300 | 347 | 440 | 215 | 36.6
2014-03-22 | 1191.7 | -8 | 295 | 300 | 332 | 444 | 227 | 34.1
2014-03-23 | 1191.7 | -8.2 | 295 | 300 | 318 | 439 | 212 | 34.7
2014-03-24 | 1191.7 | -8.3 | 295 | 300 | 304 | 419 | 272 | 34.4
2014-03-25 | 1191.7 | -8.5 | 295 | 300 | 318 | 387 | 275 | 34.4
2014-03-26 | 1191.6 | -9 | 295 | 300 | 289 | 363 | 222 | 34.9
2014-03-27 | 1191.6 | -9.4 | 295 | 300 | 273 | 348 | 285 | 35.9
2014-03-28 | 1191.6 | -10.2 | 295 | 300 | 346 | 342 | 192 | 34
2014-03-29 | 1191.9 | -10.8 | 295 | 300 | 478 | 343 | 297 | 34.2
2014-03-30 | 1193.2 | -10.3 | 300 | 300 | 1098 | 367 | 667
2014-03-31 | 1195.2 | -9.2 | 310 | 295 | 1588 | 406 | 1070 | 33.5
2014-04-01 | 1197.2 | -8.1 | 323 | 295 | 577 | 413 | 1070 | 34.8
2014-04-02 | 1198.9 | -7.3 | 310 | 295 | 1615 | 454 | 973
2014-04-03 | 1200.1 | -7 | 608 | 600 | 1538 | 494 | 976 | 34.5