## SCA Trade Code Crosswalk
OLD CODE | OLD TITLE | Column1 | UPDATED CODE | UPDATED TITLE (3/25/25)
0 | DIVISION 1 General Requirements |  | 01 00 00 | Division 1 General Requirements
99999 | GENERAL CONTRACTOR |  | A99910 | GENERAL CONTRACTOR - (GROUND UP)
99945 | GENL CONTR - EXTERIOR MODIFICATIONS |  | B99920 | GENL CONTR - EXTERIOR MODIFICATIONS
99960 | GENL CONTR - INTERIOR MODIFICATIONS |  | C99930 | GENL CONTR - INTERIOR MODIFICATIONS
99915 | GENL CONTR - HISTORICAL RESTORATION |  | F99950 | GENL CONTR - HISTORICAL RESTORATION
|  |  | G99990 | GENL CONTR - OTHER SITE CONSTRUCTION
1400 | QUALITY REQUIREMENTS |  | 01 40 00 | Quality Requirements
|  |  | 01 50 00 | Temporary Facilities and Controls
|  |  | 01 51 00 | Temporary Utilities
|  |  | 01 52 00 | Construction Facilities
|  |  | 01 53 00 | Temporary Construction
|  |  | 01 54 00 | Construction Aids
|  |  | 01 54 13 | Temporary Elevators
|  |  | 01 54 16 | Temporary Hoists
|  |  | 01 54 19 | Temporary Cranes
14800 | SCAFFOLDING (Rigger license required or Pipe Only) |  | 01 54 23 | Temporary Scaffolding and Platforms
|  |  | 01 56 00 | Temporary Barriers and Enclosures
|  |  | 01 57 00 | Temporary Controls
|  |  | 01 58 00 | Project Identification
14900 | TRANSPORTATION |  | 01 65 00 | Product Delivery Requirements
|  |  | 01 70 00 | Execution and Closeout Requirements
|  |  | 01 80 00 | Performance Requirements
|  |  | 01 91 00 | Commissioning
|  |  | 01 92 00 | Facility Operation
|  |  | 01 93 00 | Facility Maintenance
|  |  | 01 94 00 | Facility Decommissioning
2000 | DIVISION 2 SITEWORK |  | 02 00 00 | Division 2 Existing Conditions
|  |  | 02 20 00 | Assessment
|  |  | 02 21 00 | Surveys
1450 | QUAL. CNTRL/FLD SMPl/TEST & INSP SRVC |  | 02 25 00 | Existing Material Assessment
2210 | SUBSURFACE INVESTIGATION |  | 02 30 00 | Geophysical Investigations
|  |  | 02 40 00 | Demolition and Structure Moving
2220 | DEMOLITION |  | 02 41 00 | Demolition
|  |  | 02 41 13 | Selective Site Demolition
|  |  | 02 41 16 | Structure Demolition
2221 | SELECTIVE DEMOLITION |  | 02 41 19 | Selective Demolition
|  |  | 02 42 00 | Removal and Diversion of Construction Materials
|  |  | 02 50 00 | Site Remediation
13295 | HAZMAT REMED-BIOHAZARD REMEDIATION |  | 02 54 00 | Biological Decontamination
2195 | REMEDIATION SOIL STABILIZATION |  | 02 55 00 | Remediation Soil Stabilization
|  |  | 02 56 00 | Site Containment
2110 | REMOVAL OF TOXIC/HAZ SITE MTRLS |  | 02 60 00 | Contaminated Site Material Removal
2115 | UNDERGROUND STORAGE TANK RMVL |  | 02 65 00 | Underground Storage Tank Removal
|  |  | 02 70 00 | Water Remediation
|  |  | 02 80 00 | Facility Remediation
2120 | OFF-SITE TRANSPORT & DISPOSAL |  | 02 81 00 | Transportation and Disposal of Hazardous Materials
13285 | HAZMAT REMED - ASBESTOS ABTMNT & REM |  | 02 82 00 | Asbestos Remediation
13280 | HAZMAT REMED - LEAD PAINT REMOVAL |  | 02 83 00 | Lead Remediation
13290 | HAZMAT REMED - MICROBIAL REMED |  | 02 87 00 | Biohazard Remediation
3000 | DIVISION 3 CONCRETE |  | 03 00 00 | Division 3 Concrete
3900 | CONCRETE RESTORATION/CLEANING |  | 03 01 00 | Maintenance of Concrete
3100 | CONCRETE FORMWORK |  | 03 10 00 | Concrete Forming and Accessories
3200 | CONCRETE REINFORCEMENT |  | 03 20 00 | Concrete Reinforcing
3300 | CAST-IN PLACE CONCRETE |  | 03 30 00 | Cast-in-Place Concrete
3390 | CONCRETE CURING |  | 03 39 00 | Concrete Curing
3400 | PRECAST CONCRETE |  | 03 40 00 | Precast Concrete
3500 | CEMENTITIOUS (Self -Leveling Flooring) |  | 03 50 00 | Cast Decks and Underlayment
3600 | GROUT |  | 03 60 00 | Grouting
3700 | MASS CONCRETE |  | 03 70 00 | Mass Concrete
|  |  | 03 80 00 | Concrete Cutting and Boring
4000 | DIVISION 4 MASONRY |  | 04 00 00 | Division 4 Masonry
4900 | MASONRY RESTORATION/CLEANING |  | 04 01 00 | Maintenance of Masonry
|  |  | 04 03 00 | Conservation Treatment for Period Masonry
4060 | MORTAR |  | 04 20 00 | Unit Masonry
4200 | UNIT MASONRY (incls Masonry Restoration/Cleaning) |  | 04 20 00 | Unit Masonry
|  |  | 04 23 00 | Glass Unit Masonry
4400 | STONE |  | 04 40 00 | Stone Assemblies
|  |  | 04 70 00 | Manufactured Masonry
5000 | DIVISION 5 METALS |  | 05 00 00 | Division 5 Metals
5060 | METAL MATERIALS |  | 05 01 00 | Maintenance of Metals
5080 | METAL FINISHES |  | 05 05 13 | Shop-Applied Coatings for Metal
5090 | METAL FASTENING |  | 05 05 23 | Metal Fastenings
5100 | STRUCTURAL METAL FRAME |  | 05 10 00 | Structural Metal Framing
5120 | STRUCTURAL STEEL - (Welder license required) |  | 05 12 00 | Structural Steel Framing
5200 | METAL JOISTS |  | 05 20 00 | Metal Joists
5300 | METAL DECKING |  | 05 30 00 | Metal Decking
5400 | COLD-FORMED METAL FRAMING |  | 05 40 00 | Cold-Formed Metal Framing
9100 | METAL SUPPORT AND FRAMES |  | 05 45 00 | Metal Support Assemblies
5500 | METAL FABRICATIONS |  | 05 50 00 | Metal Fabrications
|  |  | 05 51 00 | Metal Stairs
5580 | SHEET METAL FABRICATION |  | 05 58 00 | Formed Metal Fabrications
5700 | ORNAMENTAL METAL |  | 05 70 00 | Decorative Metal
6000 | DIVISION 6 WOOD AND PLASTICS |  | 06 00 00 | Division 6 Wood, Plastics, and Composites
6050 | FASTENERS AND ADHESIVES |  | 06 01 00 | Maintenance of Wood, Plastics, and Composites
6070 | WOOD TREATMENT |  | 06 05 73 | Wood Treatment
6100 | ROUGH CARPENTRY |  | 06 10 00 | Rough Carpentry
6130 | HEAVY TIMBER CONSTRUCTION |  | 06 13 00 | Heavy Timber Construction
6170 | PREFABRICATED WOOD/METAL JOISTS |  | 06 17 00 | Shop-Fabricated Structural Wood
6200 | FINISH CARPENTRY |  | 06 20 00 | Finish Carpentry
6400 | ARCHITECTURAL WOODWORK |  | 06 40 00 | Architectural Woodwork
6500 | PREFAB STRUCTURAL PLASTIC |  | 06 50 00 | Structural Plastics
6600 | PLASTIC FABRICATIONS |  | 06 60 00 | Plastic Fabrications
7000 | DIVISION 7 THERMAL/MOIST PROTECT |  | 07 00 00 | Division 7 Thermal and Moisture Protection
7100 | WATERPROOFING |  | 07 10 00 | Dampproofing and Waterproofing
7110 | DAMPROOFING |  | 07 10 00 | Dampproofing and Waterproofing
|  |  | 07 13 00 | Sheet Waterproofing
7200 | THERMAL INSULN - VAPOR/AIR RETARDERS |  | 07 20 00 | Thermal Protection
7300 | SHINGLES AND ROOFING TILES |  | 07 30 00 | Steep Slope Roofing
7400 | PREFORMED ROOFING & CLADDING/SIDING |  | 07 40 00 | Roofing and Siding Panels
7410 | METAL ROOFS AND WALL PANELS |  | 07 41 00 | Roof Panels
7500 | MEMBRANE ROOFING (incls Flashing & Sheet Metal/Waterproofing) |  | 07 50 00 | Membrane Roofing
7600 | FLASHING AND SHEET METAL |  | 07 60 00 | Flashing and Sheet Metal
7700 | ROOF SPECIALTIES/ACCESSORIES |  | 07 70 00 | Roof and Wall Specialties and Accessories
7810 | SPRAY-ON FIREPROOFING |  | 07 80 00 | Fire and Smoke Protection
7840 | FIRESTOPPING |  | 07 84 00 | Firestopping
7900 | JOINT SEALERS |  | 07 92 00 | Joint Sealers
5800 | EXPANSION CONTROL |  | 07 95 00 | Expansion Control
8000 | DIVISION 8 DOORS AND WINDOWS |  | 08 00 00 | Division 8 Openings
|  |  | 08 01 00 | Operation and Maintenance of Openings
8100 | METAL DOORS AND FRAMES |  | 08 10 00 | Doors and Frames
8200 | WOOD AND PLASTIC DOORS |  | 08 14 00 | Wood Doors
8250 | DOOR OPENING ASSEMBLIES |  | 08 17 00 | Integrated Door Opening Assemblies
8300 | SPECIAL DOORS |  | 08 30 00 | Specialty Doors and Frames
|  |  | 08 35 00 | Folding Doors and Grilles
8400 | ENTRANCES AND STOREFRONTS |  | 08 40 00 | Entrances, Storefronts, and Curtain Walls
8900 | GLAZED CURTAIN WALLS |  | 08 44 13 | Glazed Aluminum Curtain Walls
|  |  | 08 50 00 | Windows
8500 | METAL WINDOWS |  | 08 51 00 | Metal Windows
8550 | WOOD AND PLASTIC WINDOWS |  | 08 52 00 | Wood Windows
8770 | INSTALLATION: WINDOW GUARDS |  | 08 56 00 | Special Function Windows
8600 | SKYLIGHTS |  | 08 60 00 | Roof Windows and Skylights
8700 | HARDWARE |  | 08 70 00 | Hardware
8580 | SPECIAL WINDOWS |  | 08 78 00 | Special Function Hardware
8800 | GLAZING |  | 08 80 00 | Glazing
10200 | LOUVERS AND VENTS |  | 08 90 00 | Louvers and Vents
9000 | DIVISION 9 FINISHES |  | 09 00 00 | Division 9 Finishes
9200 | LATH AND PLASTER |  | 09 20 00 | Plaster and Gypsum Board
9250 | GYPSUM BOARD |  | 09 29 00 | Gypsum Board
9300 | TILE |  | 09 30 00 | Tiling
|  |  | 09 50 00 | Ceilings
9510 | ACOUSTICAL TREATMENT |  | 09 51 00 | Acoustical Ceilings
9610 | FLOOR TREATMENT |  | 09 61 00 | Floor Treatment
9620 | SPECIAL FLOORING (gym floors) |  | 09 62 00 | Specialty Flooring
9630 | UNIT MASONRY FLOORING |  | 09 63 00 | Masonry Flooring
9600 | STONE FLOORING |  | 09 63 40 | Stone Flooring
9640 | WOOD FLOORING |  | 09 64 00 | Wood Flooring
9650 | RESILIENT FLOORING |  | 09 65 00 | Resilient Flooring
9400 | TERRAZZO |  | 09 66 00 | Terrazzo Flooring
9680 | CARPET |  | 09 68 00 | Carpeting
10270 | ACCESS FLOORING |  | 09 69 00 | Access Flooring
9700 | WALL COVERING |  | 09 70 00 | Wall Finishes
9770 | AGGREGATE COATINGS/WALL FINISH |  | 09 77 00 | Special Wall Surfacing
9900 | PAINTING |  | 09 90 00 | Painting and Coating
9800 | SPECIAL COATINGS |  | 09 97 00 | Special Coatings
9545 | SPECIAL SURFACES |  | 09 97 00 | Special Coatings
10000 | DIVISION 10 SPECIALTIES |  | 10 00 00 | Division 10 Specialties
10100 | CHALKBOARDS/TACKBOARDS |  | 10 11 00 | Visual Display Units
10400 | IDENTIFYING DEVICES |  | 10 14 00 | Signage
10750 | TELEPHONE SPECIALTIES |  | 10 17 00 | Telephone Specialties
10150 | COMPARTMENTS AND CUBICLES |  | 10 21 00 | Compartments and Cubicles
10600 | PARTITIONS |  | 10 22 00 | Partitions
10650 | OPERABLE PARTITIONS |  | 10 22 23 | Portable Partitions, Screens, and Panels
10250 | SERVICE WALL SYSTEMS |  | 10 25 00 | Service Walls
10260 | WALL AND COVER GUARDS |  | 10 26 00 | Wall and Door Protection
10800 | TOILET/BATH ACCESSORIES |  | 10 28 00 | Toilet, Bath, and Laundry Accessories
10300 | FIREPLACES AND STOVES |  | 10 30 00 | Fireplaces and Stoves
10520 | FIRE PROTECTION SPECIALTIES |  | 10 44 00 | Fire Protection Specialties
10500 | LOCKERS |  | 10 51 00 | Lockers
10550 | POSTAL SPECIALTIES |  | 10 55 00 | Postal Specialties
10670 | STORAGE SHELVING |  | 10 56 00 | Storage Assemblies
10900 | WARDROBE/CLOSET SPECIALTY |  | 10 57 00 | Wardrobe and Closet Specialties
10700 | EXTERIOR SUN CONTROL DEVICES |  | 10 71 13 | Exterior Sun Control Devices
10530 | PROTECTIVE COVERS |  | 10 73 00 | Protective Covers
10340 | PREFAB EXTERIOR SPECIALTY |  | 10 74 00 | Manufactures Exterior Specialties
10350 | FLAGPOLES |  | 10 75 00 | Flagpoles
10290 | PEST CONTROL |  | 10 81 00 | Pest Control Devices
10240 | GRILLES AND SCREENS |  | 10 82 00 | Grilles and Screens
10880 | SCALES |  | 10 88 00 | Scales
11000 | DIVISION 11 EQUIPMENT |  | 11 00 00 | Division 11 Equipment
11010 | MAINTENANCE EQUIPMENT |  | 11 01 00 | Operation and Maintenance of Equipment
11140 | VEHICLE SERVICE EQUIPMENT |  | 11 11 00 | Vehicle Service Equipment
11150 | PARKING CONTROL EQUIPMENT |  | 11 12 00 | Parking Control Equipment
11160 | LOADING DOCK EQUIPMENT |  | 11 13 00 | Loading Dock Equipment
10450 | PEDESTRIAN CONTROL DEVICES |  | 11 14 00 | Pedestrian Control Equipment
11020 | SECURITY/VAULT EQUIPMENT |  | 11 15 00 | Security Control Equipment
11460 | UNIT KITCHENS |  | 11 32 00 | Unit Kitchens
11400 | FOOD SERVICE EQUIPMENT |  | 11 40 00 | Foodservice Equipment
11130 | AUDIO-VISUAL EQUIPMENT |  | 11 52 00 | Audio-Visual Equipment
11600 | LABORATORY EQUIPMENT |  | 11 53 00 | Laboratory Equipment
11060 | THEATER/STAGE EQUIPMENT |  | 11 61 00 | Broadcast, Theater, and Stage Equipment
11480 | ATHLT/RECREAT/THERAP EQUIPMENT |  | 11 66 00 | Athletic Equipment
11700 | MEDICAL EQUIPMENT |  | 11 70 00 | Healthcare Equipment
11170 | SOLID WASTE HANDLING EQUIP |  | 11 82 00 | Facility Solid Waste Handling Equipment
12000 | DIVISION 12 FURNISHINGS |  | 12 00 00 | Division 12 Furnishings
12100 | ARTWORK |  | 12 10 00 | Art
12490 | WINDOW TREATMENT |  | 12 20 00 | Window Treatments
12300 | MANUFACTURED CASEWORK |  | 12 30 00 | Casework
12400 | FURNITURE AND ACCESSORIES |  | 12 40 00 | Furnishings and Accessories
12600 | MULTIPLE SEATING |  | 12 60 00 | Multiple Seating
12800 | INTERIOR PLANTS AND PLANTERS |  | 12 92 00 | Interior Planters and Artificial Plants
13000 | DIVISION 13 SPECIAL CONSTRUCTION |  | 13 00 00 | Division 13 Special Construction
13150 | POOLS |  | 13 11 00 | Swimming pools
13160 | AQUARIUMS |  | 13 13 00 | Aquariums
13185 | KENNELS/ANIMAL SHELTER |  | 13 19 00 | Kennels and Animal Shelters
13030 | SPECIAL PURPOSE ROOMS |  | 13 20 00 | Special Purpose Rooms
13010 | AIR SUPPORTED STRUCTURES |  | 13 31 13 | Air-Supported Fabric Structures
13120 | PRE-ENGRD STRUCT/SPCLTY MODULES |  | 13 34 00 | Fabricated Engineered Structures
13100 | LIGHTNING PROTECTION |  | 13 46 00 | Lightning Protection Systems
13080 | SOUND/VIBRATION/SEISMIC CONTROL |  | 13 48 00 | Sound, Vibration, and Seismic Control
13660 | WIND ENERGY SYSTEMS |  | 13 50 00 | Special Instrumentation
14000 | DIVISION 14 CONVEYING SYSTEMS |  | 14 00 00 | Division 14 Conveying Equipment
14100 | DUMBWAITER |  | 14 10 00 | Dumbwaiters
14200 | ELEVATORS |  | 14 20 00 | Elevators
14300 | MOVING STAIRS AND WALKS |  | 14 30 00 | Escalators and Moving Walks
14400 | LIFTS |  | 14 40 00 | Lifts
14440 | SIDEWALK LIFTS |  | 14 44 00 | Sidewalk Lifts
14500 | MATERIAL HANDLING SYSTEM |  | 14 46 00 | Material Lifts
|  |  | 21 00 00 | Division 21 Fire Suppression
15300 | DIVISION 15 FIRE PROTECTION |  | 21 10 01 | Water-Based Fire-Suppression Systems
|  |  | 21 20 00 | Fire-Extinguishing Systems
|  |  | 22 00 00 | Division 22 Plumbing
15400 | DIVISION 15 PLUMBING |  | 22 00 01 | Plumbing
15856 | Pool Dehumidification Unit |  | 22 51 00 | Swimming Pool Plumbing Systems
15000 | DIVISION 15 MECHANICAL |  | 23 00 00 | Division 23 Heating, Ventilating, and Air Conditioning (HVAC)
15700 | HEATING, VENTIL & AIR CONDITION |  | 23 00 01 | Heating, Ventilating, and Air Conditioning (HVAC)
15810 | DUCT CLEANING |  | 23 01 30 | Operation and Maintenance of HVAC Air Distribution
15950 | TESTING/ADJUSTING/BALANCE |  | 23 05 93 | Testing, Adjusting, and Balancing for HVAC
15080 | MECHANICAL INSULATION |  | 23 07 00 | HVAC Insulation
15900 | CONTROLS |  | 23 09 00 | Instrumentation and Control for HVAC
13200 | LIQUID/GAS STORAGE TANKS |  | 23 10 00 | Facility Fuel Systems
15190 | FUEL PIPING |  | 23 10 00 | Facility Fuel Systems
15180 | HEATING & COOLING PIPING (STEAMFITTING) |  | 23 20 00 | HVAC Piping and Pumps
|  |  | 23 25 00 | HVAC Water Treatment
15800 | AIR DISTRIBUTION/DUCTWORK |  | 23 30 00 | HVAC Air Distribution
15850 | AIR HANDLING |  | 23 31 00 | HVAC Ducts and Casings
15500 | HEAT GENERATION |  | 23 50 00 | Central Heating Equipment
|  |  | 23 56 00 | Solar Energy Heating Equipment
15600 | REFRIGERATION |  | 23 60 00 | Central Cooling Equipment
|  |  | 23 70 00 | Central HVAC Equipment
15780 | HEAT TRANSFER/ENERGY RECOVERY |  | 23 72 00 | Air-to-Air Energy Recovery Equipment
|  |  | 25 00 00 | Division 25 Integrated Automation
13800 | BUILDING AUTOMATION SYS & CNTRLS |  | 25 00 01 | Integrated Automation
15935 | BACnet Building Controls |  | 25 50 00 | Integrated Automation Facility Controls
|  |  | 26 00 00 | Division 26 Electrical
16000 | DIVISION 16 - ELECTRICAL |  | 26 01 00 | Electrical
16050 | BASIC ELECTRICAL MATERIALS/METHODS |  | 26 05 00 | Common Work Results for Electrical
16710 | COMMUNICATION CIRCUITS |  | 26 05 00 | Common Work Results for Electrical
16100 | WIRING METHODS |  | 26 05 00 | Common Work Results for Electrical
16300 | HIGH VOLTAGE DISTRIBUTION - 600V+ |  | 26 10 00 | Medium-Voltage Electrical Distribution
16400 | SERVICE/DISTRIBUTION - 600V & LESS |  | 26 20 00 | Low-Voltage Electrical Distribution
16200 | POWER GENERATION |  | 26 30 00 | Facility Electrical Power Generating and Storing Equipment
13600 | SOLAR ENERGY SYSTEMS |  | 26 31 00 | Photovoltaic Collectors
16500 | LIGHTING |  | 26 50 00 | Lighting
16550 | SPECIAL SYSTEMS |  | 26 55 00 | Special Purpose Lighting
|  |  | 27 00 00 | Division 27 Communications
16700 | COMMUNICATIONS |  | 27 00 01 | Communications
16800 | SOUND AND VIDEO (TV STUDIOS) |  | 27 40 00 | Audio-Video Communications
|  |  | 28 00 00 | Division 28 Electronic Safety and Security
16810 | DIVISION 16 SURVEILLANCE CAMERAS/CAT 5/CAT 6 |  | 28 00 01 | Electronic Safety and Security
13700 | SECURITY ACCESS AND SURVEILLANCE |  | 28 15 00 | Integrated Access Control Hardware Devices
|  |  | 28 20 00 | Electronic Surveillance
|  |  | 28 30 00 | Security Detection, Alarm, and Monitoring
|  |  | 28 40 00 | Electronic Monitoring and Control
|  |  | 28 42 00 | Gas Detection and Alarm
|  |  | 28 43 00 | Fuel Oil Detection and Alarm
|  |  | 28 44 00 | Refrigerant Detection and Alarm
13850 | DETECTION & ALARM |  | 28 46 00 | Fire Detection and Alarm
|  |  | 31 00 00 | Division 31 Earthwork
2200 | SITE PREPARATION |  | 31 10 00 | Site Clearing
2300 | EARTHWORK (incls excavation) |  | 31 20 00 | Earth Moving
|  |  | 31 21 00 | Off-Gassing Mitigation
2240 | DEWATERING |  | 31 23 19 | Dewatering
2250 | SHORING AND UNDERPINNING |  | 31 40 00 | Shoring and Underpinning
2260 | EXCAVATION SUPPORT SYS/COFFERDAMS |  | 31 50 00 | Excavation Support and Protection
2170 | COFFERDAMS |  | 31 52 00 | Cofferdams
2450 | PILES AND CAISSONS |  | 31 62 00 | Driven Piles
|  |  | 31 63 00 | Bored Piles
2400 | TUNNELING |  | 31 70 00 | Tunneling and Mining
|  |  | 32 00 00 | Division 32 Exterior Improvements
2700 | PAVING AND SURFACING (incls painting of lines) |  | 32 10 00 | Bases, Ballasts, and Paving
2780 | UNIT PAVERS |  | 32 14 00 | Unit Paving
2882 | SPORTS FIELDS, PLAY FIELDS |  | 32 18 00 | Athletic and Recreational Surfacing
2800 | SITE IMPROVEMENTS |  | 32 30 00 | Site Improvements
2820 | FENCES AND GATES |  | 32 31 00 | Fences and Gates
2830 | RETAINING WALLS |  | 32 32 00 | Retaining Walls
|  |  | 32 33 00 | Site Furnishings
2810 | IRRIGATION SYSTEM |  | 32 80 00 | Irrigation
2900 | LANDSCAPING |  | 32 90 00 | Planting
|  |  | 33 00 00 | Division 33 Utilities
11200 | WATER SUPPLY/TREATMENT |  | 33 01 10 | Operation and Maintenance of Water Utilities
2500 | PIPED UTILITY MATERIALS |  | 33 05 00 | Common Work Results for Utilities
2510 | WATER DISTRIBUTION |  | 33 10 00 | Water Utilities
2600 | SEWERAGE AND DRAINAGE |  | 33 30 00 | Sanitary Sewerage
2620 | RESTORATION OF UNDRGRD PIPELINES |  | 33 40 00 | Stormwater Utilities
2550 | FUEL DISTRIBUTION |  | 33 50 00 | Hydrocarbon Utilities
|  |  | 35 00 00 | Division 35 Waterway and Marine Construction
2390 | MARINE WORK |  | 35 20 00 | Coastal Construction

## SCA Trade Code Matrix
UPDATED CODE | UPDATED TITLE | UPDATED EXPLANATION
01 00 00 | General Requirements
A99910 | GENERAL CONTRACTOR - (GROUND UP)
B99920 | GENL CONTR - EXTERIOR MODIFICATIONS
C99930 | GENL CONTR - INTERIOR MODIFICATIONS | Interior construction, stairs, interior finishes
F99950 | GENL CONTR - HISTORICAL RESTORATION | Special construction, selective building demolition
G99990 | GENL CONTR - OTHER SITE CONSTRUCTION | Services and tunnels, other site systems & equipment
01 40 00 | Quality Requirements | Includes: 01 41 00 Regulatory Requirements 01 42 00 References 01 43 00 Quality Assurance 01 45 00 Quality Control
01 50 00 | Temporary Facilities and Controls | Includes: requirements for installation, maintenance, and removal of temporary utilities, controls, facilities, and construction aids during construction.
01 51 00 | Temporary Utilities | Includes: procedures and requirements for utilities used on site during construction. 01 51 13 Temporary Electricity 01 51 16 Temporary Fire Protection 01 51 19 Temporary Fuel Oil 01 51 23 Temporary Heating, Cooling, and Ventilating 01 51 26 Temporary Lighting 01 51 29 Temporary Natural-Gas 01 51 33 Temporary Telecommunications 01 51 36 Temporary Water
01 52 00 | Construction Facilities | Includes: procedures and requirements for facilities used on site during construction. 01 52 13 Field Offices and Sheds 01 52 16 First Aid Facilities 01 52 19 Sanitary Facilities
01 53 00 | Temporary Construction | Includes: procedures and requirements for temporary access facilities required to accommodate construction or the owner’s operations that are removed, reconstructed, or decommissioned upon completion of the construction. 01 53 13 Temporary Bridges 01 53 16 Temporary Decking 01 53 19 Temporary Overpasses 01 53 23 Temporary Ramps 01 53 26 Temporary Runarounds
01 54 00 | Construction Aids | Includes: procedures and requirements related to tools and equipment used during construction. May Include: requirements for sharing construction aids for construction delivered under multiple contracts. Does Not Include: safety related procedures or contractor’s means and methods.
01 54 13 | Temporary Elevators | Temporary Elevators
01 54 16 | Temporary Hoists | Temporary Hoists
01 54 19 | Temporary Cranes | Temporary Cranes
01 54 23 | Temporary Scaffolding and Platforms | Temporary Scaffolding and Platforms
01 56 00 | Temporary Barriers and Enclosures | Includes: procedures and requirements for facilities for protection of public, occupants, and spaces during construction. Does Not Include: safety and health related procedures for contractor employees and subcontractors. Alternate Terms/Abbreviations: temporary fencing: hoarding 01 56 13 Temporary Air Barriers 01 56 16 Temporary Dust Barriers 01 56 19 Temporary Noise Barriers 01 56 21 Temporary Lightning Protection 01 56 23 Temporary Barricades 01 56 26 Temporary Fencing 01 56 29 Temporary Protective Walkways 01 56 33 Temporary Security Barriers 01 56 36 Temporary Security Enclosures 01 56 39 Temporary Tree and Plant Protection
01 57 00 | Temporary Controls | Includes: procedures and requirements for environmental controls during construction. See: 31 10 00 for permanent site clearing. 31 20 00 for permanent earth moving. 31 25 00 for permanent erosion and sedimentation controls. Includes: 01 57 13 Temporary Erosion and Sediment Control 01 57 16 Temporary Pest Control 01 57 19 Temporary Environmental Controls 01 57 23 Temporary Storm Water Pollution Control 01 57 26 Site Watering for Dust Control 01 57 33 Temporary Security
01 58 00 | Project Identification | Includes: signage used during construction to identify the project and the project team. Does Not Include: permanent facility signage Includes: 01 58 13 Temporary Project Signage 01 58 16 Temporary Interior Signage
01 65 00 | Product Delivery Requirements | Includes: requirements for packing, shipping, delivery, and acceptance of products, in general. See: 01 64 00 for acceptance of owner-supplied products.
01 70 00 | Execution and Closeout Requirements | Examination and preparation, execution, cleaning and waste management, starting and adjusting, protecting installed construction, closeout procedures, closeout submittals, demonstration and training
01 80 00 | Performance Requirements | Facility performance requirements, sustainable design requirements
01 91 00 | Commissioning | Includes: administrative and procedural requirements for commissioning facilities and facility systems. 01 91 13 General Commissioning Requirements 01 91 16 Facility Substructure Commissionin 01 91 16.13 Foundation Commissionin 01 91 16.53 Basement Construction Commissionin 01 91 19 Facility Shell Commissioning 01 91 19.13 Superstructure Commissionin 01 91 19.43 Exterior Enclosure Commissionin 01 91 19.73 Roofing Commissioning 01 91 23 Interiors Commissioning 01 91 23.13 Interior Construction Commissionin 01 91 23.43 Stairways Commissionin 01 91 23.73 Interior Finishes Commissionin 01 91 26 Integrated System Commissioning
01 92 00 | Facility Operation | Includes: administrative and procedural requirements for operating facility, after commissioning. 01 92 13 Facility Operation Procedures
01 93 00 | Facility Maintenance | Includes: administrative and procedural requirements for maintaining facility, after commissioning. 01 93 13 Facility Maintenance Procedures 01 93 16 Recycling Programs
01 94 00 | Facility Decommissioning | Includes: administrative and procedural requirements for deactivating a facility or portion of it from operation. See: 02 40 00 for demolition and structure moving. 02 50 00 for site remediation. 02 60 00 for contaminated site material removal. 02 70 00 for water remediation. 02 80 00 for facility remediation. Includes: 01 94 13 Facility Decommissioning Procedures
02 00 00 | Existing Conditions
02 20 00 | Assessment | Includes: assessments of existing conditions conducted by the contractor before construction begins as a project activity.
02 21 00 | Surveys | Includes: surveys conducted before construction begins, site surveys, measured drawings, utilities surveys
02 25 00 | Existing Material Assessment | Includes: assessments of existing materials conducted by the contractor before construction begins as a project activity. See: 03 82 00 for concrete boring. 07 10 00 for dampproofing and waterproofing. 07 30 00 for steep slope roofing. 07 50 00 for membrane roofing.
02 30 00 | Geophysical Investigations | Includes: subsurface investigations and monitoring conducted by the contractor before construction begins as a project activity. Notes: Other building elements may be used in lightning protection systems in lieu of air terminals. See Also: 13 46 13 for Facility Lightning Protection
02 40 00 | Demolition and Structure Moving | Includes: removal and disposal of structures. moving or raising structures. see also: 33 05 61 for concrete manholes 33 05 63 for concrete vaults and chambers 33 05 66 for concrete distribution chambers 33 05 69 for concrete trenchways 33 05 71 for cleanouts 33 05 73 for polyethylene manholes 33 05 76 for fiberglass manholes
02 41 00 | Demolition | Includes: partial or complete removal and disposal of structures, at grade, above grade, and below grade. Hydrodemolition and implosion. May Include: capping and removal of existing utilities. See: 02 42 00 for Removal and Diversion of Construction Materials. 02 60 00 for contaminated site material removal. 31 10 00 for site clearing. 31 23 16 for excavation.
02 41 13 | Selective Site Demolition | Includes: Selective Site Demolition, Paving Removal, Utility Line Removal
02 41 16 | Structure Demolition | Includes: Building Demolition, Tower Demolition, Bridge Demolition, Dam Demolition
02 41 19 | Selective Demolition | Includes: selective building demolition, selective interior demolition, selective facility services demolition
02 42 00 | Removal and Diversion of Construction Materials | Includes: salvage (removal, repair, storage) of existing materials and equipment, and its disposal by removal from site. storage, reinstallation, or delivery to owner. cleaning and other preparatory work on salvaged materials. See: 02 41 00 for demolition and removal.
02 50 00 | Site Remediation | Includes: remediation technologies for contaminated sites. See: 02 60 00 for contaminated site material removal. 02 70 00 for water remediation. 02 80 00 for remediation of materials within structures. 31 21 00 for off-gassing mitigation
02 54 00 | Biological Decontamination | Includes: soil decontamination by biological treatment processes. See: 02 51 00 for physical decontamination. 02 52 00 for chemical decontamination. 02 53 00 for thermal decontamination. 02 55 00 for remediation soil stabilization. 02 61 00 for removal and disposal of contaminated soils. 02 72 16 for biological water decontamination
02 55 00 | Remediation Soil Stabilization | Includes: insitu and exsitu soil stabilization for remediation. See: 31 32 00 for soil stabilization.
02 56 00 | Site Containment | Includes: containment of contaminiated site materials See: 31 21 00 for off-gassing mitigation
02 60 00 | Contaminated Site Material Removal | Includes: removal and disposal of contaminated site materials. See: 02 24 23 for chemical sampling and analysis of soils. 02 50 00 for site remediation. 02 70 00 for water remediation. 02 80 00 for remediation of materials within structures. 44 50 00 for solid waste control and reuse.
02 65 00 | Underground Storage Tank Removal | Includes: removal of underground tanks and appurtenances which have been used to store toxic and hazardous materials. 02 86 00 for hazardous waste drum handling. 31 23 16 for excavation
02 70 00 | Water Remediation | Includes: remediation of contaminated water. 02 50 00 for site remediation. 02 60 00 for contaminated site material removal. 02 80 00 for remediation of materials within structures. 44 40 00 for water pollution control equipment
02 80 00 | Facility Remediation | Includes: remediation technologies for abatement and removal and disposal of contaminated materials within structures. Alternate Terms/Abbreviations: hazardous materials: poisonous materials. See: 00 31 00 for existing hazardous materials information. 02 26 00 for hazardous materials assessment. 02 50 00 for remediation of site materials. 02 60 00 for contaminated site material removal. 02 70 00 for water remediation
02 81 00 | Transportation and Disposal of Hazardous Materials | Includes: requirements for transporting and disposal of hazardous materials within structures. 01 35 43 for environmental procedures for hazardous materials. 02 61 00 for removal and disposal of contaminated site materials. 44 50 00 for solid waste control and reuse
02 82 00 | Asbestos Remediation | Includes: abatement or removal of asbestos material within structures. See: 00 31 26.23 for existing asbestos information provided to bidders or proposers before construction begins. 02 26 23 for asbestos assessments performed under the contract. 02 61 26 for removal and disposal of asbestos site materials
02 83 00 | Lead Remediation | Includes: abatement or removal of lead material within structures. See: 00 31 26.26 for existing lead information provided to bidders or proposers before construction begins. 02 26 26 for lead assessments performed under the contract
02 87 00 | Biohazard Remediation
03 00 00 | Concrete
03 01 00 | Maintenance of Concrete | Includes: maintenance, repair, rehabilitation, replacement, restoration, preservation, etc. of concrete. Includes graffiti removal. Includes epoxy-injected crack repair. Level 4 Numbering Recommendation: Level 4 titles for concrete are provided as examples for user’s creation of more detailed titles for other subjects as required. Following Level 4 numbering is recommended: .51-.59 for maintenance..61-.69 for repair..71-.79 for rehabilitation. .81-.89 for replacement..91-.99 for restoration. See: 02 25 16 for existing concrete assessment. 03 30 00 for cleaning new cast-in-place concrete. 03 40 00 for cleaning new precast concrete. 09 96 23 for graffitiresistant coatings. 32 01 26 for rigid pavement surface treatment. 32 01 29 for rigid pavement rehabilitation.
03 10 00 | Concrete Forming and Accessories | Includes: permanent and temporary forms for structural and architectural cast-in-place concrete. metal pan forms, wood forms, plastic forms, slip forms, and corrugated paper forms for placing concrete. form liners, void forms May Include: manufactured joints, anchors, inserts, and waterstops. 03 40 00 for precast concrete formwork. 03 51 00 for cast roof deck form boards. 05 30 00 for metal deck forms. 07 95 13 for expansion joint cover assemblies. See Also: 03 15 13 for manufactured joints, anchors, inserts, and waterstops. 03 30 00 for cast-in-place concrete forming. Products: form coatings, form ties
03 20 00 | Concrete Reinforcing | Includes: reinforcement of all types to increase the structural capabilities of concrete. See: 03 38 00 for post-tensioned concrete. 04 05 19 for masonry reinforcing. 03 30 00 for cast-in-place concrete reinforcement. 03 40 00 for precast concrete reinforcement
03 30 00 | Cast-in-Place Concrete | Includes: aggregate, cement, additives, and pigmented mix. May Include: concrete forming, accessories, and reinforcing. granular subbase and vapor retarders for concrete slabs-on-grade. CIP concrete tunnel lining. CIP concrete shaft lining. CIP concrete retaining walls.
03 39 00 | Concrete Curing | Includes: any method of curing concrete.
03 40 00 | Precast Concrete | Includes: concrete cast in forms, either on or off site, before final placement. forming, reinforcing, inserts, and accessories. May Include: precast concrete tunnel lining. precast concrete shaft lining. precast concrete retaining walls. 31 35 23.16 for slope protection with precast concrete slope paving. 31 62 13 for precast concrete driven piles. See Also: 31 74 16 for precast concrete tunnel lining. 31 75 16 for precast concrete shaft lining. 32 32 16 for precast concrete retaining walls
03 50 00 | Cast Decks and Underlayment | Includes: poured and prefabricated cast floor and roof decks and fill. includes form boards, reinforcement, and support members when part of a system. 03 34 00 for low density concrete. 03 41 00 for precast concrete decks. 07 22 13 for asphaltic perlite concrete deck.
03 60 00 | Grouting | Includes: shrink-resistant, mortar and fluid-like materials used for filling joints and cavities and setting and anchoring items in masonry and concrete. May Include: grouting of items included elsewhere, such as structural metal, metal fabrications, decorative metals, and equipment. 04 05 16 for masonry grouting. 09 30 00 for tile joint grouting. 09 63 00 for masonry flooring joint grouting. 31 73 00 for tunnel grouting. 32 14 00 for unit paving joint grouting. 05 10 00 for grouting to set structural metal framing. 05 20 00 for grouting to set metal joists. 05 50 00 for grouting to set metal fabrications. 05 70 00 for grouting to set decorative metals. Individual equipment titles for grouting to set equipment
03 70 00 | Mass Concrete | Includes: large volume placement of cast-in-place concrete with dimensions large enough to require special construction techniques and procedures to compensate for the generation of heat, volume change, and to minimize cracks. Alternate Terms/Abbreviations: raft foundations: mat foundations. 35 71 13 for concrete gravity dams. 35 72 13 for concrete arch dams. 35 74 13 for concrete buttress dams.
03 80 00 | Concrete Cutting and Boring | Includes: cutting or sawing through concrete. 03 82 00 for concrete boring creating circular hole through concrete with an auger or drill. 02 25 16 for assessment drilling of existing concrete
04 00 00 | Masonry
04 01 00 | Maintenance of Masonry | Includes: maintenance, repair, rehabilitation, replacement, restoration, preservation, etc. of masonry. Level 4 Numbering Recommendation: Level 4 titles for masonry are provided as examples for user’s creation of more detailed titles for other subjects as required. following Level 4 numbering is recommended: .51-.59 for maintenance..61-.69 for repair..71-.79 for rehabilitation. .81-.89 for replacement..91-.99 for restoration. See: 02 25 19 for existing masonry assessment. 04 20 00 for cleaning new unit masonry. 04 40 00 for cleaning new stone assemblies. 04 50 00 for cleaning new refractory masonry. 04 60 00 for cleaning new corrosion-resistant masonry. 04 70 00 for cleaning new manufactured masonry
04 03 00 | Conservation Treatment for Period Masonry | Includes: testing and sampling, dismantling, repairing, replacing, repointing. May Include: limestone, granite, sandstone.
04 20 00 | Unit Masonry | Includes: masonry unit construction, load-bearing and non-load-bearing, grouted and non-grouted, reinforced and non-reinforced. May Include: masonry mortaring, masonry grouting, masonry anchorage and reinforcing, and masonry accessories. unit masonry retaining walls. See: 04 05 13 for masonry mortaring. 04 05 16 for masonry grouting. 04 05 19 for masonry anchorage and reinforcing. 04 05 23 for masonry accessories. 32 32 19 for unit masonry retaining walls
04 23 00 | Glass Unit Masonry | Includes: glass masonry unit construction. 08 60 00 for skylights. 09 76 00 for plastic blocks. 08 55 13 for Tornado-Resistant Windows. 08 55 23 for Blast-Resistant Windows
04 40 00 | Stone Assemblies | Includes: natural and cut stone assembly construction. May Include: masonry mortaring, masonry grouting, masonry anchorage and reinforcing, and masonry accessories.
04 70 00 | Manufactured Masonry | Includes: hydraulically compressed veneer masonry units and artificial stone products. various types of manufactured masonry. Alternate Terms/Abbreviations: manufactured masonry: simulated masonry. manufactured stone: artificial stone, simulated stone. 03 49 00 for glass-fiber-reinforced concrete. 04 24 16 for manufactured adobe unit masonry. 06 61 13 for plastic simulated stone fabrications. 06 82 00 for glassfiber-reinforced plastic fabrications.
05 00 00 | Metals
05 01 00 | Maintenance of Metals | Includes: maintenance, repair, rehabilitation, replacement, restoration, preservation, etc. of metals. Level 4 Numbering Recommendation: one Level 4 title for metals is provided as an example for user’s creation of more detailed titles for other subjects as required. following Level 4 numbering is recommended: .51-.59 for maintenance..61-.69 for repair..71-.79 for rehabilitation. .81-.89 for replacement..91-.99 for restoration. See: 02 25 23 for existing metals assessment
05 05 13 | Shop-Applied Coatings for Metal | Includes: coatings applied in the shop or factory. anodic coatings, fluoropolymer coatings, galvanic coatings, metallic coatings, paint coatings, porcelain enamel coating, and powdered coatings. metalizing. See: 06 05 83 for shop-applied wood coatings. 09 90 00 for field-applied coatings. 41 34 13 for anodizing equipment. 41 34 23 for coating equipment. 41 34 36 for electroplating equipment.
05 05 23 | Metal Fastenings | Includes: methods for fastening metals together and for joining metals to other metals, including bolting, brazing, chemical bonding, riveting, soldering, mechanical fasteners, and welding. See: 06 05 23 for wood, plastic, and composite fastenings. 41 36 19 for joining equipment. Products: anchor rods, anchor bolts, carriage bolts.
05 10 00 | Structural Metal Framing | Includes: structural metal elements. Permanent bracing and bridge members. Metal columns, beams, girders, joists, purlins, studs, trusses, and other metal framing. Usually Includes: related fastenings and shop-applied coatings. See: 07 95 53 for joint slide bearings. 13 32 00 for space frames. 13 33 00 for geodesic structures. 05 05 13 for shop-applied coatings for metal. 05 05 23 for metal fastenings
05 12 00 | Structural Steel Framing | Includes: structural metal framing fabricated from structural steel. See: 05 16 33 for bridge cabling. 05 40 00 for cold-formed metal framing. 07 95 63 for bridge expansion joint cover assemblies. 09 21 00 for non-structural framing in plaster and gypsum board assemblies. 09 22 16 for non-structural framing. 09 22 26 for suspension systems. 09 53 00 for acoustical ceiling suspension assemblies. 13 34 00 for fabricated engineered structures. 32 34 00 for fabricated bridges. 34 81 00 for bridge machinery. 34 82 00 for bridge specialties.
05 20 00 | Metal Joists | Includes: metal joists, bridging, anchors, and accessories. Usually Includes: related fastenings and shop-applied coatings. Alternate Terms/Abbreviations: metal joists: bar joists. See: 05 05 13 for shop-applied coatings for metal. 05 05 23 for metal fastenings
05 30 00 | Metal Decking | Includes: metal floor and roof deck of fluted, ribbed, and cellular configurations; composite decks; anchors, closures, and related accessories. metal decking used as form for concrete or lightweight insulating concrete fill. Usually Includes: related fastenings and shop-applied coatings. See: 07 40 00 for roofing and siding panels. 03 11 00 for concrete forming. 03 52 00 for metal deck used to support lightweight concrete roof insulation. 05 05 13 for shop-applied coatings for metal. 05 05 23 for metal fastenings
05 40 00 | Cold-Formed Metal Framing | Includes: bracing, fasteners, and related accessories for light-gage, load-bearing metal elements. Usually includes: shop-applied coatings. May Include: framing for plaster and gypsum board systems. 05 10 00 for structural metal framing. 09 22 26 for suspension systems. 09 53 00 for acoustical ceiling suspension assemblies. 05 05 13 for shop-applied coatings for metal. 05 05 23 for metal fastenings. 09 21 00 for non-structural framing in plaster and gypsum board assemblies. 09 22 16 for non-structural metal framing.
05 45 00 | Metal Support Assemblies | Includes: cold-formed metal support framing for electrical, communications, mechanical, health care, and other items. See: 21 05 29 for hangers and supports for fire suppression piping and equipment. 22 05 29 for hangers and supports for plumbing piping and equipment. 23 05 29 for hangers and supports for HVAC piping and equipment. 25 05 28.29 for hangers and supports for integrated automation. 26 05 29 for hangers and supports for electrical systems. 27 05 28 for hangers and supports for communications systems. 27 05 28 for pathways for communications systems
05 50 00 | Metal Fabrications | Includes: metal items fabricated from standard metal shapes and plates that are not classified in other locations. Usually Includes: related fastenings and shopapplied coatings. See: 05 70 00 for decorative metals. 07 60 00 for flashing and sheet metal. 10 26 13 for manufactured corner guards. 11 98 12 for detention doors and frames 12 48 13.13 for entrance floor mats frames. 32 31 00 for fences and gates. 05 05 13 for shop-applied coatings for metal. 05 05 23 for metal fastenings
05 51 00 | Metal Stairs | Includes: fabricated stairs, catwalks, ladders, and fire escapes of various types of a utilitarian nature. Alternate Terms/Abbreviations: inclined ladders: ships ladders. See: 03 11 23 for permanent stair forming. 03 41 23 for precast concrete stairs. 05 53 00 for metal gratings. 05 54 00 for metal floor plates. 05 55 00 for metal stair treads and nosings. 05 71 00 for decorative metal stairs. 05 71 13 for prefabricated spiral stairs. 06 43 00 for wood stairs and railings. 13 44 00 for modular mezzanines. 14 91 23 for escape chutes.
05 58 00 | Formed Metal Fabrications | Includes: custom formed metal items for special purposes other than roofing and flashing applications. custom enclosures for columns and heating and cooling units and piping. See: 05 75 00 for decorative formed metal. 07 60 00 for flashing and sheet metal. 12 36 16 for metal countertops. 23 82 00 for standard enclosures for convection heating and cooling units.
05 70 00 | Decorative Metal | Includes: metal items and metal work of a decorative nature. Wrought iron, muntz metal. Anchors and related accessories. Usually Includes: related fastenings and shop-applied coatings. Alternate Terms/Abbreviations: decorative metal: ornamental metal. Muntz metal: yellow metal. See: 05 50 00 for metal fabrications of a utilitarian nature. 12 14 00 for sculptures. 32 31 19 for decorative metal fences and gates. 05 05 13 for shop-applied coatings for metal. 05 05 23 for metal fastenings
06 00 00 | Wood, Plastics, and Composites
06 01 00 | Maintenance of Wood, Plastics, and Composites | Includes: maintenance, repair, rehabilitation, replacement, restoration, preservation, etc. of wood, plastics, and composites Includes: methods for fastening wood, plastic, and composites together, including nailing, screwing, bolting, metal connectors, and adhesives. See: 05 05 23 for metal fastenings
06 05 73 | Wood Treatment | Includes: fire-retardant and preservative wood treatments. Alternate Terms/Abbreviations: wood treatment: pressure treatment. See: 09 96 43 for fire-retardant coatings.
06 10 00 | Rough Carpentry | Includes: wood foundations, framing, sheathing, and decking using lumber, timber, and engineered wood products. blocking and supports to joint the members and anchor the framework to other construction. erection of the units and incorporation of connectors and supports to join the units and anchor the units to other construction. Usually Includes related fasteners, adhesives, and wood treatment. See: 06 05 23 for wood, plastic, and composite fastenings. 06 05 73 for wood treatment.
06 13 00 | Heavy Timber Construction | Includes: framing using timber with a minimum dimension of 5 inches. Alternate Terms/Abbreviations: heavy timber: mill-framed structures. See: 06 15 19 for timber decking. 06 17 00 for shopfabricated structural wood. 06 18 00 for glue-laminated construction. 31 62 19 for timber piles. 32 32 29 for timber retaining walls. 32 34 00 for fabricated bridges. 32 94 16 for landscape timbers. 34 11 33 for track cross ties. 35 51 13.23 for floating wood piers
06 17 00 | Shop-Fabricated Structural Wood | Includes: columns, beams, joists, trusses, and other structural units fabricated from wood or wood in combination with metal elements. Alternate Terms/Abbreviations: CLT: Cross-Laminated Timber, DLT: Dowel-Laminated Timber LVL: laminated veneer lumber. PSL: parallel strand lumber. See: 05 20 00 for metal joists. 06 18 00 for gluedlaminated construction. 13 32 00 for space frames. 13 33 00 for geodesic structures
06 20 00 | Finish Carpentry | Includes: finish wood construction that can be purchased ready-made and installed by a finish carpenter, not requiring the specialized skills of architectural woodwork fabrication. Usually Includes related fasteners, adhesives, and wood treatment. See: 06 40 00 for architectural woodwork. 07 40 00 for wood roofing and siding panels. 10 57 23 for manufactured wood closet and utility shelving. 12 36 19 for wood countertops. 06 05 23 for wood, plastic, and composite fastenings. 06 05 73 for wood treatment. 06 05 83 for shop-applied wood coatings
06 40 00 | Architectural Woodwork | Includes: shop-fabricated wood, laminate-clad, and simulated wood fabrications. veneers and flitches. Usually Includes related fasteners, adhesives, wood treatment, and shop-applied finishes. Notes: See 09 54 26 for suspended wood ceilings . 09 64 00 for wood flooring. 09 90 00 for fieldapplied coatings. 09 96 43 for fire-retardant coatings. 10 21 00 for laminate-clad compartments and cubicles. 10 51 00 for wood and laminate-clad lockers. 10 82 00 for manufactured wood grilles and screens. 06 05 23 for wood, plastic, and composite fastenings. 06 05 73 for wood treatment. 06 05 83 for shop-applied wood coatings
06 50 00 | Structural Plastics | Includes: plastic lumber and other structural plastics. Usually Includes related fasteners and adhesives. See: 06 40 00 for plastic laminate. 06 60 00 for plastic fabrications. 06 70 00 for structural composites. 06 80 00 for composite fabrications. 06 05 23 for wood, plastic, and composite fastenings
06 60 00 | Plastic Fabrications | Includes: non-structural plastic fabrications formed to various profiles for a variety of purposes. See: 04 73 00 for manufactured stone masonry. 06 50 00 for structural plastics. 06 80 00 for composite fabrications. 07 31 53 for plastic shakes. 07 40 00 for plastic roofing and siding panels. 08 15 00 for plastic doors. 08 53 00 for plastic windows. 08 84 00 for plastic glazing. 09 30 26 for plastic tiling. 09 76 00 for plastic blocks. 10 21 00 for plastic compartments and cubicles. 10 51 26 for plastic lockers. 12 34 00 for manufactured plastic casework. 12 36 23 for plastic countertops. 12 36 61 for simulated stone countertops
07 00 00 | Thermal and Moisture Protection
07 10 00 | Dampproofing and Waterproofing | Includes: dampproofing materials used to resist moisture penetration through foundation walls and similar surfaces subject to high humidity, dampness, or direct water contact, but not subject to hydraulic pressures. Impervious waterproofing membranes, coatings, and other materials applied to walls, slabs, decks, and other surfaces subject to hydrostatic pressure or water immersion. Boards and coatings, and drainage media integral to dampproofing and waterproofing. See: 03 15 13 for waterstops. 07 20 00 for vapor retarders integral with insulation. 07 50 00 for membrane waterproofing. 31 05 16 for drainage aggregate
07 13 00 | Sheet Waterproofing | Includes: waterproofing formed with sheets of elastomeric, bituminous, modified bituminous, or thermoplastic materials, and depending on properties other than layered application for effectiveness. See: 02 25 29.23 for waterproofing investigations. 07 52 00 for modified bituminous membrane roofing. 07 53 00 for elastomeric membrane roofing. 07 54 00 for thermoplastic membrane roofing. 07 55 52 for modified bituminous protected membrane roofing. 07 55 53 for elastomeric protected membrane roofing. 07 55 54 for thermoplastic protected membrane roofing.
07 20 00 | Thermal Protection | Includes: insulation applied for thermal protection, elastomeric finish systems, vapor retarders, and air barriers. Cellulose, expanded polystyrene, extruded polystyrene, fiber glass, foamed glass, mineral fiber, perlite, polyisocyanurate, polyurethane, reflective, rock wool, vermiculite insulations. See: 03 11 19 for insulating concrete forming. 03 52 16 for lightweight insulating concrete. 04 22 19 for insulated concrete unit masonry. 06 16 13 for insulating sheathing. 22 07 00 for plumbing insulation. 23 07 00 for HVAC insulation. 40 42 00 for process piping and equipment insulation
07 30 00 | Steep Slope Roofing | Includes: roof shingles, shakes, and roof tiles, underlayment and fastening products and methods.
07 40 00 | Roofing and Siding Panels | Includes: siding, wall panels, and roof panels, with or without integral interior panels or insulation. fabricated panel assemblies which may include framing, sheathing, insulation, substrates, interior finish, and exterior finish. May Include: roof and wall panels that are used with a fabricated engineered structure. See: 03 40 00 for precast concrete panels. 04 25 00 for fabricated masonry panels. 07 21 00 for wall insulation. 08 44 00 for glazed curtain wall spandrel and infill panels. 08 90 00 for louvers and vents. 09 21 16 for gypsum board assemblies. 13 34 00 for roof and wall panels that are part of a fabricated engineered structure
07 41 00 | Roof Panels | Includes: manufactured roof panels and fabricated panel assemblies. Fabricated roof panel assemblies including other components such as structural framing, insulation, flashing, and interior finish. Aluminum, copper, steel, stainless steel, and terne metal roof panels. Batten seam, flat seam, and standing seam metal roof panels. See: 07 31 00 for shingles and shakes. 07 61 00 for custom fabricated sheet metal roofing.
07 50 00 | Membrane Roofing | Includes: roofing assemblies applied to the structural substrate, over insulation, or protected with insulation as appropriate to the particular assembly. Composition and elastomeric flashing. Surfacing materials, coatings, and ballast. May Include: roof insulation, vapor retarders, and air barriers. walkways, roof drains, and other items integral with roofing assembly. roof pavers. Alternate Terms/Abbreviations: membrane roofing: sheet roofing. See: 02 25 29.23 for roofing investigations. 07 10 00 for waterproofing. 07 62 00 for sheet metal flashing and trim. 07 22 16 for roof board insulation. 07 26 00 for vapor retarders. 07 27 00 for air barriers. 07 72 43 for roof walk boards and walkways. 07 76 00 for roof pavers. 22 14 26.13 for roof drains
07 60 00 | Flashing and Sheet Metal | Includes: sheet metal roofing, accessories, and trim, and specialties associated with roofing, and metal and other flexible flashings for roofing and wall construction. See: 07 15 00 for sheet metal waterproofing
07 70 00 | Roof and Wall Specialties and Accessories | Includes: standard manufactured components, both formed and extruded. See: 08 60 00 for skylights. 10 74 00 for manufactured exterior specialties.
07 80 00 | Fire and Smoke Protection | Includes: specialized coatings, mineral fiber, and cementitious coverings to provide fire resistance to building components. Fireproof duct wrap. See: 06 05 73 for fire-retardant wood treatment of wood products. 07 82 00 for Board Fire Protection. 09 23 82 for Fire Protected Gypsum Plastering. 09 96 43 for fireretardant coatings. 09 96 46 for intumescent painting. 07 81 13 Cement Aggregate Fire Protectio
07 84 00 | Firestopping | Includes: materials installed in cavities, around penetrations, and openings in floors, walls, partitions, and other building components to prevent spread of fire and smoke. Firestopping for mechanical, electrical, and communications penetrations of fire-resistant rated assemblies. See: 07 21 00 for thermal insulation. 07 92 00 for joint sealants. 07 95 13 for fire-resistant rated expansion joint cover assemblies
07 92 00 | Joint Sealers | Includes: elastomeric and rigid joint sealants, and related accessories such as joint fillers and backer rod. Joint sealant to provide acoustical isolation. Nonsag, pourable, mildew-resistant, sanitary, acrylic, bituminous, latex, polysulfide, polyurethane, PVC, rubber, silicone, synthetic, urethane joint sealants. Alternate Terms/Abbreviations: joint sealants: calking, caulking, joint sealers. See: 07 84 43 for fire-resistant joint sealants. 08 85 00 for glazing sealants. 32 13 73 for concrete paving joint sealants. 09 20 00 for acoustic joint sealants in plaster and gypsum board assemblies.
07 95 00 | Expansion Control | Includes: manufactured expansion joint assemblies, including frames, covers, and gaskets. Fire-resistant barriers for fire-resistant rated expansion control assemblies. See: 03 15 00 for concrete expansion and contraction joints. 05 12 33 for structural steel for bridges. 07 71 29 for roof expansion joints. 07 84 43 for fire-resistant joint sealants. 07 91 00 for preformed joint seals. 07 92 00 for joint sealants. 34 82 00 for bridge specialties
08 00 00 | Openings
08 01 00 | Operation and Maintenance of Openings | Includes: maintenance, repair, rehabilitation, replacement, restoration, preservation, etc. of openings. Level 4 Numbering Recommendation: Level 4 titles for wood windows are provided as examples for user’s creation of more detailed titles for other subjects as required. following Level 4 numbering is recommended: .51-.59 for maintenance..61-.69 for repair..71-.79 for rehabilitation..81-.89 for replacement..91-.99 for restoration.
08 10 00 | Doors and Frames | Includes: doors and door assemblies for variety of purposes and types of operation. Fire-resistant rated doors and frames. Usually Includes: glazing accessories in doors, louvers integral to door construction, and louvers in fire-resistant rated doors. See: 08 30 00 for specialty doors. 08 42 00 for entrances. See Also: 08 80 00 for glazing. 08 91 26 for door louvers.
08 14 00 | Wood Doors | Includes: hinged, sliding, or pivoting doors manufactured of wood with solid or hollow cores, flush panel or stile and rail, with wood, plastic laminate, and metal veneers. Alternate Terms/Abbreviations: metal-faced doors: kalamein doors. stile and rail wood doors: paneled wood doors. See: 06 48 00 for wood door frames. 08 12 00 for metal frames for wood doors. 08 15 00 for plastic doors. 08 16 00 for composite doors
08 17 00 | Integrated Door Opening Assemblies | Includes: assemblies, manufactured of a variety of materials, complete with doors, frames, and hardware. Alternate Terms/Abbreviations: integrated door opening assemblies: preassembled door assemblies, packaged door assemblies, pre-hung doors. See: 08 34 00 for special function doors. 08 34 73 for sound control door assemblies. 08 39 00 for pressureresistant doors
08 30 00 | Specialty Doors and Frames | Includes: doors and door assemblies for a variety of special functions and applications involving a variety of operating methods. fire-resistant rated doors and frames. hardware, controls, operators, and drive mechanisms.
08 35 00 | Folding Doors and Grilles | Includes: doors and grilles that open by folding as an accordion or as a set of panels. may be fire-resistant rated. See: 08 10 00 for bifolding doors. 08 11 73 for sliding metal fire doors. 08 11 74 for sliding metal grilles. 08 33 00 for coiling doors and grilles. 08 36 00 for panel doors. 10 22 16 for folding gates. 10 22 23 for portable partitions, screens, and panels.
08 40 00 | Entrances, Storefronts, and Curtain Walls | Includes: entrances, storefronts, and curtain walls fabricated from formed and extruded metals and glass components for exterior and interior applications. Doors of various operating methods, framing for doors, sidelights, panels, and transoms. Shop glazing and shop applied hardware. May Include: perimeter joint sealant. See: 06 48 00 for wood frames. 08 11 00 for metal doors and frames. 08 18 16 for sliding metal-framed glass doors. 08 70 00 for field installed hardware. 08 80 00 for field installed glazing. 07 92 00 for joint sealants.
08 44 13 | Glazed Aluminum Curtain Walls | Includes: multi-story cladding of metal-framed glass construction for exterior applications. See: 08 41 13 for aluminum-framed entrances and storefronts. 08 41 16 for bronze-framed entrances and storefronts. 08 41 19 for stainless steel-framed entrances and storefronts
08 50 00 | Windows | Includes: windows of any material, both operating and non-operating. Fixed, single-hung, double-hung, sliding, projected, hopper, awning, casement, and jalousie windows. Operating hardware, screens, and other accessories. Factory glazing. Louver blinds integral to window construction. May Include: window sills and stools. Perimeter joint sealant. See: 08 01 50 for replacement windows. 08 12 00 for metal sidelight, transom, and borrowed light frames. 08 40 00 for entrances, storefronts, and curtain walls. 08 61 00 for roof windows. 08 80 00 for field-installed glazing. 10 74 43 for below-grade egress assemblies. 10 74 46 for window wells. 13 34 13 for glazed structures. See Also: 05 58 00 for formed metal sills and stools. 06 46 00 for wood sills, stools, and casings. 07 92 00 for joint sealants.
08 51 00 | Metal Windows | Includes: windows framed with any metal. See: 08 43 00 for metal-framed storefronts
08 52 00 | Wood Windows | Includes: windows framed with wood. See: 06 48 00 for custom wood framed windows
08 56 00 | Special Function Windows | Includes: windows with special characteristics for a special function. May Include: accessories such as pivoting turntables, voice transmitters, and deal trays; security windows; security window screens
08 60 00 | Roof Windows and Skylights | Includes: glazed openings located above the interior space, fixed or operating. shop glazing, operating hardware, screens, and other accessories. See: 04 23 19 for glass unit masonry skylights. 08 44 33 for sloped glazed assemblies. 08 80 00 for field-installed glazing. 13 34 13 for glazed structures
08 70 00 | Hardware | Includes: hardware and gaskets for doors and windows not supplied as part of manufactured item. electronic, magnetic, hydraulic, and pneumatic components for operating, controlling, and monitoring doors and windows.
08 78 00 | Special Function Hardware | Includes: mechanical and electro-mechanical hardware intended for a specialized purpose, which establishes a determining characteristic.
08 80 00 | Glazing | Includes: accessories for doors and windows not included in other titles
08 90 00 | Louvers and Vents | Includes: items and enclosures for ventilation that are not integral part of mechanical equipment. See: 10 82 00 for grilles and screens.
09 00 00 | Finishes
09 20 00 | Plaster and Gypsum Board | Includes: non-structural metal support assemblies for plaster and gypsum board. Exterior and interior veneer plaster, acoustical plaster, plaster partitions, and plaster fireproofing. Exterior and interior gypsum board, gypsum board assemblies, accessories and trim. May Include: acoustical insulation and sealants. See: 05 40 00 for structural cold-formed metal framing. 06 11 00 for wood framing. 07 24 00 for exterior insulation and finish systems. 07 92 19 for acoustic sealants. 09 81 00 for acoustic insulation.
09 29 00 | Gypsum Board | Includes: unfinished and prefinished gypsum board over metal and wood framing; accessories and trim; joint taping and finishing. May Include: non-structural metal framing, ceiling suspension, and furring systems. gypsum and cementitious backing board for other finishes. Alternate Terms/Abbreviations: gypsum board: gypsum wallboard, drywall. See: 05 40 00 for cold-formed structural metal framing. 06 11 00 for wood framing. 07 82 00 for Board Fire Protection. 09 56 13 for gypsum-panel textured ceilings. 10 22 19 for demountable gypsum board partitions. 06 16 43 for gypsum sheathing. 09 22 00 for metal supports for gypsum board. 09 28 00 for backing boards and underlayments.
09 30 00 | Tiling | Includes: manufactured surfacing units of impervious, vitreous, semi-vitreous, and non-vitreous materials; glazed, unglazed, conductive, abrasive, and textured surfaces. Related mortar, adhesives, grout, trim, and accessories. Related antifracture membranes. Tile towel bar holders, toilet paper holder, soap dishes, and other tile accessories. Tiling by tile material. May Include: tile murals. See: 03 45 13 for tile faced architectural precast concrete. 07 32 00 for roof tiles. 07 44 19 for tile faced panels. 09 28 00 for tile backing boards. 09 51 23 for acoustical tile ceilings. 09 63 40 for stone flooring. 09 66 16 for terrazzo floor tile. 09 75 00 for stone facin
09 50 00 | Ceilings | Includes: ceiling panels, units, and materials manufactured as finished ceiling surfaces. ceiling suspension assemblies.
09 51 00 | Acoustical Ceilings | Includes: suspended and directly-applied tiles and panels with specific characteristics for acoustical purposes. May Include: ceiling suspension assemblies. See: 05 34 00 for acoustical metal decking. 09 23 13 for acoustical gypsum plastering. 09 58 00 for integrated ceiling assemblies. 09 62 48 for acoustic flooring. 09 80 00 for acoustic treatment. 09 83 16 for acoustic ceiling coating. 13 21 48 for sound-conditioned rooms. 13 48 00 for sound, vibration, and seismic control. 09 53 00 for acoustical ceiling suspension assemblies
09 61 00 | FLOOR TREATMENT | Includes: coatings and surfacings for finished flooring, applied to provide a specific performance characteristic. See: 03 35 13 for high-tolerance concrete floor finishing. 03 35 16 for heavy-duty concrete floor finishing. 03 54 00 for cast underlayment. 07 18 00 for traffic coatings. 09 33 00 for conductive tiling. 09 65 33 for conductive resilient flooring. 09 65 36 for static-control resilient flooring. 09 66 33 for conductive terrazzo flooring. 09 67 13 for conductive elastomeric liquid flooring
09 62 00 | Specialty Flooring | Includes: heavy duty and other specialty flooring. See: 09 35 00 for chemical-resistant tiling. 09 51 00 for acoustical ceilings. 09 63 13 for chemical-resistant brick flooring. 09 64 00 for wood flooring. 09 64 66 for wood athletic flooring. 09 65 66 for resilient athletic flooring. 09 67 66 for fluid-applied athletic flooring. 09 72 13 for cork wall coverings. 09 80 00 for acoustic treatment. 09 96 35 for chemical-resistant coatings. 13 28 66 for demountable athletic surfaces
09 63 00 | Masonry Flooring | Includes: fired clay unit masonry and natural, simulated, and cast stone flooring. flagstone, granite, marble, and slate stone flooring. See: 04 20 00 for unit masonry. 04 40 00 for stone assemblies. 04 73 00 for manufactured stone masonry. 09 30 33 for cut natural stone tiling. 09 35 00 for chemical-resistant tiling. 09 62 35 for acid resistant flooring. 09 75 00 for stone facing. 09 96 35 for chemicalresistant coatings. 32 14 00 for unit paving.
09 63 40 | Stone Flooring | Includes: fired clay unit masonry and natural, simulated, and cast stone flooring. flagstone, granite, marble, and slate stone flooring.
09 64 00 | Wood Flooring | Includes: flooring composed of wood with various types of backing. wood sleeper and subfloor installation, adhesive installation. Alternate Terms/Abbreviations: athletic flooring: gymnasium flooring, sports flooring. See: 06 15 00 for wood decking. 09 64 36 for Bamboo Flooring. 09 65 66 for resilient athletic flooring. 09 67 66 for fluid-applied athletic flooring. 11 66 00 for athletic equipment. 13 28 66 for demountable athletic surfaces.
09 65 00 | Resilient Flooring | Includes: resilient tile and sheet flooring. Resilient base, resilient stair treads and risers, resilient stair nosings, resilient edging, and transitions for carpet. Alternate Terms/Abbreviations: athletic flooring: gymnasium flooring, sports flooring. VCT: vinyl composition tile. See: 09 33 00 for conductive tiling. 09 61 36 for staticresistant flooring treatment. 09 64 66 for wood athletic flooring. 09 66 33 for conductive terrazzo flooring. 09 67 13 for conductive elastomeric liquid flooring. 09 67 66 for fluid-applied athletic flooring. 13 28 66 for demountable athletic surfaces. Products: linoleum, rubber, vinyl, vinyl composition floor coverings
09 66 00 | Terrazzo Flooring | Includes: cast-in-place, sand-cushion, monolithic, bonded, and adhesively-bonded portland cement terrazzo; poured-in-place epoxy, polyester, and conductive plastic matrix terrazzo; and precast terrazzo. accessories and finish sealers.
09 68 00 | Carpeting | Includes: carpet, carpet cushions, and accessories. directglue-down installation, double-glue-down installation, carpet with attached-cushion installation, preapplied adhesive installation, hook-and-loop installation, stretchin installation. May Include: wall carpeting. Alternate Terms/Abbreviations: sheet carpeting: roll carpeting, broadloom. See: 12 48 00 for rugs and mats. 09 69 00 for carpet tile with access flooring. 09 73 00 for wall carpeting.
09 69 00 | Access Flooring | Includes: free-standing, elevated accessible floor assembly forming an underfloor cavity that may be used for utility services. accessories and floor panel finish. May Include: air outlets and inlets integral with floor panels. loose-laid or glued-down carpet tile. Alternate Terms/Abbreviations: access flooring: computer floor, elevated floor, raised floor, free access floors, pedestal floors. See: 23 30 00 for HVAC air distribution. 23 32 36 for airdistribution floor plenums. 09 68 13 for loose-laid or glued-down carpet tile. 23 37 00 for air outlets and inlets
09 70 00 | Wall Finishes | Includes: wall finishes applied over solid substrates. See: 09 23 00 for gypsum plastering. 09 24 00 for cement plastering. 09 29 00 for gypsum board. 09 30 00 for tiling. 09 83 13 for acoustic wall coating. 09 84 00 for acoustic room components. 09 90 00 for painting and coating
09 77 00 | Special Wall Surfacing | Includes: Manufactured interior and exterior decorative wall surface products. See: 09 54 00 for specialty ceilings. 12 05 13 for fabrics
09 90 00 | Painting and Coating | Includes: stains, transparent finishes, special coatings, varnishes, lacquers, primers, fillers, paint removers, waxes, and preparation of surfaces. painting of mechanical, electrical, and communications equipment other than for identification. See: 10 14 00 for signage. 21 05 53 for identification for fire suppression piping and equipment. 22 05 53 for identification for plumbing piping and equipment. 23 05 53 for identification for HVAC piping and equipment. 25 05 53 for identification for integrated automation. 26 05 53 for identification for electrical systems. 27 05 53 for identifications for communications systems. 28 05 53 for identification for electronic safety and security
09 97 00 | Special Coatings | Includes: special field-applied coatings for steel, concrete, masonry and on other materials. Storage tank coatings. Cementitious coatings. See: 07 19 00 for water repellents. 07 24 23 for DirectApplied finish systems. 21 41 00 for storage tanks for fire-suppression water. 22 12 00 for facility potable-water storage tanks. 23 13 00 for facility fuel-storage tanks. 33 16 00 for water utility storage tanks. 33 56 00 for fuel storage tanks. 41 52 19 for material storage tanks
09 97 00 | Special Coatings | Includes: special field-applied coatings for steel, concrete, masonry and on other materials. Storage tank coatings. Cementitious coatings. See: 07 19 00 for water repellents. 07 24 23 for DirectApplied finish systems. 21 41 00 for storage tanks for fire-suppression water. 22 12 00 for facility potable-water storage tanks. 23 13 00 for facility fuel-storage tanks. 33 16 00 for water utility storage tanks. 33 56 00 for fuel storage tanks. 41 52 19 for material storage tanks
10 00 00 | Specialties
10 11 00 | Visual Display Units | Includes: chalkboards, markerboards, tackboards, and other visual display systems; framing systems and accessories. See: 10 13 00 for directories. 11 52 13 for projection screens. 12 35 59 for display casework. 09 97 35 for Dry Erase Coatings.
10 14 00 | Signage | Includes: directional items, letters, signage, and plaques used in establishing identity or communication. Integral lighted units, neon signage, and other types of illuminated signage. Self-contained electronic message signage which is not part of an integrated system
10 17 00 | Telephone Specialties | Includes: manufactured telephone enclosures, stalls, booths, and alcoves for installation of telephones and telephone directories. See: 10 25 16 for modular service walls. 27 20 00 for data communications. 27 30 00 for voice communications. 27 32 13 for telephone sets. 27 40 00 for audio-video communications
10 21 00 | Compartments and Cubicles | Includes: manufactured compartments and cubicles that are enclosures, dividers, screens, and curtains for toilets, urinals, showers, dressing compartments, and hospital cubicles including hardware and accessories. ceiling-hung, floor-supported, overhead-braced, and wall-supported
10 22 00 | Partitions | Includes: fixed, demountable, and operable fabricated partitions used as enclosures, dividers, and partitions
10 22 23 | Portable Partitions, Screens, and Panels | Includes: wall screens, movable panel systems, and partitions that are not connected to permanent construction. See: 10 82 23 for interior grilles and screens connected to permanent construction. 12 46 26 for decorative screens
10 25 00 | Service Walls | Includes: wall assemblies and wall-mounted units incorporating services such as medical services, drinking fountains, clocks, fire hose and extinguishing cabinets, telephones, and waste receptacles. See: 10 17 00 for telephone specialties. 10 44 00 for fire protection specialties. 11 73 00 for patient care equipment. 22 47 00 for drinking fountains and water coolers.
10 26 00 | Wall and Door Protection | Includes: manufactured protective devices for walls and doors made of metal, plastic, rubber, and other finish materials. See: 05 50 00 for corner guards fabricated from rolled metal sections or bent plate. 05 52 00 for metal railings. 05 73 00 for decorative metal railings. 06 43 16 for wood railings. 06 46 23 for wood chair rails. Products: crash rails, rub strips, wall guards, door guards, column guards
10 28 00 | Toilet, Bath, and Laundry Accessories | Includes: manufactured items for use in conjunction with toilets, baths, and laundries. See: 08 83 00 for mirrors other than framed mirrors. 09 30 00 for tile accessories. 12 30 00 for manufactured casework. Products: grab bars, towel dispensers, soap dispensers, deodorizers, napkin/tampon dispensers and disposal units, toilet paper dispensers, waste disposal units, robe hooks, framed mirrors, air hand and hair dryers, and other similar public toilet room accessories.
10 30 00 | Fireplaces and Stoves | Includes: manufactured fireplaces, stoves, chimneys, dampers, and specialties required for fireplaces and stoves. See: 04 50 00 for refractory masonry
10 44 00 | Fire Protection Specialties | Includes: fire fighting devices and storage cabinets, except items or devices connected to a fire suppression system. See: 10 25 16 for modular service walls. 21 12 00 for firesuppression standpipes. 21 12 16 for fire-suppression hose reels. 21 12 19 for fire-suppression hose racks. 21 12 23 for fire-suppression hose valves
10 51 00 | Lockers | Includes: manufactured storage facilities providing temporary security of contents; related hardware and locking devices. athletic lockers, school lockers. See: 06 41 00 for custom fabricated wood lockers. 10 22 13 for wire mesh partitions. 10 57 00 for wardrobe and closet specialties. 12 30 00 for manufactured casework. 12 50 00 for furniture. Products: athletic lockers, school lockers
10 55 00 | Postal Specialties | Includes: manufactured items associated with the collection and distribution of mail that is physically sent and delivered. See: 11 29 00 for postal, packaging, and shipping equipment. 41 21 23.53 for postal conveyors. 41 24 46 for postal sorting machines.
10 56 00 | Storage Assemblies | Includes: manufactured storage assemblies for general storage. manual and motorized mobile and compact storage systems. See: 10 57 23 for closet and utility shelving. 11 51 23 for library stack systems. 12 35 50 for educational/library casework. 12 56 51 for library furniture. 12 59 00 for shelving integral with systems furniture. 41 53 00 for industrial storage equipment and systems
10 57 00 | Wardrobe and Closet Specialties | Includes: manufactured hat and coat racks, and other specialties for storage of clothing. manufactured shelving for closets and utility rooms. See: 06 20 00 for finish carpentry shelving. 10 51 00 for lockers. 10 56 00 for general storage assemblies. 11 21 33 for checkroom equipment
10 71 13 | Exterior Sun Control Devices | See: 08 44 00 for fixed sun screens integral with curtain walls. 12 26 00 for interior daylighting devices
10 73 00 | Protective Covers | Includes: manufactured items to provide weather protection or shelter. gazebos. Alternate Terms/Abbreviations: transportation stop shelters: bus stop shelters. car shelters: carports. See: 10 18 00 for informational kiosks. 10 71 13 for exterior sun control devices. 10 71 16 for storm panels. 13 34 00 for fabricated engineered structures. 34 70 00 for transportation construction and equipment. 34 77 00 for transportation equipment. See Also: 08 65 13 for suspended glazed canopies
10 74 00 | Manufactures Exterior Specialties | Includes: complete fabrications of metal, wood, and fiberglass, including all accessories and appurtenances. Alternate Terms/Abbreviations: below-grade egress assemblies: basement window egress assemblies, basement window emergency escape. window wells: areaways. See: 06 44 26 for custom wood cupolas. 08 50 00 for windows. 10 18 00 for informational kiosks. 11 91 00 for religious equipment. 13 46 00 for lightning protection.
10 75 00 | Flagpoles | Includes: complete flagpole fabrications of metal, wood, and fiberglass, including all accessories and appurtenances. May Include: flags and banners. See: 10 83 00 for flags and banners
10 81 00 | Pest Control Devices | Includes: mechanical, electrical, physical, and chemical repellant systems, and protective devices. See: 31 31 00 for soil treatment. 31 31 13 for rodent control soil treatment. 31 31 16 for termite control soil treatment. 03 15 21 for Termite Barri
10 82 00 | Grilles and Screens | Includes: grilles and screens of wood, metal, plastic, and other materials used for a variety of purposes. See: 06 49 19 for wood screens and exterior wood shutters. 08 92 00 for louvered equipment enclosures. 10 22 23 for portable partitions, screens, and panels not connected to permanent construction. 10 71 13 for exterior sun control devices. 12 46 26 for decorative screens. 32 35 13 for self-supporting exterior screens and louvers. 10 82 13 Exterior Grilles and Screen
10 88 00 | Scales | Includes: fixed scales. See: 11 21 43 for weighing and wrapping equipment. 34 77 36 for baggage scales. 41 14 36 for weigh scales.
11 00 00 | Equipment
11 01 00 | Operation and Maintenance of Equipment | Includes: maintenance, repair, rehabilitation, replacement, restoration, preservation, etc. of equipment. Level 4 Numbering Recommendation: one Level 4 title for equipment is provided as an example for user’s creation of more detailed titles for other subjects as required. following Level 4 numbering is recommended: .51-.59 for maintenance..61-.69 for repair..71-.79 for rehabilitation. .81-.89 for replacement..91-.99 for restoration.
11 11 00 | Vehicle Service Equipment | Includes: equipment associated with vehicular service. Alternate Terms/Abbreviations: vehicle service equipment: garage equipment, service station equipment. See: 14 45 00 for vehicle lifts. 14 71 11 for vehicle turntables. 23 10 00 for facility fuel systems. 23 35 16 for engine exhaust systems. 33 50 00 for fuel distribution utilities. 41 22 00 for cranes and hoists
11 12 00 | Parking Control Equipment | Includes: equipment associated with the control of movement of vehicle parking. self-contained equipment to collect fares for vehicles that is not part of a centralized transportation ticketing and fare collection system. See: 13 34 23.16 for fabricated control booths. 28 30 00 for security detection, alarm, and monitoring 28 31 00 for intrusion detection 28 31 11 for building intrusion detection 34 41 00 for roadway signaling and control equipment. 34 52 16 for transportation vehicle ticketing equipment. 34 52 26 for transportation vehicle fare collection equipment. 34 52 33 for transportation vehicle fare gates. 34 71 13 for vehicle barriers. 34 71 19 for vehicle delineators.
11 13 00 | Loading Dock Equipment | Includes: equipment associated with service docks and for the loading and unloading of vehicles. May Include: signals for truck restraints. See: 08 38 00 for traffic doors. 14 45 00 for vehicle lifts. 26 50 00 for lighting. 41 22 00 for cranes and hoists.
11 14 00 | Pedestrian Control Equipment | Includes: equipment associated with the control of movement of pedestrians. self-contained equipment to collect fares for pedestrians that is not part of a centralized transportation ticketing and fare collection system. Pedestrian access control.
11 15 00 | Security Control Equipment | Includes: Security kiosks and guard shacks. See Also: 28 10 00 for access control 28 30 00 for security detection, alarm, and monitoring
11 32 00 | Unit Kitchens | Includes: manufactured units incorporating kitchen plumbing fixtures, appliances, casework, and countertops. See: 11 30 13 for residential appliances. 12 35 30 for residential casework
11 40 00 | Foodservice Equipment | Includes: equipment used for food storage, preparation, delivery and serving, cooking, dispensing, and clean-up in commercial and institutional kitchens, bars, and back bars. Alternate Terms/Abbreviations: foodservice equipment: kitchen equipment. See: 12 30 00 for foodservice casework. 12 36 00 for foodservice countertops. 22 10 00 for plumbing piping and pumps. 22 42 00 for commercial plumbing fixtures. 23 38 13 for commercial-kitchen hoods
11 52 00 | Audio-Visual Equipment | Includes: projection screens, projectors, players, recorders and other audio-visual equipment. See: 10 11 36 for visual display conference units. 11 28 00 for office equipment. 12 56 52 for audio-visual furniture. 27 40 00 for audio video communications. 27 51 23 for education intercommunication and program systems
11 53 00 | Laboratory Equipment | Includes: equipment for scientific use. Laboratory fume hoods. See: 12 35 53 for laboratory casework, tops and sinks, and service fixtures mounted on laboratory tops. 12 36 53 for laboratory countertops. 12 56 53 for laboratory furniture. 13 21 00 for controlled environment rooms. 22 45 00 for emergency plumbing fixtures. 22 61 00 for compressedair systems for laboratory facilities. 22 62 00 for vacuum systems for laboratory facilities. 22 63 00 for gas systems for laboratory facilities. 22 66 53 for laboratory chemical waste and vent piping. 22 67 00 for processed water systems for laboratory facilities. 23 30 00 for fume hood exhaust ducts. See Also: 23 38 16 for fume hoods connected to HVAC system. Products: glove boxes
11 61 00 | Broadcast, Theater, and Stage Equipment | Includes: equipment for support of broadcast, theatrical, instrumental, or voice programs. cycloramas, entertainment ticket dispensers, scenery and flats, tormentors. May Include: stage lighting systems and controls. Alternate Terms/Abbreviations: theater equipment: auditorium equipment. See: 05 51 36 for catwalks. 12 61 00 for fixed audience seating for theaters. 14 43 13 for stage and orchestra lifts. 14 74 61 for stage turntables. 27 41 16 for integrated audio-video systems and equipment for theaters. 26 09 61 for theatrical lighting controls. 26 55 61 for theatrical lighting. 26 55 83 for broadcast lighting
11 66 00 | Athletic Equipment | Includes: manufactured equipment intended for use in interior athletic and exercise activities. Alternate Terms/Abbreviations: athletic equipment: sports equipment. gymnasium: fieldhouse. See: 09 64 66 for wood athletic flooring. 09 65 66 for resilient athletic flooring. 09 67 66 for fluid-applied athletic flooring. 11 67 00 for recreational equipment. 11 67 33 for recreational climbing walls. 11 68 23 for exterior court athletic equipment. 11 68 33 for athletic field equipment. 11 68 43 for exterior scoreboards. 12 63 00 for arena seating. 13 24 66 for athletic rooms. 13 28 00 for athletic and recreational special construction. 13 28 66 for demountable athletic surfaces.
11 70 00 | Healthcare Equipment | N/A
11 82 00 | Facility Solid Waste Handling Equipment | Includes: packaged equipment involving the collection, shredding, compaction, and removal or incineration of trash and other solid waste at a facility. Alternate Terms/Abbreviations: waste compactors: refuse compactors, trash compactors. See: 14 91 82 for trash chutes. 44 50 00 for site constructed solid waste control and reuse for multiple facilities
12 00 00 | Furnishings
12 10 00 | Art | Includes: interior and exterior art objects. See: 05 70 00 for decorative metals. 06 44 00 for ornamental woodwork. 06 66 00 for custom ornamental simulated woodwork. 09 27 00 for plaster fabrications
12 20 00 | Window Treatments | Includes: interior window coverings, associated, hardware, and controls. Alternate Terms/Abbreviations: horizontal louver blinds: venetian blinds, mini-blinds. row-down blinds: roller blinds. roller window shades: roll-up window shades. See: 06 49 19 for wood screens and exterior wood shutters. 08 50 00 for windows with integral louver blinds. 08 87 13 for solar control films. 09 83 22 for acoustic drapery. 10 71 00 for exterior protection. 10 71 13.13 for exterior shutters.
12 30 00 | Casework | Includes: stock modular cabinets and other casework units of any material. countertops. sinks integral with countertops. laboratory countertops with integral sinks and fixtures and accessories mounted on countertops. Alternate Terms/Abbreviations: casework: cabinets, cabinetry. See: 06 41 00 for architectural wood casework. 10 51 00 for lockers. 10 56 00 for storage assemblies. 10 57 23 for closet and utility shelving. 11 51 23 for library stack systems. 12 50 00 for movable furniture.
12 40 00 | Furnishings and Accessories | Includes: interior furnishings and accessories not connected to permanent construction. Alternate Terms/Abbreviations: ceramics: chinaware. See: 10 28 16 for shower curtain rods. 10 28 19.16 for tub and shower doors. 12 93 00 for site furnishings.
12 60 00 | Multiple Seating | Includes: portable, fixed, and telescoping seating for theaters, auditoriums, lecture halls, stadiums, arenas, gymnasiums, religious facilities, restaurants, and other facilities where multiple seating is required. fixed booths and fixed combination seat and table modules. See: 11 61 00 for theater and stage equipment. 12 52 13 for portable chairs used with movable tables and used in classrooms and restaurants
12 92 00 | Interior Planters and Artificial Plants | Includes: interior planters and artificial plants. See: 32 90 00 for planting. 32 93 00 for live plants. 32 94 33 for planters. 32 94 33 for interior planters
13 00 00 | Special Construction
13 11 00 | Swimming pools | Includes: fabricated, or pre-engineered components, field assembled for athletic or recreational purposes. diving boards, lifeguard chairs, floats, swimming pool ladders, underwater speakers. See: 13 14 13 for water slides. 13 14 16 for water generating equipment. 13 17 00 for tubs and pools. 22 11 00 for facility water distribution. 22 13 00 for facility sanitary sewerage. 22 51 00 for swimming pool plumbing systems. 26 55 29 for underwater lighting
13 13 00 | Aquariums | Includes: tubs, bowls, and other containers for containing and displaying of aquatic animals and plants. See: 22 11 00 for facility water distribution. 22 13 00 for facility sanitary sewerage. 26 55 29 for underwater lighting
13 19 00 | Kennels and Animal Shelters | Includes: facilities for housing and providing healthcare for animals. See: 10 22 13 for wire mesh partitions. 11 70 00 for animal healthcare equipment. 11 92 00 for agricultural equipment. 32 31 00 for fences and gates
13 20 00 | Special Purpose Rooms | Includes: fabricated and pre-engineered rooms designed and constructed to meet specific performance requirements of environmental control, dimensional tolerances, sound, fire protection, and other special conditions. racquetball and squash court rooms
13 31 13 | Air-Supported Fabric Structures | Includes: structures of flexible membrane material supported by air pressure, tensioned cables, or other framing system for temporary or permanent uses.
13 34 00 | Fabricated Engineered Structures | Includes: fabricated, pre-engineered structures assembled on temporary or permanent foundations. See: 08 44 33 for sloped glazing assemblies. 10 73 23 for car shelters. 10 73 26 for walkway coverings. 10 73 43 for transportation stop shelters. 11 12 00 for parking control equipment. 11 56 00 for observatory equipment. 11 93 00 for horticultural equipment. 12 63 00 for stadium and arena seating. 12 66 00 for telescoping stands. 13 11 00 for swimming pools. 13 14 00 for amusement park structures and equipment. 13 23 00 for planetariums. 13 26 00 for fabricated rooms. 13 33 13 for geodesic domes. 33 72 00 for utility substations.
13 46 00 | Lightning Protection Systems | Includes: conductors and equipment for lightning protection. Notes: Other building elements may be used as strike termination devices in lightning protection systems in lieu of air terminals. See: 26 18 19 for medium-voltage lightning arresters. 33 79 00 for site grounding. 33 79 93 for utility site lightning protection, 26 43 23 facility electrical system lightning protection surge arresters and suppressors, 01 56 21 for temporary lightning protection. 02 30 00 for Subsurface Investigation for testing of electrical conductance of soils; 01 56 21 Temporary Lightning Protection; 26 05 26 for integrating lightning protection system with facility grounding 26 05 26 for integration of lightning protection system with facility grounding and bonding
13 48 00 | Sound, Vibration, and Seismic Control | Includes: fabricated, pre-engineered components for the reduction of sound and vibration within a structure. See: 02 22 13 for movement and vibration assessment. 02 22 16 for acoustic assessment. 08 34 73 for sound control door assemblies. 09 51 00 for acoustical ceilings. 09 62 48 for acoustic flooring. 09 80 00 for acoustic treatment. 13 21 48 for sound-conditioned rooms. 13 52 00 for seismic instrumentation. 21 05 48 for vibration and seismic controls for fire suppression piping and equipment. 22 05 48 for vibration and seismic control for plumbing piping and equipment. 23 05 48 for vibration and seismic control for HVAC. 23 32 48 for acoustical air plenums. 25 05 48 for vibration and seismic controls for integrated automation. 26 05 48 for vibration and seismic controls for electrical systems. 27 05 48 for vibration and seismic controls for communication systems. 28 05 48 for vibration and seismic controls for electronic safety and security 44 20 00 for noise pollution control
13 50 00 | Special Instrumentation | Includes: instrumentation for measuring and recording phenomena such as stresses in structures, solar and wind energy, and effects of earthquakes. See: 02 31 13 for seismic investigations. 13 48 00 for sound, vibration, and seismic control. 23 56 00 for solar energy heating equipment. 26 31 00 for photovoltaic collectors. 26 32 23 for wind energy equipment.
14 00 00 | Conveying Systems
14 10 00 | Dumbwaiters | Includes: packaged or field-assembled, motorized or hand-operated units, including cabs, doors, controls, safety equipment, hoistway equipment, and dumbwaiter machinery. applications such as book lifts and cart lifts. See: 11 43 13 food delivery carts. 11 51 00 library equipment.
14 20 00 | Elevators | Includes: passenger, freight, residential, and service elevators of all types, including cars, entrances, controls, safety equipment, hoistway equipment, and elevator machinery. See: 01 54 13 for temporary elevators. 14 42 00 for wheelchair lifts. 27 32 23 for elevator telephones.
14 30 00 | Escalators and Moving Walks | Includes: passenger conveying systems composed of moving belts or treads installed in horizontal or inclined position, including associated components, hardware, controls, safety equipment, and related items. See: 34 77 13 for passenger boarding bridges
14 40 00 | Lifts | Includes: vertical or inclined lifts and related equipment for a variety of purposes. Alternate Terms/Abbreviations: people lifts: personnel hoists. stage lifts: rising stages. vehicle lifts: garage lifts, service station lifts. See: 11 11 00 for vehicle service equipment. 11 13 19 for stationary loading dock equipment. 11 61 00 for theater and stage equipment. 11 78 19 for mortuary lifts. 14 10 00 for dumbwaiters. 14 71 11 for vehicle turntables. 14 74 61 for stage turntables. 14 83 00 for elevating platforms. 34 13 00 for funiculars. 34 14 00 for cable transportation
14 44 00 | Sidewalk Lifts | Sidewalk Lifts
14 46 00 | Material Lifts | Includes: vertical reciprocating lifts. See Also: 41 23 23 for Lifts.
21 00 00 | Fire Suppression | Water-Based Fire-Suppression Systems, Fire-Extinguishing Systems, Fire Pumps, Fire-Suppression Water Storage
21 10 00 | Water-Based Fire-Suppression Systems | Includes: systems that use water for fire extinguishing and suppression.
21 20 00 | Fire-Extinguishing Systems | Includes: systems that use other than water for fire extinguishing and suppression. See: 23 38 00 for ventilation hoods with fire suppression systems. 28 46 00 for fire detection and alarm
22 00 00 | Plumbing | Plumbing Piping, Plumbing Equipment, Plumbing Fixtures, Pool and Fountain Plumbing Systems, Gas and Vacuum Systems for Laboratory and Healthcare Facilities
22 00 01 | Plumbing | Includes: maintenance, repair, rehabilitation, replacement, restoration, preservation, etc. of plumbing. Includes: 22 10 00 Plumbing Piping 22 11 00 Facility Water Distribution 22 12 00 Facility Potable-Water Storage Tanks 22 13 00 Facility Sanitary Sewerage 22 14 00 Facility Storm Drainage 22 15 00 General Service Compressed-Air Systems 22 30 00 Plumbing Equipment 22 32 00 Domestic Water Filtration Equipment 22 33 00 Electric Domestic Water Heaters 22 34 00 Fuel-Fired Domestic Water Heaters 22 35 00 Domestic Water Heat Exchangers 22 40 00 Plumbing Fixtures 22 47 00 Drinking Fountains and Water Coolers
22 51 00 | Swimming Pool Plumbing Systems | Includes: piping, main drains, related system specialties, filters, pumps, heaters, and treatment equipment specific to swimming pools.
23 00 00 | Heating, Ventilating, and Air Conditioning (HVAC) | Facility Fuel Systems, HVAC Piping and Pumps, HVAC Air Distribution, HVAC Air Cleaning Devices, Central Heating Equipment, Central Cooling Equipment, Central HVAC Equipment, Decentralized HVAC Equipment
23 00 01 | Heating, Ventilating, and Air Conditioning (HVAC) | Facility Fuel Systems, HVAC Piping and Pumps, HVAC Air Distribution, HVAC Air Cleaning Devices, Central Heating Equipment, Central Cooling Equipment, Central HVAC Equipment, Decentralized HVAC Equipment
23 01 30 | Operation and Maintenance of HVAC Air Distribution | HVAC Air-Distribution System Cleaning
23 05 93 | Testing, Adjusting, and Balancing for HVAC | Testing, Adjusting, and Balancing for HVAC
23 07 00 | HVAC Insulation | Includes: thermal insulation of HVAC ducts, piping, and equipment. See: 07 21 00 for thermal insulation. 21 07 00 for fire suppression insulation. 22 07 00 for plumbing insulation
23 09 00 | Instrumentation and Control for HVAC | Includes: items for operating and controlling HVAC equipment. various types of controls and the sequence of operation describing the equipment operation. See: 13 50 00 for special instrumentation. 21 09 00 for instrumentation and control for fire suppression systems. 22 09 00 for instrumentation and control for plumbing. 23 05 93 for testing, adjusting, and balancing for HVAC. 25 35 00 for integrated automation instrumentation and terminal devices for HVAC. 25 55 00 for integrated automation control of HVAC. 25 95 00 for integrated automation control sequences for HVAC
23 10 00 | Facility Fuel Systems | Includes: fuel piping, valves, piping specialties, and other components within, under, or closely associated with a structure. See: 23 24 00 for internal-combustion engine piping. 33 52 00 for hydrocarbon transmission and distribution 40 21 00 for liquid fuels process piping. 40 21 23 for fuel oils process piping. Includes: fuel tanks under or closely associated with a structure. See: 09 97 13 for storage tank coatings. 33 56 00 for site fuel storage tanks. 41 52 19 for material storage tanks. 43 41 13 for gas and liquid pressure vessels
23 20 00 | HVAC Piping and Pumps | Includes: HVAC piping, pumps, and water treatment for a structure. See: 23 05 93 for testing, adjusting, and balancing for HVAC. 23 09 00 for instrumentation and control for HVAC. 33 60 00 for site hydronic and steam energy utilities
23 25 00 | HVAC Water Treatment | Includes: water treatment equipment for hot water, chilled water, steam, and condenser water systems. includes one-shot feeders, automatic chemical feed systems, manual chemical feed systems, and chemicals.
23 30 00 | HVAC Air Distribution | Includes: ducts, duct accessories, fans, volume control equipment, and air inlets and outlets. See: 23 05 93 for testing, adjusting, and balancing for HVAC. 23 09 00 for instrumentation and control for HVAC
23 31 00 | HVAC Ducts and Casings | Includes: duct materials and fabrication including duct hangers and supports. See: 23 07 13 for duct insulation. 23 33 46 for flexible ducts. 23 33 53 for duct liners
23 50 00 | Central Heating Equipment | Includes: boilers, feedwater equipment, and draft accessories; furnaces; heaters; heat exchangers; and breechings, chimneys, and stacks. See: 23 05 93 for testing, adjusting, and balancing for HVAC. 23 07 16 for HVAC equipment insulation. 23 09 00 for instrumentation and control for HVAC. 23 11 00 for facility fuel piping. 23 21 00 for hydronic piping and pumps. 23 22 00 for steam and condensate piping and pumps. 33 61 00 for site hydronic energy distribution. 33 63 00 for site steam energy distribution. 42 10 00 for process heating equipment
23 56 00 | Solar Energy Heating Equipment | Includes: equipment powered by solar energy. See: 22 33 30.23 for residential, collector-to-tank, solarelectric domestic water heaters. 26 31 00 for photovoltaic collectors. 48 14 00 for solar energy electrical power generation equipment
23 60 00 | Central Cooling Equipment | Includes: building space cooling equipment and equipment to reject heat from the refrigeration process. May Include: freezing equipment for ice rinks. See: 23 05 93 for testing, adjusting, and balancing for HVAC. 23 07 16 for HVAC equipment insulation. 23 09 00 for instrumentation and control for HVAC. 23 11 00 for facility fuel piping. 23 21 00 for hydronic piping and pumps. 23 76 00 for evaporative air-cooling equipment. 33 61 00 for site hydronic energy distribution. 42 20 00 for process cooling equipment. 13 18 00 for ice rinks
23 70 00 | Central HVAC Equipment | Includes: equipment that serves a total HVAC system See: 23 05 93 for testing, adjusting, and balancing for HVAC. 23 07 16 for HVAC equipment insulation. 23 09 00 for instrumentation and control for HVAC. 23 11 00 for facility fuel piping. 23 21 00 for hydronic piping and pumps. 33 61 00 for site hydronic energy distribution. Includes: air-to-air type energy recovery units. See: 23 57 00 for heat exchangers for HVAC.
23 72 00 | Air-to-Air Energy Recovery Equipment | Includes: air-to-air type energy recovery units. See: 23 57 00 for heat exchangers for HVAC.
25 00 00 | Integrated Automation | Integrated Automation Network Equipment, Integrated Automation Instrumentation and Terminal Devices, Integrated Automation Facility Controls, and Integrated Automation Control Sequences
25 00 01 | Integrated Automation | Integrated Automation Network Equipment, Integrated Automation Instrumentation and Terminal Devices, Integrated Automation Facility Controls, and Integrated Automation Control Sequences
25 50 00 | Integrated Automation Facility Controls | Includes: hardware and/or software that allows the building automation system to monitor and control equipment and systems specified in other divisions. See: 23 09 13 for instrumentation and control devices for HVAC. 25 30 00 for integrated automation instrumentation and terminal devices. 25 90 00 for integrated automation control sequences. 40 90 00 for instrumentation and control for process systems.
26 00 00 | Electrical | Medium-Voltage Electrical Distribution, Low-Voltage Electrical Distribution, Facility Electrical Power Generating and Storing Equipment, Electrical Protection, Lighting
26 00 01 | Electrical | Medium-Voltage Electrical Distribution, Low-Voltage Electrical Distribution, Facility Electrical Power Generating and Storing Equipment, Electrical Protection, Lighting
26 05 00 | Common Work Results for Electrical | Includes: subjects common to multiple titles in Division 26. raceway and boxes includes conduit, tubing, surface raceways, and electrical boxes. medium voltage: 2400 V to 69 kV. low voltage: 600 V and less. control voltage: 50 V and less.
26 05 00 | Common Work Results for Electrical | Includes: subjects common to multiple titles in Division 26. raceway and boxes includes conduit, tubing, surface raceways, and electrical boxes. medium voltage: 2400 V to 69 kV. low voltage: 600 V and less. control voltage: 50 V and less.
26 05 00 | Common Work Results for Electrical | Includes: subjects common to multiple titles in Division 26. raceway and boxes includes conduit, tubing, surface raceways, and electrical boxes. medium voltage: 2400 V to 69 kV. low voltage: 600 V and less. control voltage: 50 V and less.
26 10 00 | Medium-Voltage Electrical Distribution | Includes: substations, transformers, switchgear, and circuit protection devices to distribute medium-voltage electrical power from the facility service point to the point of delivery. Notes: Definitions: medium voltage: 2400 V to 69 kV. See: 26 05 13 for medium-voltage cables. 26 20 00 for low-voltage electrical distribution. 26 30 00 for facility electrical power generating and storing equipment. 33 71 00 for electrical utility distribution
26 20 00 | Low-Voltage Electrical Distribution | Includes: overhead power systems, transformers, switchgear, switchboards, panelboards, enclosed bus assemblies, power distribution units, controllers, wiring devices, and circuit protection devices to distribute low-voltage electrical power from the point of voltage transformation to the point of use. typical voltages: 120, 208, 230, 240, 277, 460, and 480. Notes: Definitions: low voltage: 600 V and less. 26 05 19 for low-voltage electrical power conductors and cables. 26 10 00 for medium-voltage electrical distribution. 26 30 00 for facility electrical power generating and storing equipment.
26 30 00 | Facility Electrical Power Generating and Storing Equipment | Includes: equipment to generate and store electrical power for a single facility. See: 48 10 00 for electrical power generation equipment.
26 31 00 | Photovoltaic Collectors | Includes: solar cells to convert sunlight to electricity.
26 50 00 | Lighting | Includes: luminaries, lighting equipment, ballasts, dimming controls, and lighting accessories. fluorescent, high intensity discharge, incandescent, mercury vapor, neon, and sodium vapor lighting. Alternate Terms/Abbreviations: HID: high intensity discharge. See: 10 84 00 for gas lighting. 25 36 26 for integrated automation lighting relays. 26 09 23 for lighting controls. 26 20 00 for low-voltage electrical transmission
26 55 00 | Special Purpose Lighting | Includes: lighting equipment for specialized applications. Alternate Terms/Abbreviations: healthcare lighting: medical lighting. See: 11 13 26 for loading dock lights. 11 59 00 for exhibit and display equipment. 11 61 00 for theater and stage equipment. 11 70 00 for healthcare equipment. 13 10 00 for swimming pools. 13 12 00 for fountains. 13 14 00 for aquatic park structures. 13 17 00 for tubs and pools. 26 54 00 for classified location lighting. 34 40 00 for transportation signals. 35 13 13 for navigation signals. See Also: 11 61 00 for theatrical lighting
27 00 00 | Communications | Structured Cabling, Data Communications, Voice Communications, Audio-Video Communications, Distributed Communications and Monitoring Systems
27 00 01 | Communications | Structured Cabling, Data Communications, Voice Communications, Audio-Video Communications, Distributed Communications and Monitoring Systems
27 40 00 | Audio-Video Communications | See: 27 15 00 for audio-video communications horizontal cabling
28 00 00 | Electronic Safety and Security | Access Control, Video Surveillance, Security Detection, Alarm, and Monitoring, Life Safety, and Specialized Systems
28 00 01 | Electronic Safety and Security | Access Control, Video Surveillance, Security Detection, Alarm, and Monitoring, Life Safety, and Specialized Systems
28 15 00 | Integrated Access Control Hardware Devices | Includes: electronic devices that control access and are integrated with another system or systems. See Also: 08 06 71 for Door Hardware Schedule 28 06 10 for Schedules for Access Control
28 20 00 | Electronic Surveillance | Includes: Video surveillance cameras and supporting hardware and video management systems . See: 26 05 33 for raceway and boxes for electrical . 27 05 28 for pathways for communication systems . 27 05 33 for conduits and backboxes for communications systems . 27 15 01 .13 for video surveillance communications conductors and cables . 28 05 07 .13 for power sources for video surveillance . 28 05 13 for servers, workstations, and storage for electronic safety and security 28 05 31 for communications equipment for electronic safety and security . 28 10 00 for access control . 28 30 00 for security detection, alarm, and monitoring .
28 30 00 | Security Detection, Alarm, and Monitoring | Includes: hardware, software and equipment for building, area and perimeter intrusion systems and perimeter protection systems, alarm operations and monitoring centers, asset and personnel tracking system, and audio monitoring equipment .
28 40 00 | Electronic Monitoring and Control | Includes: systems and equipment that monitor and report the need for assistance or potentially life threatening situations . See: 26 05 33 for raceway and boxes for electrical . 27 05 28 for pathways for communication systems . 27 05 33 for conduits and backboxes for communications systems. 27 15 01.19 for fire alarm communications conductors and cables . 28 05 07 .17 for power sources for fire detection and alarm. 28 05 13 for servers, workstations, and storage for electronic safety and security 28 05 31 for communications equipment forelectronic safety and security . 28 10 00 for access control . 28 20 00 for video surveillance . 28 30 00 forsecurity detection, alarm, and monitoring . 28 51 00 for information management and presentation
28 42 00 | Gas Detection and Alarm | Includes: systems and equipment for the detection and notification of gas presence. Alternate Terms/Abbreviations: GUI: graphical user interface . See: 23 10 00 for facility fuel systems . 28 40 00 for security monitoring and control . 28 43 00 for fuel-oil detection and alarm. 28 60 00 for mass notification. 28 80 00 for fire detection and alarm. 33 50 00 for fuel distribution utilities . 40 10 00 for fuel gases process piping .
28 43 00 | Fuel Oil Detection and Alarm | Includes: systems and equipment for the detection and notification of fuel oil presence. Alternate Terms/Abbreviations: GUI: graphical user interface . See: 23 11 13 for facility fuel-oil piping . 23 11 13 for facility fuel-oil pumping . 23 12 13 for facility fuel-oilpumps . 23 13 00 for facility fuel storage tanks . 28 40 00 for security monitoring and control . 28 42 00 for gas detection and alarm. 28 60 00 for mass notification. 28 80 00 for fire detection and alarm. 33 52 13 for fuel- oil distribution utilities . 40 21 00 for liquid fuel process piping .
28 44 00 | Refrigerant Detection and Alarm | Includes: systems and equipment for the detection and notification of refrigerant presence. Alternate Terms/Abbreviations: GUI: graphical user interface . See: 23 23 00 for refrigerant piping . 23 61 00 for refrigerant compressors . 23 62 00 for packaged compressor and condenser units . 23 63 00 for refrigerant condensers . 28 40 00 for security monitoring and control . 28 60 00 for mass notification. 28 80 00 for fire detection and alarm .
28 46 00 | Fire Detection and Alarm | Includes: monitoring and recording of fire protection devices and fire suppression systems; audio and/or visual warning systems for inhabitants of structures and for fire fighting authorities; activation of elevators and air handling systems to a predetermined fire mode, and other fire protection functions. See: 10 44 00 for fire protection specialties. 27 15 01 for fire alarm communications conductors and cables. 27 51 29 for emergency communications systems for two-way radio communications enhancement systems, such as bi-directional amplifiers, and stairway and area of rescue assistance systems. 27 51 29.13 for rescue assistance signal systems. 27 51 29.17 for two-way radio communications enhancement systems. 28 32 00 for radiation detection and alarm. 28 33 00 for gas detection and alarm. 28 35 00 for refrigerant detection and alarm. 28 41 00 for radiation detection and alarm. 28 42 00 for gas detection and alarm. 28 43 00 for fuel-oil detection and alarm. 28 44 00 for refrigerant detection and alarm. 28 47 00 for mass notification. Division 21 for fire suppression systems.
31 00 00 | Earthwork
31 10 00 | Site Clearing | Includes: removal of vegetation at the site, including stripping of sod and soil, and tree pruning for site clearing. See: 01 56 39 for temporary tree and plant protection. 32 01 90.23 for pruning for maintenance of shrubs and trees. 32 91 19 for landscape grading. 32 91 19.13 for topsoil placement and grading. 32 96 00 for transplanting
31 20 00 | Earth Moving | Includes: grading, excavating, embankments, and sedimentation and erosion control. earth moving for foundations, structures, pavement, railways, ditches, channels, culverts, drains, and utilities. See: 31 30 00 for earthwork methods. 35 24 00 for dredging 41 61 00 for mobile earth moving equipment.
31 21 00 | Off-Gassing Mitigation | Includes: mitigation of gases from underground sources; radon mitigation, methane mitigation
31 23 19 | Dewatering | Dewatering
31 40 00 | Shoring and Underpinning | Includes: underpinning, needling, grouting, and other methods of strengthening or shoring structures and earth to protect and stabilize existing construction. See: 31 50 00 for excavation support and protection.
31 50 00 | Excavation Support and Protection | Includes: permanent and temporary support of excavations and excavation enclosures, such as cofferdams, for construction below water and in water. See: 31 23 19 for dewatering. 31 40 00 for shoring and underpinning.
31 52 00 | Cofferdams | Includes: watertight enclosure that allow construction operations below the surface of water. See: 03 37 26 for underwater placed concrete. 31 64 00 for caissons. 35 53 00 for underwater construction.
31 62 00 | Driven Piles | Includes: driven deep pile foundations of various materials for support of structures. May Include: reinforcement in cast-in-place concrete piles and concrete-filled steel piles. Alternate Terms/Abbreviations: pressure injected footings: compacted-expanded base-concrete piles. See: 03 30 00 for CIP concrete. 03 40 00 for precast concrete. 05 12 00 for structural steel framing. 06 13 00 for heavy timber. 31 63 00 for bored piles. 31 66 13 for special piles
31 63 00 | Bored Piles | Includes: bored and deep augured pile and drilled shaft and caisson construction for support of structures . test and production piles . May Include: pile, shaft, or caisson reinforcement . Alternate Terms/Abbreviations: micropiles: screw piles . fixed end caission piles: rock socketed piles. See: 03 30 00 for cast-in-place concrete . 31 23 19 for dewatering. 31 40 00 for shoring and underpinning . 31 48 33 for micropile underpinning . 31 50 00 for excavation support and protection . 31 62 00 for driven piles . 31 66 13 for special piles . 35 53 00 for underwater construction. 03 20 00 for concrete reinforcement .
31 70 00 | Tunneling and Mining | Includes: tunnel boring, bracing and jacking work, including excavating, linings and casings, grouting support systems, boring machines, control and spoil removal systems . See: 03 30 00 for cast-in-place concrete . 31 23 19 for dewatering . 31 40 00 for shoring and underpinning . 31 52 00 for cofferdams. 33 05 07 for trenchless installation of utility piping
32 00 00 | Exterior Improvements
32 10 00 | Bases, Ballasts, and Paving | Includes: granular, concrete, treated, synthetic, and other materials that comprise the structure; paving, and surfacing for walks, parking lots, roads, streets, highways, rail transportation, airfields, and athletic playing surfaces. Curbs, gutters, and paving specialties . See: 03 10 00 for concrete forming . 03 20 00 for concrete reinforcement . 03 30 00 for cast-in-place concrete . 34 10 00 for guideways/railways . 34 71 00 for roadway construction . 34 72 00 for railway construction .
32 14 00 | Unit Paving | Includes: pavers laid on a prepared surface or base . May Include: base courses . Alternate Terms/Abbreviations: porous unit paving: pervious unit paving . See: 32 12 00 for flexible paving. 32 12 43 for porous flexible paving. 32 13 00 for rigid paving. 32 16 13 for curbs and gutters 32 92 00 for grasses 32 93 13 for ground covers . 32 11 00 for base courses .
32 18 00 | Athletic and Recreational Surfacing | Includes: surfaces for exterior athletic and recreational activities . Alternate Terms/Abbreviations: athletic surfacing: sports surfacing . See: 09 64 66 for wood athletic flooring. 09 65 66 for resilient athletic flooring. 09 67 66 for fluid-applied athletic flooring. 11 68 13 for playground equipment. 11 68 16 for play structures . 11 68 23 for exterior court athletic equipment. 11 68 33 for athletic field equipment. 13 28 66 for demountable athletic surfaces . 32 31 13 .26 for recreational and tennis court fences and gates . 32 31 13 .33 for chain link backstops for softball and baseball .
32 30 00 | Site Improvements | Includes: variety of exterior improvements.
32 31 00 | Fences and Gates | Includes: fences for protective, security, decorative, recreational, and right-of-way applications . protective fence for bridge parapets and sidewalks . gate operators . See: 01 56 26 for temporary fencing . 02 58 13 for snow fencing . 10 22 13 for wire mesh partitions . 11 68 00 for play field equipment and structures. 13 19 13 for kennel enclosures and gates .
32 32 00 | Retaining Walls | Includes: retaining walls of any construction associated with exterior construction . See: 03 30 00 for cast-in-place concrete . 03 40 00 for precast concrete . 04 22 33 for interlocking concrete unit masonry . 06 13 00 for heavy timber . 31 34 00 forsoil reinforcement . 31 36 00 for gabions . 31 66 16 .26 for metal cribbing foundation walls . 35 31 19 for gabion
32 33 00 | Site Furnishings | Includes: furniture and fixtures for exterior applications. See: 12 60 00 for multiple seating . 12 68 00 for interior seat and table assemblies . 12 92 00 for interior planters and artificial plants. 32 90 00 for planting. 32 93 00 for live plants . 32 94 33 for planters . 32 94 33 for manufactured planters .
32 80 00 | Irrigation | Includes: pipe underground or surface systems with equipment, piping, sprinkler heads, valves, and controls . See: 11 92 00 for agricultural equipment . 11 93 00 for horticultural equipment . 13 34 13 .13 for greenhouses . 22 11 00 for facility water distribution . 32 90 00 for planting . 33 14 00 for water utility transmission and distribution
32 90 00 | Planting | Includes: planting and transplanting of trees, shrubs, vines, and other herbaceous plants; temporary storage, layout, bed preparation, preparation of pits, pruning, planting, fertilizing, and backfilling, wrapping, staking and guying, protection, edging, and maintenance of new plantings when part of construction or landscaping contract . See: 01 56 39 for temporary tree and plant protection . 31 13 00 for selective tree and shrub removal and trimming . 31 14 13 for topsoil stripping and stockpiling . 31 22 19 for finish grading. 32 01 90 for maintenance for existing planting . 32 84 00 for planting irrigation .
33 00 00 | Utilities
33 01 10 | Operation and Maintenance of Water Utilities | Operation and maintenance of water utilities. Includes water utility intake cleaning and maintenance, flushing of water utility piping, cleaning of water utility piping, cleanng of water utility storage tanks, disinfection of water supply
33 05 00 | Common Work Results for Utilities | Includes: subjects common to multiple titles in Division 33 . See: 01 80 00 for performance requirements of subjects common to multiple titles. 26 05 53 for identification for electrical systems 31 23 33 for trenching and backfilling. 33 41 00 for subdrainage 33 42 13 for stormwater culverts 40 05 00 for common work results for exposed process piping 40 05 00 for valves used in utilities and process service
33 10 00 | Water Utilities | Includes: public and private water sources, distribution, and storage for potable uses, firefighting, and irrigation for a site, for multiple facilities, or municipalities . See: 21 11 00 for fire-suppression water service for a building or structure 22 11 00 for water distribution for a building or structure . 32 80 00 for irrigation 33 01 10 for maintenance of water utilities, including cleaning and disinfecting 33 09 10 for instrumentation and control for water utilities .
33 30 00 | Sanitary Sewerage | Includes: wastewater sewerage for a facility site and for multiple facilities, for both sanitary sewage and combined sewage . See: 22 13 00 for sanitary sewerage for a structure . 33 09 30 for instrumentation and control for sanitary sewerage .
33 40 00 | Stormwater Utilities | Includes: public or private stormwater drainage for surface water and/or groundwater for a single site or for multiple sites . See: 01 57 13 for temporary control of erosion and sediment 01 57 23 for temporary control of stormwater pollution 22 14 00 for facility stormwater drainage within or under a structure 31 25 00 for permanent erosion and sediment controls 33 09 40 for instrumentation and control for stormwater utilities 44 40 00 for water pollution control equipment .
33 50 00 | Hydrocarbon Utilities | Includes: utilities for extracting, conveying, and storing liquid, gas, and other hydrocarbon transmission and distribution for a single site or facility or for multiple facilities . Includes various forms of petroleum, liquid and gaseous natural gas, propane, and other hydrocarbons . See: 09 90 00 for coating systems 33 05 97 for identification and signage for utilities 33 09 50 for instrumentation and control for Hydrocarbon utilities, including Leak Detection System .
35 00 00 | Waterway and Marine Construction
35 20 00 | Coastal Construction | Includes: construction along shorelines to prevent erosion, protect shipping channels, and other purposes.
Note on C28: ZHANG, MI: check with Jay, divisional parents are not selections for qualifications, but needs to be visible to break the divisional breakdown