School:		[INSERT SCHOOL NAME AND ADDRESS]

Building ID:		[INSERT]

# Project Design#:	DXXXXXX – BUILDING ELECTRIFICATION

LLW #:		   	XXXXXX – Electrification/Heat Pump Systems

Date(s) of Visits:	[INSERT DATE]

Present:		[INSERT NAMES & ORGANIZATIONS REPRESENTED]

SCA Design Manager (DM):			[INSERT]

SCA Design Project Manager (DPM):  	[INSERT]

Project Design Consultant: 		[INSERT]

Prepared by:		[INSERT NAME]

Date Prepared:	[INSERT DATE]

The following was noted/observed:

# [DESIGNER TO EDIT ALL TEXT IN BLUE TO SUIT PROJECT REQUIREMENTS]

INTRODUCTION

CIP Building Electrification is a collaboration between SCA MEP and Envelope design teams.

The purpose of the CIP Building Electrification Field Report and the Project Pre-Scope/Design Checklist is to evaluate as many of the relevant and significant existing envelope and MEP conditions found at the school building in order to explore the feasibility of converting from on-site fossil fuel use to the exclusive use of all electric energy.

The CIP Building Electrification Project Field Report and Field/Pre-Scope Design Checklist are required steps to be completed as a collaborative effort between SCA MEP and Envelope design teams at the beginning of the development of a CIP Building Electrification Scope Report.

SHPO Status:

[INSERT a statement on the Building’s SHPO Status]

A Preliminary SHPO Submission was forwarded previously and SHPO determined that the building was “Not Eligible” for listing on the National Register of Historic Places

Existing Building Information

- Number of Floors: [INSERT]

- Floor to slab heights (including allowance for structural beams): [INSERT]

- Gross Building Area: [INSERT]

- List of Public Assembly Spaces and Locations: [INSERT]

- Number of Classrooms: [INSERT]

- Structural (typical floor/roof framing-steel, concrete, cinder concrete/tile arch, other, condition): [INSERT]

- Exterior Wall System(s)-masonry, curtain wall, other, condition, approximate      R-value: [INSERT]

- Window/Glazing Systems (window type(s) and glazing, condition, approximate

U-factor): [INSERT]

- Clearance above windows for potential horizontal arrangement of new MEP ductwork/piping/conduit: [INSERT]

- HVAC Ductwork (concealed/exposed, insulated/un-insulated, condition): [INSERT]

- Roofing System(s) (built-up, liquid applied, SBS, other, condition, approximate

R-value, parapet height): [INSERT]

- Utility, Storage, and Equipment Spaces that may become available to meet space requirements for the proposed Building Electrification project:

[List those space(s) that may become available for repurposing to meet new space requirements for building electrification (edit as applicable).  Include a description of the location and characteristics of the space.

- Main Electrical Room

- Main Mechanical Equipment and/or Boiler Room

- Fuel Oil Tank Room

- Gas Meter Room

- Water Meter Room

- Storage Rooms

- MDF/IDF Rooms

The following is an example of a brief description of utility, storage, and equipment spaces that may become available to meet space requirements for the proposed Building Electrification project:

- Main Electric Room

- Location: Basement Level

- "X" feet long x "Y" feet wide with a clear height of "Z".

- Two (2) means of egress with double doors.

- The room has substantial available space for electric service equipment expansion.

- Located adjacent to a storage room that may offer additional room for expansion.]

Existing Site Information

- Key Site Features: [INSERT]

- Surrounding Streets: [INSERT]

- Location of building Electric Service entry (Street, Avenue): [INSERT]

- Site Utilization (playgrounds, athletic fields, parking, etc.): [INSERT]

- Landscaping Elements: [INSERT]

- Site Paving: [INSERT]

- Flood Zone: [LIST APPLICABLE ZONE OR NA]

Summary of Key Building/Site Observations

[Provide a brief summary of significant Architectural, Structural, and Site conditions that were observed during the walkthrough that can limit or facilitate the conversion from on-site fossil use to the exclusive use of all electric energy. Where existing building envelope conditions will significantly impact the electric energy demand for building space heating/cooling equipment, identify those areas of improved envelope performance that can potentially reduce heating/cooling loads and the demand for building electric energy.] [INSERT]

[In accordance with observations made and anticipated modifications needed for building electrification, identify if probes and/or testing is needed to further assess Architectural, Structural, and Site conditions that can potentially limit or facilitate the development of the Draft/Final Scope of work.] [INSERT]

EXISTING BUILDING MEP SYSTEMS DESCRIPTION

ELECTRICAL

Existing Building Electric Service

[Provide a brief description of the building Electric Service(s) including: Electric Utility Provider (Con-Edison, PSEG), Service Classification/Capacity (Voltage, 3-Phase, # - Wire, Amperes), Service Equipment Type(s) (transformer, panelboard, switch, CB/Fuse), Equipment Manufacturer, physical condition, age, any notable impairment or deficiency reported/observed, location of point of entry (POE) and description of the property line box, man-holes, vaults. Confirm/Identify large equipment loads (elevators, chillers, large fans/pumps, other).  Confirm/Identify back-up power sources (emergency and/or stand-by generators) including: size - kW/kVA, Voltage, 3-Phase, # - Wire, method of load transfer, (manual, automatic) engine fuel - gas/oil, building electric loads served.] [INSERT]

[Where affected by the primary scope of work, identify the impact on building interior/exterior lighting systems and low voltage electrical systems, including fire detection and alarm systems (including Ansul system, emergency voice/alarm communication, deluge water curtain), carbon monoxide detection and monitoring, gas leak/overpressure alarm systems, auxiliary signal systems, emergency generator, other] [INSERT]

MECHANICAL

Central Heating System

[Provide a brief description of the type(s) of existing space heating equipment serving the building, current equipment age, operating condition, heating medium (steam, water) fossil-fuel type(s), type of temperature, and operational control(s), include BMS if applicable.] [INSERT]

Existing Central Cooling System

[Provide a brief description of the type(s) of existing space cooling equipment serving the building, current equipment age, operating condition, cooling medium (water, refrigerant) type of temperature, and operational control(s), including BMS if applicable.] [INSERT]

Existing Central Air Conditioning Heating and Ventilation System

[Provide a brief description of the type(s) of existing natural and mechanical Heating, Ventilation, and Air Conditioning equipment serving the building, current equipment age, operating condition, and type of operational control(s), including BMS if applicable.] [INSERT]

Existing Exhaust and Local Ventilation System

[Provide a brief description of the type(s) of existing natural and mechanical ventilation equipment serving the building, current equipment age, operating condition and type of operational control(s), including BMS if applicable.] [INSERT]

PLUMBING

Existing Domestic Hot Water Heating System

[Provide a brief description of the type(s) of existing domestic hot water heating equipment serving the building, current equipment age, operating condition, fossil fuel type(s), type of temperature and operational control(s), including BMS if applicable.] [INSERT]

Existing Gas Utilization [edit as applicable]

- Cooking/Food Service Areas

- Science Classrooms

- Vocational Classrooms/Shops

[Provide a brief description of the type of existing Kitchen cooking appliances, Science Classroom equipment, Culinary Art Classroom equipment, and other Vocational Program equipment utilizing natural gas.  Where information is readily available, confirm the current age and operating condition of appliances/ equipment using natural gas or other fossil fuels.] [INSERT]

ARCHITECTURAL

EXISTING BUILDING ENVELOPE

[When reviewing the building envelope in the context of existing building electrification, thermal inefficiencies and air leakage will impact the energy required for heating, cooling, equipment sizing and electric service loads. Excessive water vapor flow or accumulation and interior condensation will impact the material envelope systems.

All envelope components function together as a system, and all components must be evaluated/reviewed in order to fully identify any issues and will inform the MEP equipment selection.]

List of Previous Building Envelope Renovation Projects [Example shown below]

D019157 – Roofs, Parapets, Windows, Exterior Masonry – 1999

D014157 – Hazardous Limestone Band – 2005

GENERAL DESCRIPTION

[Envelope design team to provide an overview of existing envelope conditions for all Building envelope categories/components of Windows, Exterior Masonry (Exterior Walls, Chimneys, etc.) and Parapets, Roofs, Exterior Doors / Building Entrances, and Below Grade Components (Flood Elimination Capital Category).

Sample: The building underwent a full window replacement project in 1999 with the DDC, which also included exterior modernization. Another exterior restoration project was carried out in 2005 that involved brick masonry repointing on all facades, and remediation to hazardous limestone units on the 3rd floor band course.

During the initial site visit, the Main Roof and interior spaces related to water infiltration were reported by the Fireman. Deficiencies throughout the Exterior Masonry, Parapets, Interior Finishes, and Exterior Doors were observed.

Exterior Masonry (Exterior Walls, Chimneys, etc.) and Parapets

[Provide a general description of the type of exterior wall construction and approximate

R-value/U-factor/exterior wall energy performance. Review the relationship between the radiator/convector and exterior wall and the finished work that will be required after the removal of the radiator/ convector.] [INSERT]

Windows

[Provide a general description of existing window types (i.e., ribbon, double-hung, outward or inward projecting, or fixed), glazing type(s), configuration, framing type, materials and finishes, warranty status, and history of repair or replacement.  Indicate if there are window-mounted AC units and where they generally occur.] [INSERT]

Exterior Doors/Building Entrances

[Provide a general description of existing exterior doors - solid or glazed panels, configuration, framing type, materials, and finishes.] [INSERT]

Building Envelope Penetrations

[Provide a general description of existing stairway enclosures, elevator shaft vents, and other outdoor air intakes and exhaust openings integral to the building envelope, abandoned chimneys, incinerator chutes, and other building utility shafts that communicate directly with the outdoors to provide weather closure.]

[INSERT]

Roof

[Provide a general description of the existing roof and roofing, structure, material (cinder concrete/tile arch) and roofing specialty components, warranty status, and history of repairs. Rooftop HVAC equipment on curbs/dunnage. Based upon the review of previous renovation projects, identify the approximate age of the roof(s).] [INSERT]

Below Grade Components (Flood Elimination Capital Category)

[Provide a general description of the use of below grade spaces and the condition of below grade components.  Note if any deficiencies or a history of water infiltration through existing walls or floor slabs.] [INSERT]

TESTING REQUIREMENTS

[Provide a brief summary of the type and extent of Testing required to define and/or qualify significant Architectural, Structural, Site, or MEP conditions that were observed during the walkthrough. Select Testing with regard to conditions that can limit or facilitate the conversion from on-site fossil fuel use to the exclusive use of all electric energy.] [INSERT]

Use the Table provided here to identify required Testing: [Edit as applicable]

| Non-destructive Testing (NDT) |  | Destructive Testing (DT) |  |
| --- | --- | --- | --- |
| Description: | Req. Y/N | Description: | Req. Y/N |
| Thermography (moisture, heat, air transfer) |  | Roof Cut |  |
| Spray Tests |  |  |  |
| Rilem Test (masonry porosity) |  | Wall Cut |  |
| Ground Penetrating Radar |  | Floor Cut |  |
| Mag. Pachometer (steel reinforcement) |  | Ceiling Cut |  |
| Boroscope (internal visual acquisition) |  | Boring/Test Pit |  |
| Load Test (in-situ stress, strain, deflection) |  | Material Core Sampling |  |
| Pressure Test (duct, pipe, other) |  | Resident Material Sample Lab Testing |  |
| Fire detection and alarm system device testing (including: FSD actuation/control, CO detection, Heat detection, Ansul/Deluge water curtain activation, and others) |  | Weldability of existing building steel |  |
| Other (specify) |  | Other (specify) |  |

Preliminary Assessment of GEOTHERMAL SYSTEM Options

[Use the NYC Geothermal Screening Tool selection to identify which Geothermal systems are feasible.  System Options are to be explored in more detail in the Draft/Final Scope Development Phase of the Project.]

Preliminary Assessment of Equipment Options

[Use the Table provided here, and any Significant Building/Site Conditions observed to categorize the SCA Preferred All Electric HVAC Equipment/System Options that will be explored in more detail in the Draft/Final Scope Development Phase of the Project. Edit Table for Yes/No indication of applicable Conditions that may apply. Further analysis is required for the determination of the adequacy of the existing electric service when converting the HVAC System to All Electric Options and how to reduce the load as much as possible. See Table Key* for definition of preliminary assessment of All Electric HVAC Equipment/System Options]

| Significant Building/ Site Conditions may include the following: |  | Condition applies Yes/No | SCA Preferred All Electric HVAC Equipment/Systems Options: |  |  |  |  |  |  |  |  | Preliminary Design Considerations: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Central RTU/DX Heat Pump w/ERV (electric baseboard or electric convectors in spaces) | Central Split/DX Heat Pump w/ERV interior MER (electric baseboard or electric convectors in spaces) | Pkg. DX VUV Heat Pumps w/ERV | Chiller/ Heater, Dual Temp, Central RTU/ AHU w/ERV (recessed hot water convectors in spaces) | Chiller/ Heater, Dual Temp, Rooftop DOAS (fan coil units in spaces) | Chiller/ Heater, Dual Temp, MER DOAS (fan coil units in spaces) | Chiller/ Heater, Dual Temp, VUV Heat Pumps w/ERV | DX VUV-Split Heat Pumps w/ERV w/Rooftop Outdoor Units | Ceiling mount VRF + DOAS |  |
|  |  |  |  |  |  |  |  |  |  |  | Floor mount VRF + DOAS |  |
| Bldg. is SHPO or eligible for registration. |  |  | (Enter from Table Key) |  |  |  |  |  |  |  |  | SHPO buildings may limit interior/exterior aesthetic changes. |
| Floor area is greater than 20,000 SF. |  |  |  |  |  |  |  |  |  |  |  | Ceiling VRF option is limited to 20,000 SF for overhead filter maintenance. |
| Windows are single pane. |  |  |  |  |  |  |  |  |  |  |  | Window replacement may be required. Dual Temp VUV can reduce OA + EXH louvre dimensions. |
| Windows are narrow frame. |  |  |  |  |  |  |  |  |  |  |  |  |
| Windows are poor condition. |  |  |  |  |  |  |  |  |  |  |  |  |
| Shelves, or obstructions are below windows. |  |  |  |  |  |  |  |  |  |  |  | The installation of new electric baseboard, convectors or fan coil units under windows may be limited. |
| Utility/Equip. Spaces are at risk for flooding. |  |  |  |  |  |  |  |  |  |  |  | When Utility/Equip. spaces are below the flood plain, flood proofing required to protect new Equip. |
| Roof/Floor cinder conc. slab/clay tile arch structure are present. |  |  |  |  |  |  |  |  |  |  |  | Cinder concrete slabs/clay tile arch have limited loads. VUV/Roof mounted equip. may require suppl. steel. |
| Ceiling/beam height below 12 Ft AFF. |  |  |  |  |  |  |  |  |  |  |  | VRF limited to 12 Ft. height for required filter maintenance. Central SA duct systems limited. |
| Roof is no longer under warrantee. |  |  |  |  |  |  |  |  |  |  |  | Roof replacement should be evaluated, added scope of work where required. |
| HVAC Equip. on curbs not dunnage. |  |  |  |  |  |  |  |  |  |  |  |  |
| Major roof areas are pitched. |  |  |  |  |  |  |  |  |  |  |  | If no major flat roofs, locate DX/VRF Units, Chiller/Heater at grade. |
| Bldg. is served throughout by steam heating system. |  |  |  |  |  |  |  |  |  |  |  | Central and/or Pkg. DX Heat Pump Systems are good option for oil/gas Boiler replacement. |
| Bldg. is served throughout by supply air (SA) duct systems. |  |  |  |  |  |  |  |  |  |  |  | Central RTU/AHU-Split DX Heat Pumps are good option are good option for oil/gas Boiler replacement. |
| SA duct systems are insulated. |  |  |  |  |  |  |  |  |  |  |  |  |
| Bldg. is served throughout by chilled water system. |  |  |  |  |  |  |  |  |  |  |  | When existing Bldg. is served by chilled water system, Chiller/Heater is good option for oil/gas Boiler replacement. |
| Bldg. Electric Svc. greater than 2000 A. |  |  |  |  |  |  |  |  |  |  |  | Check historic Bldg. peak Kw load to determine impact on selection of electric HVAC Equipment. |
|  | *All Electric HVAC System Categories: Favorable - F, Unfavorable - UF, Not Applicable - NA, To Be Determined-TBD |  |  |  |  |  |  |  |  |  |  |  |

Early scope energy model

[Architect/Energy consultant to create an early scope energy model in conjunction with load estimation to determine potential energy use and carbon reduction impacts of proposed envelope improvement measures.  Run load estimating software on the selected all Electric HVAC Equipment/System Options. Estimate heating/cooling loads with and without feasible envelope (roof, window, exterior wall) improvement measures. This early assessment may result in mechanical system downsizing, and work toward LL51 compliance.] [INSERT]

Appendix

- Photo Location Plans

[Please provide selected Reference Floor Plans (PL01__ to PL0X__) to indicate the locations of photos taken for the proposed Architectural, Structural, and MEP	work to assist in the presentation of significant building/site conditions.] [INSERT]

- Photos

[Please provide selected Reference Photos (P__ to P__) for Architectural, Structural and MEP work to assist in the presentation of significant building/site conditions that can limit or facilitate the conversion from on-site fossil fuel-burning equipment to the exclusive use of all electric energy.] [INSERT]

- Reference Drawings

[Where available and applicable, please provide selected Reference Drawings (R__ to R__) for Architectural, Structural, and MEP work to assist in the presentation of significant building/site conditions that can limit or facilitate the conversion from on-site fossil fuel-burning equipment to the exclusive use of all electric energy.] [INSERT]

- Site Visit Meeting Minutes

[Where discussions with the school Principal Custodian, or other participants that were present at the site walk-through can affect the scope of work that will develop in the Draft/Final Scope Phase of the Project, including Meeting Minutes for discussion.] [INSERT]

- Field/Pre-Scope Design Checklist (Word &/or Excel)

[Append the Field/Pre-Scope Design Checklist Word or Excel files as PDFs for discussion and design development.]