
	[image: image1.wmf]
	Architecture & Engineering


Date
NYC Department of Environmental Protection
Division of Pollution Control & Monitoring

IPP Inspection and Permit Section
96-05 Horace Harding Expressway, 1st Floor

Corona, N.Y. 11368

Re: 
School Name

Address

Block: 
Lot: 
Grease Interceptor Installation Approval
Dear Ms. Rabich: 
A new Pre-K Center in the existing lease building at the above mentioned address is designed with The Warming Pantry fixtures which consist of: (1) two compartment sink with low type grease trap 35 GPM, 70 lb. grease capacity as J.R.Smith Model 8135 on the floor under the fitted drainboard adjacent to sink and (1) hand wash sink. The fixtures shall be installed as per manufacturer’s specifications and the grease trap will discharge to a house drain line to a combined or sanitary house sewer to street sewer via building house trap.
The layout will match the approved filed project, case number C-5629 at 1668 46th street, Brooklyn, N.Y. 11204.  Approved on September 3, 2014.
Thank you in advance for your Cooperation for certification of this design.

Sincerely,

Applicant Name P.E.
Signature & Seal

