## Basic Info
Calculator version 2.3
April 2024
General Building Information
School Information
School Name
Address
Building Type |  | Student population
Number of Stories |  | Students served by kitchen
Submission
Template Used
Date
Energy Modeling Information
Drawing Set
Modeling Software & version
Weather File
Window/Wall Ratio
Total Modeled Square Feet (from LV-B)
Area of plenums/ dummy zones
Modeled Gross Building Area
| Unconditioned Area | Kitchen area
| Conditioned SQFT | Kitchen % of building | #DIV/0!
Note on D19: Should be within 3% of gross building area
Note on D20: Matches LV-B area
Note on D21: Includes area of zones that are required for modeling, but do not contribute to actual floor area, such as plenums
Note on D22: Should be within 1% of gross building area
Note on D23: Includes unconditioned areas, such as shafts, that contribute to floor area

## Results
Table 1a - EEM Savings Comparison
EEM # | EEM Description | EEM Cost Saving ($/yr) | EEM Cost | EEM Source EUI Savings (kBTU/sf.yr) | EEM Source EUI (kBTU/sf.yr) | EEM Electric Use Savings (MMBTU/yr) | EEM Electric Use (MMBTU/yr) | EEM Fossil Fuel Use Savings (MMBTU/yr) | EEM Fossil Fuel Use (MMBTU/yr) | EEM Other Energy Savings (MMBTU/yr) | EEM Other Energy Use (MMBTU/yr) | EEM Carbon Savings (tons CO2e/yr) | EEM Carbon Emission (tons CO2e/yr)
- | Existing Building Baseline | - | 0 | - | #DIV/0! | - | 0 | - | 0 | - | 0 | - | 0
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
| Table 1b - Existing vs Proposed Results | [5 empty] | Table 1c - Energy End Use Breakdown
| Case | Existing Building |  | Proposed Design |  |  | End Use |  | Fuel Source | Existing Building Use (MMBTU) | Proposed Design Use (MMBTU) | Contribution to Total Savings
| Total Energy Cost | 0 |  | 0 |  |  | Interior Lighting |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| Energy Cost Savings |  |  | 0 |  |  | Exterior Lighting |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| % Energy Cost Savings |  |  | #DIV/0! |  |  | Pumps and Aux |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| Total Electricity (kWh/year) | 0 |  | 0 |  |  | Fans |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| Electricity Savings (kWh/year) |  |  | 0 |  |  | Cooling & Heat Rejection |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| % Electricity Savings |  |  | #DIV/0! |  |  | Heating |  | Natural Gas (Therms) | 0 | 0 | #DIV/0!
| Total Fossil Fuels (MMBTU/year) | 0 |  | 0 |  |  | Heating |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| Fossil Fuels Savings (MMBTU/year) |  |  | 0 |  |  | Domestic Hot Water |  | Natural Gas (Therms) | 0 | 0 | #DIV/0!
| % Fossil Fuels Savings |  |  | #DIV/0! |  |  | Domestic Hot Water |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| Total Other Energy (MMBTU/year) | 0 |  | 0 |  |  | Equipment Loads |  | Natural Gas (Therms) | 0 | 0 | #DIV/0!
| Other Energy Savings (MMBTU/year) |  |  | 0 |  |  | Equipment Loads |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| % Other Energy Savings |  |  | #DIV/0! |  |  | Heat Pumps Supplemental |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| Site Energy (MMBTU) | 0 |  | 0 |  |  | Task Lighting |  | Electricity (kWh) | 0 | 0 | #DIV/0!
| Site EUI (kBTU/sf.year) |  |  | #DIV/0!
| % Site EUI Savings |  |  | #DIV/0!
| Source Energy (MMBTU) | 0 |  | 0
| Source EUI (kBTU/sf.year) |  |  | #DIV/0!
| % Source EUI Savings |  |  | #DIV/0!
| Total Carbon (tCO2e/year) | 0 |  | 0
| Total Carbon Savings (tCO2e/year) |  |  | 0
| % Total Carbon Savings |  |  | #DIV/0! |  |  | Total |  | MMBTU | 0 | 0

## Capital Planning Information
Projected Annual Electricity Consumption (kWh) | Annual Electricity Consumption Savings (kWh) | Projected Annual Gas Consumption (therms) | Annual Gas Consumption Savings (therms) | Projected Annual Steam Consumption (mlbs) | Annual Steam Consumption Savings (mlbs) | Projected #4 Fuel Oil Consumption (gallons) | Projected #2 Fuel Oil Consumption (gallons) | Projected Biofuel Consumption (gallons) | Annual Energy Reduction (MMBTU) | GHG Emission Reduction (MTCO2e) | Energy Cost Savings ($/yr)
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: If the modeler adds or deletes rows in the meters section of either the Proposed Design or Existing Building Baseline tabs, the equations above should be double checked for accuracy as they may become incorrect.

## Calcs and References
Fuel Type | carbon tCO2e/[energy unit] | source EUI factor | MMBTU/unit | Fuel Type | kg CO2e/Mbtu
Electricity (kWh) | 0.00028863 | 2.55 | 0.0034121 | ELEC | 84.59 | Electricity
Natural Gas (Therms) | 0.0053102 | 1.05 | 0.099976 | FF | 53.1148 | Natural Gas
No.2 Fuel Oil (Gal) | 0.010389 | 1.01 | 0.14 | FF | 74.209 | No.2 Fuel Oil
No.4 Fuel Oil (Gal) | 0.010992 | 1.01 | 0.146 | FF | 75.289 | No.4 Fuel Oil
Steam (MMBTU) | 0.066398 | 1.2 | 1 | OTHR | 66.3985 | Steam
Chilled Water (MMBTU) | 0.07389 | 0.91 | 1 | OTHR |  | Chilled Water
Biofuel B20 (Gal) | 0.0073473 | 1.01 | 0.1267 | OTHR |  | Biofuel B20
Biofuel B99 (Gal) | 0.001336 | 1.01 | 0.1195 | OTHR |  | Boifuel B99

## Proposed Design
Proposed Design, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU | Source MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0 | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
[19 empty] | 0 | 0
[5 empty] | Total Charge | Check?
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  | Interior Lighting | Task Lighting | Equipment Loads | Heating | Cooling | Heat Rejection | Pumps and Aux | Fans | Refrigeration | Heat Pumps Supplemental | Domestic Hot Water | Exterior Lighting | Total |  | Cooling & Heat Rejection |  | Interior Lighting | 3 |  | Electricity (kWh) | 26
26 | Electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Task Lighting | 4 |  | Natural Gas (Therms) | 27
27 | Natural Gas (Therms) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Equipment Loads | 5 |  | No.2 Fuel Oil (Gal) | 28
28 | No.2 Fuel Oil (Gal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Heating | 6 |  | No.4 Fuel Oil (Gal) | 29
29 | No.4 Fuel Oil (Gal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Cooling | 7 |  | Steam (MMBTU) | 30
30 | Steam (MMBTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Heat Rejection | 8 |  | Chilled Water (MMBTU) | 31
31 | Chilled Water (MMBTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Pumps and Aux | 9 |  | Biofuel B20 (Gal) | 32
32 | Biofuel B20 (Gal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Fans | 10 |  | Biofuel B99 (Gal) | 33
33 | Biofuel B99 (Gal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Refrigeration | 11
[18 empty] | Heat Pumps Supplemental | 12
[18 empty] | Domestic Hot Water | 13
[18 empty] | Exterior Lighting | 14
[18 empty] | Total | 15
[18 empty] | Cooling & Heat Rejection | 17

## LL51 Baseline
LL51 Baseline, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU | Source MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0 | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
[19 empty] | 0 | 0
[5 empty] | Total Charge | Check?

## Existing Building Baseline
Existing Building Baseline, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU | Source MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0 | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
[19 empty] | 0 | 0
[5 empty] | Total Charge | Check?
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17
|  | Interior Lighting | Task Lighting | Equipment Loads | Heating | Cooling | Heat Rejection | Pumps and Aux | Fans | Refrigeration | Heat Pumps Supplemental | Domestic Hot Water | Exterior Lighting | Total |  | Cooling & Heat Rejection |  | Interior Lighting | 3 |  | Electricity (kWh) | 26
26 | Electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Task Lighting | 4 |  | Natural Gas (Therms) | 27
27 | Natural Gas (Therms) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Equipment Loads | 5 |  | No.2 Fuel Oil (Gal) | 28
28 | No.2 Fuel Oil (Gal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Heating | 6 |  | No.4 Fuel Oil (Gal) | 29
29 | No.4 Fuel Oil (Gal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Cooling | 7 |  | Steam (MMBTU) | 30
30 | Steam (MMBTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Heat Rejection | 8 |  | Chilled Water (MMBTU) | 31
31 | Chilled Water (MMBTU) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Pumps and Aux | 9 |  | Biofuel B20 (Gal) | 32
32 | Biofuel B20 (Gal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Fans | 10 |  | Biofuel B99 (Gal) | 33
33 | Biofuel B99 (Gal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | Refrigeration | 11
[18 empty] | Heat Pumps Supplemental | 12
[18 empty] | Domestic Hot Water | 13
[18 empty] | Exterior Lighting | 14
[18 empty] | Total | 15
[18 empty] | Cooling & Heat Rejection | 17

## EEM1
EEM1, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU | Source MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0 | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
[19 empty] | 0 | 0
[5 empty] | Total Charge | Check?
EEM Description

## EEM2
EEM2, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM3
EEM3, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM4
EEM4, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM5
EEM5, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM6
EEM6, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM7
EEM7, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM8
EEM8, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM9
EEM9, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM10
EEM10, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM11
EEM11, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM12
EEM12, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM13
EEM13, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM14
EEM14, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description

## EEM15
EEM15, Model Results
[17 empty] | ELEC | FF | OTHR
Input Values from BEPU Report
Meter Name | Meter Fuel Type | Lights | Task Lights | Misc Equip | Space Heating | Space Cooling | Heat Reject | Pumps & Aux | Vent Fans | Refrig Display | HT Pump Supplem | Domest Hot Wtr | Ext Usage | Total |  | Check? |  | Total MMBTU | SITE EUI | SOURCE EUI | Carbon
| Electricity (kWh) | [13 empty] | 0 |  | ELEC | 0 | #DIV/0! | #DIV/0! | 0
| Natural Gas (Therms) | [13 empty] | 0 |  | FF | 0 | #DIV/0! | #DIV/0! | 0
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[15 empty] | 0 |  | #N/A | #N/A | #N/A | #N/A | #N/A
[20 empty] | #DIV/0! | 0
[18 empty] | ELEC kWh | ELEC MMBTU
Input Values from ES-D Report | [17 empty] | 0 | 0
Rate Name | Resource | Meter | Metered Energy Units/Yr | Unit | Total Charge ($) | Virtual Rate ($/unit) | Rate Used All Year? | [11 empty] | FF MMBTU
| Electricity (kWh) | [17 empty] | 0
| Natural Gas (Therms) | [17 empty] | OTHR MMBTU
0
[5 empty] | Total Charge | Check?
EEM Description